## Gedo Borehole
PIPELINES - Borehole - Water tank
ITEM | DESCRIPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
1 | Trenching, laying and backfilling of pipeline 21/2'' (for 63mm OD uPVC pipe) for the Pumping mains with 450mm x 600mm trench | m | 200
2 | Trenching, laying and backfilling of pipeline (for 50 mm OD uPVC pipe) for the distribution system with 450mm x 600mm trench | m | 500
3 | Construction of Valve chambers 1000x1000x1000mm | Nr | 2
4 | Labour cost for plumbing works for water tank and water points | L/S | 1
| Assorted fittings | L/S | 1
| TOTAL COST FOR PIPELINE EXCAVATION/LAYING & BACKFILING |  |  |  | 0
A | 60M3 ELEVATED STORAGE WATER TANK
Excavation
Excavation including maintaining and supporting sides and keeping free from water, mud and fallen materials by bailing, pumping or otherwise
| Prepare site by stripping top 150 mm of soil to remove all debris including sand (if any) from site and carting away spoil | m2 | 63
| Excavate trench commencing at reduced levels depth not exceeding 1.50m deep | m3 | 42
Filing
| 300 mm thick approved hardcore filling spread, well rammed and compacted in 150mm layers | m3 | 17
Concrete work
Mass Concrete class 15 (1:3:6) with 20mm thick maximum aggregate size in
| 50mm Thick blinding | m3 | 3
Vibrated Reinforced Concrete class 25 (1:1.5:3) with 20mm thick maximum aggregate size in
| Ground beam,Column base,Tie beam ,Columns | m3 | 18
Vibrated Reinforced Concrete class 30 (1:1:2) with 20mm thick maximum aggregate size in
| 250mm thick Walls,250mm thick Base slab 250mm thick Base slab ,200mm thick Cover slab | m2 | 120
Reinforcement
| Reinforcement bars (all sizes) as shown on drawings | kg | 3890
Sawn formwork
| Formwork to sides of column bases ,sides and sofittes of beams, to sofittes of base slab,to sofittes of cover slab, sides of columns,sides of walls | m2 | 315
| Formwork to sides of base slab girth over 150mm but not exceeding 225mm,slab girth over 150mm but not exceeding 225mm | m | 35
| 200mm wide PVC water bar | m | 32
Finishes
Cement and sand mortar (1:3) rendering in:
| 25 mm Thick screed to base slab with waterproof cement | m2 | 19
| 15mm internal plaster to cover slab with waterproof cement,internal walls,sides of walls,cover slab,soffits of base slab,beams,columns | m2 | 300
| 25x25mm Bondex sealing compound | m | 16
Water Supply System
Inlet pipe
| 3" GI Bends | Nr | 1
| 3" GI Union | Nr | 1
| 3" GI Sockets | Nr | 1
| 3" GI Gate valve | Nr | 1
| 3" GI Nipple | Nr | 2
| 3" GI barrel nipple | Nr | 2
| 3" GI pipes | Nr | 1
| 3" GI Elbows | Nr | 2
Outlet pipes
| 2"GI Bends | Nr | 1
| 2" GI Union | Nr | 1
| 2" GI Sockets | Nr | 1
| 2" Gate valve | Nr | 1
| 2" GI Nipple | Nr | 2
| 2" GI barrel nipple | Nr | 2
| 2" GI Pipes | Nr | 1
| 2" GI Elbows | Nr | 2
| 2"x1" Reducing Bush GI | Nr | 1
Scour pipes
| 2"x4' reducing socket | Nr | 1
| 2" GI Bends | Nr | 1
| 2" GI Union | Nr | 1
| 2" GI Sockets | Nr | 1
| 2" Gate valve | Nr | 1
| 2"GI Nipple | Nr | 2
| 2" GI Barrel Nipple | Nr | 2
| 2" GI pipes | Nr | 1
| 2" GI Elbows | Nr | 2
| 600x600x6mm heavy gauge steel primed metal manhole cover on slab with and including metal framing all around | No | 2
| 20mm Diameter bars, ‘U’ shaped to form steps with ends embedded into retaining wall, average length 450mm | No | 11
A | TOTAL COST OF 60M3 ELEVATED STORAGE TANK |  |  |  | 0
SUPPLIES
1 | Submersible pump, Grundfos, SP8A - 18, with matching cut-off electrodes, drop cables control panel, all accessories included ( Stand by Pump) | each | 1
2 | Procure and install, Pipe, Galvanized iron, 5.8 metres long, 3" (75 mm) nominal diameter, rated for 14 Bar pressure in borehole | No | 38
3 | Pipe, uPVC class D, 5.8 metres long, 90mm nominal diameter, rated for 10 Bar pressure | No | 35
4 | Pipe, Galvanized iron, 5.8 metres long, 1" (50mm)nominal diameter, rated for 14 Bar pressure | No | 20
5 | uPVC pipe class D, 50mm OD, 10 bar, 5.8m length | No | 90
| TOTAL COST FOR SUPPLIES |  |  |  | 0
WATER KIOSK
ITEM | DESCRIPTION | UNIT | QTY | RATE (USD)
SUBSTRUCTURE (Provisional)
Excavation
Excavation including maintaining and supporting sides and keeping free from water, mud and fallen materials by bailing, pumping or otherwise
| Prepare site by stripping top 200 mm of soil to remove all debris including sand (if any) from site and carting away spoil | m2 | 18.9
| Excavate for foundation strip commencing at stripped levels depth not exceeding 1.50m deep | m3 | 9.7
Filing
| 300 mm thick approved hardcore filling spread, well rammed and compacted in 150mm layers to receive concrete surface bed | m3 | 3.6
Insitu concrete: class 15: mix 1:3:6
| 50mm blinding layer under foundations,hardcore surfaces | m2 | 25
| Treat hardcore surface with approved insecticide | m2 | 25
Concrete work
Reinforced Concrete class 25
| Strip foundation | m3 | 2.3
| 100mm thick floor slab with surface steel trowelled smooth | m2 | 7.5
| 100mm thick sloping ramp | m2 | 4.2
| 200 mm thick plinth | m2 | 1.2
Reinforcement
| Reinforcement bars (all sizes) as shown on the drawings | kg | 50
| Mesh fabric reinforcement ref. No. A142 laid in floor slab with minimum 150 mm side allowance | m2 | 21.4
Sawn formwork
| Formwork to sides of foundation strip girth over 75mm but not exceeding 150mm ,plinth over 150mm but not exceeding 225mm, edges of floor slab girth over 75mm but not exceeding 150mm | m | 38
Walling
| 150mm Thick masonry foundation walling in cement and sand mortar (1:3) | m2 | 4.2
| 400mm Thick masonry foundation walling in cement and sand mortar (1:3) | m2 | 7.3
| One layer 1000gauge polythene sheet damp proof membrane under beds: 300mm laps | m2 | 20.1
| 200mm wide Bituminous felt damp-proof course | m | 12.2
| Supply and fix 600x600x50mm thick medium duty precast concrete paving slabs in cement sand mortar | m2 | 1.6
Plinths
| 15mm thick cement sand rendering (1:3) to plinths | m2 | 2
| Prepare and apply three coats black bituminous paint to rendered plinths externally | m2 | 2
SUPERSTRUCTURES
Walling
| 150 Thick load bearing solid concrete block walling | m2 | 26.9
Concrete Work
Vibrated reinforced concrete class 25 (1:1.5:3) with 20mm maximum aggregate as described in:
| Lintel | m3 | 0.4
Reinforcement
| 8mm Diameter high tensile reinforcement bar | kg | 30
Sawn Formwork
| Formwork to sides and soffits of ring beam | m2 | 1.8
Roofing
Roof Structure
Sawn celcured cypress timber as described in:
| 200mm x 25mm Fascia Board | m | 15
| l00x50mmRafters | m | 11.7
| 100mm x 50mm wall plate | m | 7.8
| 50 x 50 Purlins | m | 15.6
Roof Covering
| 30 Gauge galvanized corrugated iron sheets fixed to timber Purlins | m2 | 15.2
Painting and Decorating
| Knot prime stop and apply two undercoats and one gloss finishing coat oil paint to fascia board 200- 300 mm wide | m | 15.2
Doors and Windows
| Purpose-made Timber single door made of 1well seasoned timber, door complete with all the necessary locks overall size 1000 x 2100mm high | No | 1
| Purpose-made Timber window made of well seasoned timber complete with all the necessary ironmongery overall size 950 x 1100mm high | No | 1
| Precast concrete window cill size 260 x 50mm Thick sunk - weathered and throated and bedded and jointed in cement sand mortar | m | 1
| Prepare and apply two undercoats and one finishing coat oil paint to steel door | m2 | 4
| Ditto windows | m2 | 2
Finishes
Floor Finishes
Cement and sand mortar (1:3) in:
| 30mm thick steel trowelled screed | m2 | 14.9
| 100 x 25mm Thick skirting to junction with floor and wall finish | m | 11
Wall Finishes
Cement and sand mortar (1:3) rendering in:
| 13 mm Thick mortar rendering with steel float finish to masonry wall,walls and beams, | m2 | 60
Prepare and apply three coats plastic emulsion paint to:
| Rendered surfaces and plastered surfaces | m2 | 60
| TOTAL COST FOR WATER KIOSK |  |  |  | 0
No | Summary of Borehole rehabilitation
1 | Pipeline laying and joining works |  |  |  | 0
2 | Elevated Concrete Storage tank(25m3) |  |  |  | 0
3 | Supplies |  |  |  | 0
4 | Construction of 2 water kiosks |  |  |  | 0
| Total of Bore hole rehabilitation |  |  |  | 0
| Add 5% contigency |  |  |  | 0
| GRAND TOTAL |  |  |  | 0

## Shallow well
SHALLOW WELL REHABILITATION
ITEM | DESCRIPTION | UNIT | QTY | RATE (USD) | AMOUNT (USD)
WELL REHABILITATION
Diameter 1.5m ; Average depth of excavation 9m
Excavation
Excavation including maintaining and supporting sides and keeping free from water, mud and fallen materials by bailing, pumping or otherwise
| Excavate for foundation strip commencing at stripped level depth not exceeding 9.50m deep | m3 | 16 |  | 0
| Extra-over for excavation in soft rock | m3 | 3 |  | 0
| Remove surplus excavated material from site | m3 | 13 |  | 0
Filing
| 400mm thick approved natural ground material,Well compacted approved selected material | m3 | 25 |  | 0
| Rubble stone embedded in sand cement mortar (1:4) | m3 | 5 |  | 0
| 400 x 200mm stone steps built into wall | No. | 6 |  | 0
Vibrated Reinforced Concrete class 30(1:1:2) with 20mm thick maximum aggregate size in
| 200mm Thick floor slab,200mm thick wall,200mm thick base slab | m2 | 27 |  | 0
Reinforcement
| 100mm thick perforated reinforced concrete rings reinforced as shown on the drawings | No | 9 |  | 0
Sawn formwork
| Formwork to sides and soffits of beam,sides and soffits of pad,soffits of cover slab,sides of wall,Formwork to edges of base slab over 150mm girth but not exceeding 225mm,base slab over 75mm girth but not exceeding 150mm,cover slab over 75mm girth but not exceeding 150mm, | m2 | 120 |  | 0
Walling
| 200mm Thick masonry walling in cement and sand mortar (1:3),20 mm Thick plaster mixed with Sika or equivalent water proofing admixture,15mm thick rendering | m2 | 70 |  | 0
| Hire of dewatering pump / lifting equipment x 45 day @$50/day | LS | 1 |  | 0
| TOTAL COST OF WELL REHABILITATION |  |  |  | 0

## locations in Gedo
| sahollow wells |  |  |  | Bore hole rehabilitation
District | Location | Water source | Distance | HHs | District | Location | Water source | Distance | HHs
Beletxaawo | Shirko | sahollow wells | 15 | 150 | Luuq | Luuq town | Wells | 500m | 3300
Garbaharey | Dabley | sahollow wells | 35 | 200 | Garbaharrey | Garbaharrey town | Wells | 600m | 3300
Garbaharey | Burgudud | sahollow wells | 12 | 150 | Beletxaawo | Beletxaawo town | Wells | 5km | 4000
Garbaharey | Anamalay | sahollow wells | 12 | 150
Garbaharey | Bura | sahollow wells | 18 | 200
Garbaharey | Resqode | sahollow wells | 18 | 200
Luuq | Boholgaras | sahollow wells | 80 | 200
Luuq | Qoney | sahollow wells | 50 | 200
Luuq | Cusbo | sahollow wells | 35 | 100
Luuq | Godey | sahollow wells | 35 | 100
Total |  |  |  | 1650 | Total |  |  |  | 10600
Gedo project locations
Nr. | Settlement | District | Region
1 | Dabley | Garbaharrey | Gedo
2 | Resqode | Garbaharrey | Gedo
3 | Anamaley | Garbaharrey | Gedo
4 | Bura | Garbaharrey | Gedo
5 | Godey | Garbaharrey | Gedo
6 | Burgudud | Garbaharrey | Gedo
7 | Maracade | Garbaharrey | Gedo
8 | Degsharif | Garbaharrey | Gedo
9 | Sirko | Beletxaawo | Gedo
10 | Carabo | Beletxaawo | Gedo
11 | Haroo | Beletxaawo | Gedo
12 | Ceeldheer | Beletxaawo | Gedo
13 | Lolays | Beletxaawo | Gedo
14 | Boholgaras | Luuq | Gedo
15 | Qoney | Luuq | Gedo
16 | Cusbo | Luuq | Gedo
17 | Karaban | Luuq | Gedo
18 | Madawaje | Luuq | Gedo
19 | Biyacade | Luuq | Gedo