## MAIN BUILDING
PROPOSED GAROWE PUNTLAND WATER MINISTRY BUIDLINGS PROJECT
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 1
SUBSTRUCTURE (PROVISIONAL)
Excavation
A | Clear the site of bushes and excavate for vegetable soil average 200mm deep, remove from site | 225 | SM |  | 0
B | Excavate to reduce levels not exceeding 1.5m deep from
| reduced levels | 96.375 | CM |  | 0
Disposal of Excavated material
D | Backfill and compact in 150mm layers selected excavated material | 96.375 | CM |  | 0
E | Selected backfill to backside of foundations | 83.525 | CM |  | 0
Fillings
F | 300mm thick crushed stone hardcore; hand packed and levelled
| and compacted in 150mm layers to underside of ground floor slab | 48.6 | CM |  | 0
0
G | 100mm thick murram blinding to hardcore surface | 16.2 | SM |  | 0
Anti-Termite treatment
H | Insecticide treatment to blinded surface of hardcore | 162 | SM |  | 0
I | 50 Guage polythene sheet damp proof membrane to floors: | 162 | SM |  | 0
Insitu mass concrete class 15(1;4;8) vibrated
to:
J | 50mm blinding under strip footing | 3.21 | CM |  | 0
Insitu mass concrete class 20(1;2;6) vibrated
to:
K | 200mm Strip foundation | 12.84 | CM |  | 0
L | 150mm floor slab | 24.3 | CM | 0 | 0
SUBSTRUCTURE WALLING
FABRIC MESH REINFORCEMENT TYPE A142 TO B.S 1483
(Roll sizes 48 x 2.4m)
M | 200mm foundation block walling | 135.84 | SM |  | 0
COLUMNS AND FOOTINGS
Concrete class to columns and footings 20(1:2:4)
N | Column footing size (800mm x 800mm and thickness 450mm) | 8.2944 | CM |  | 0
O | Column size 200mm x 200mmx3500mm | 8.232 | CM |  | 0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
P | Y8 | 224.7696 | KG |  | 0
Q | Y12 | 571.536 | KG |  | 0
| Formwork class F1 finish to; |  |  |  | 0
R | Sides of foundations,columns and slab | 96.3 | SM |  | 0
| TOTAL FOR SUBSTRUCTURES |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 2
SUPERSTRUCTURE
Insitu concrete class 20 (1;2;4) vibrated reinforced to
A | Ring Beams | 6.792 | CM |  | 0
0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
B | Y8 | 133.7472 | KG |  | 0
C | Y12 | 69.552 | KG |  | 0
0
| Formwork F1 finish: |  |  |  | 0
0
D | Vertical sides and soffites of ring beams | 57.81 | SM |  | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 3
WALLING
INTERNAL & EXTERNAL
walling thickness:
A | 200mm local block walling | 85.76 | CM |  | 0
Parapet walling and balcony wall
| 200mm thick local block walling | 11.44 | CM | 0 | 0
B | Extra for finishing on
| jointing to vertical joints | 128 | LM |  | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 4
ROOF SLABS
Insitu reinforced concrete class 25 (20): vibrated: in
| 200mm thick |  |  |  | 0
A | Suspeded slab 150 mm thick | 24.3 | CM | 0 | 0
| High yield square twisted bars reinforcement bars to |  |  |  | 0
| BS 4461 (PROVISIONAL) |  |  | 0 | 0
0
G | Y10 | 302.4 | KG |  | 0
0
| Y12 | 442.26 | KG |  | 0
0
| Formwork class A1 |  |  |  | 0
B | soffits: suspeded slab | 162 | SM |  | 0
0
C | Sides : suspended slab | 16.98 | SM |  | 0
D | Penthouse roofing
| supply and fix roof timber structure for the roofing and install approved guage 28 G.I sheets for the roofing: see the drawings | 1 | Item
0
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 5
WINDOWS
| Purpose made steel casement window with pressed steel |  |  |  | 0
| ventilation hood and fixing to masonry joints and concrete |  |  |  | 0
| head and cill |  |  |  | 0
A | Provide 1500x1500 steel casement windows | 9 | No. |  | 0
| Provide 600x600 steel casement windows | 1 | No.
| Provide 1500x300 ventilation blocks | 9 | No. |  | 0
| Curtain Tracks |  |  |  | 0
B | Aluminium 'J' section curtain track with gliders one per 100mm of |  |  |  | 0
| track, end stops and brackets screwed at 600mm centres. | 9 | No. |  | 0
0
| Brass window handles | 9 | No. |  | 0
Precast concrete class 20: cilling cement mortar
C | 250 x 75mm cill bedded and jointed in cement and sand 1:4 and
| pointed in cement mortar 1:4. | 13.5 | LM |  | 0
0
| Clear glass sheet |  |  |  | 0
D | 4mm glass and glazing to metal with putty in panes exceeding 0.10 |  |  |  | 0
| to 0.5 metre square. | 13.5 | SM |  | 0
0
| Prepare and apply two undercoats and one gloss paint to |  |  |  | 0
| metal |  |  |  | 0
E | Surfaces of casement window (measured flat both sides) | 13.5 | LM |  | 0
| TOTAL FOR WINDOWS |  |  |  | 0
PROPOSED DEVELOPMENT
ELEMENT NO. 6
DOORS
EXTERNAL DOORS
Standard wooden doors
C | Double leaf 1800 x 2400mm ditto | 1 | No. |  | 0
Wooden internal doors
| Single leaf 900 x 2400mm ditto | 9 | No. |  | 0
| Iron mongery |  |  |  | 0
D | Three lever metal door lock as 'viro' | 11 | No. |  | 0
E | 150mm long 'Aldrop' pad bolt | 11 | No. |  | 0
|  |  |  | 0 | 0
| Prepare and apply two undercoats and one finishing gloss |  |  |  | 0
| paint to: |  |  |  | 0
F | Wooden doors | 47.52 | SM |  | 0
| TOTAL AMOUNT FOR DOORS |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 7
FINISHES
| Cement and sand(1:3) to finishes |  |  |  | 0
A | 30mm thick to floors | 162 | SM |  | 0
0
| 12mm thick lime plaster: |  |  |  | 0
B | Walls (both internal & external) | 857.6 | SM |  | 0
0
C | Sides and soffites of floor beams and ring beams | 33.96 | SM |  | 0
0
D | Parapet & balcony walling with 50mm thick coping | 124.8 | SM |  | 0
| Backing to receive floor tiles |  |  |  | 0
E | 12mm thick | 162 | SM |  | 0
0
| Cement and sand (1:4) |  |  |  | 0
F | 30 mm thick finished to receive ceramic tiles | 162 | SM |  | 0
| 30 x 330 x 8 mm Approved first grade coloured non-slip ceramic floor tiles to regular pattern: colour to architect's scheme: grouting joints in matching cement: in |  |  |  | 0
0
H | To floors: | 162 | SM |  | 0
| Prepare and apply one undercoat and three coats of the |  |  |  | 0
| emulsion paint to: |  |  |  | 0
A | sides and soffites of Beams | 33.96 | SM |  | 0
0
| Walls |  |  |  | 0
B | Plastered walls internally & externally - Main walls | 857.6 | SM |  | 0
C | Plastered walls internally & externally - Parapet & balcony | 62.4 | SM |  | 0
0
| TOTAL FOR FINISHES |  |  |  | 0
PROVISIONAL ITEMS
A | Allow a provisonal sum for washrooms mechanical systems: 1 No. WC seats, 1 No. wash hand basins with all the accessories | 1 | Item
B | Allow a provisonal sum for the 1 No. concerte ramp with 900mm high steel tubes handrails | 1 | Item
C | Allow a provisional sum for the R.C staircase construction | 1 | Item
| TOTAL FOR PROVISIONAL ITEMS |  |  |  | 0
ITEM | DESCRIPTION |  |  |  | AMOUNT
PROPOSED MINISTRY OF WATER KISMAYO BUILDING
SUMMARY
| ELEMENT | NO
A | Substructure | 1 |  |  | 0
B | R. C. Superstructure | 2 |  |  | 0
C | Walling | 3 |  |  | 0
D | Roofing and Rainwater disposal | 4 |  |  | 0
E | Window | 5 |  |  | 0
F | Doors | 6 |  |  | 0
G | Finishes | 7 |  |  | 0
H | Provisional items |  |  |  | 0
| TOTAL COST FOR MAIN BUILDING |  |  |  | 0

## MEETING HALL BLOCK
PROPOSED GAROWE PUNTLAND WATER MINISTRY BUIDLINGS PROJECT
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 1
SUBSTRUCTURE (PROVISIONAL)
Excavation
A | Clear the site of bushes and excavate for vegetable soil average 200mm deep, remove from site | 233 | SM |  | 0
B | Excavate to reduce levels not exceeding 1.5m deep from
| reduced levels | 49 | CM |  | 0
Disposal of Excavated material
D | Backfill and compact in 150mm layers selected excavated material | 49 | CM |  | 0
E | Selected backfill to backside of foundations | 63.7 | CM |  | 0
Fillings
F | 300mm thick crushed stone hardcore; hand packed and levelled
| and compacted in 150mm layers to underside of ground floor slab | 48.9 | CM |  | 0
0
G | 100mm thick murram blinding to hardcore surface | 16.3 | SM |  | 0
Anti-Termite treatment
H | Insecticide treatment to blinded surface of hardcore | 163 | SM |  | 0
I | 50 Guage polythene sheet damp proof membrane to floors: | 163 | SM |  | 0
Insitu mass concrete class 15(1;4;8) vibrated
to:
J | 50mm blinding under strip footing | 2.45 | CM |  | 0
Insitu mass concrete class 20(1;2;6) vibrated
to:
K | 200mm Strip foundation | 9.8 | CM |  | 0
L | 150mm floor slab | 24.45 | CM | 0 | 0
SUBSTRUCTURE WALLING
FABRIC MESH REINFORCEMENT TYPE A142 TO B.S 1483
(Roll sizes 48 x 2.4m)
M | 200mm foundation block walling | 99 | SM |  | 0
COLUMNS AND FOOTINGS
Concrete class to columns and footings 20(1:2:4)
N | Column footing size (800mm x 800mm and thickness 450mm) | 5.184 | CM |  | 0
O | Column size 200mm x 200mmx3500mm | 4.116 | CM |  | 0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
P | Y8 | 224.7696 | KG |  | 0
Q | Y12 | 571.536 | KG |  | 0
| Formwork class F1 finish to; |  |  |  | 0
R | Sides of foundations,columns and slab | 73.5 | SM |  | 0
| TOTAL FOR SUBSTRUCTURES |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 2
SUPERSTRUCTURE
Insitu concrete class 20 (1;2;4) vibrated reinforced to
A | Ring Beams | 2.466 | CM |  | 0
0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
B | Y8 | 133.7472 | KG |  | 0
C | Y12 | 69.552 | KG |  | 0
0
| Formwork F1 finish: |  |  |  | 0
0
D | Vertical sides and soffites of ring beams | 2.826 | CM |  | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 3
WALLING
INTERNAL & EXTERNAL
walling thickness:
A | 200mm local block walling | 53.667 | CM |  | 0
Parapet walling and balcony wall
| 200mm thick local block walling | 16.176 | CM
B | Extra for finishing on
| jointing to vertical joints | 80.1 | LM |  | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 4
ROOF SLABS
Insitu reinforced concrete class 25 (20): vibrated: in
| 200mm thick |  |  |  | 0
A | Suspeded slab 150 mm thick | 24.45 | CM | 0 | 0
| High yield square twisted bars reinforcement bars to |  |  |  | 0
| BS 4461 (PROVISIONAL) |  |  | 0 | 0
0
G | Y10 | 302.4 | KG |  | 0
0
| Y12 | 442.26 | KG |  | 0
0
| Formwork class A1 |  |  |  | 0
B | soffits: suspeded slab | 163 | SM |  | 0
0
C | Sides : suspended slab | 12.015 | SM | 0 | 0
0
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 5
WINDOWS
| Purpose made steel casement window with pressed steel |  |  |  | 0
| ventilation hood and fixing to masonry joints and concrete |  |  |  | 0
| head and cill |  |  |  | 0
A | Provide 1500x1500 steel casement windows | 15 | No. |  | 0
| Provide 900x1500 steel casement windows | 2 | No.
| Provide 1500x300 ventilation blocks | 15 | No. |  | 0
| Curtain Tracks |  |  |  | 0
B | Aluminium 'J' section curtain track with gliders one per 100mm of |  |  |  | 0
| track, end stops and brackets screwed at 600mm centres. | 17 | No. |  | 0
0
| Brass window handles | 17 | No. |  | 0
Precast concrete class 20: cilling cement mortar
C | 250 x 75mm cill bedded and jointed in cement and sand 1:4 and
| pointed in cement mortar 1:4. | 24.3 | LM |  | 0
0
| Clear glass sheet |  |  |  | 0
D | 4mm glass and glazing to metal with putty in panes exceeding 0.10 |  |  |  | 0
| to 0.5 metre square. | 25.5 | SM |  | 0
0
| Prepare and apply two undercoats and one gloss paint to |  |  |  | 0
| metal |  |  |  | 0
E | Surfaces of casement window (measured flat both sides) | 24.3 | LM |  | 0
| TOTAL FOR WINDOWS |  |  |  | 0
PROPOSED DEVELOPMENT
ELEMENT NO. 6
DOORS
EXTERNAL DOORS
Standard wooden doors
C | Double leaf 1800 x 2400mm ditto | 1 | No. |  | 0
Wooden internal doors
| Single leaf 900 x 2400mm ditto | 4 | No. |  | 0
| Iron mongery |  |  |  | 0
D | Three lever metal door lock as 'viro' | 5 | No. |  | 0
E | 150mm long 'Aldrop' pad bolt | 5 | No. |  | 0
|  |  |  | 0 | 0
| Prepare and apply two undercoats and one finishing gloss |  |  |  | 0
| paint to: |  |  |  | 0
F | Wooden doors | 25.92 | SM |  | 0
| TOTAL AMOUNT FOR DOORS |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 7
FINISHES
| Cement and sand(1:3) to finishes |  |  |  | 0
A | 30mm thick to floors | 163 | SM |  | 0
0
| 12mm thick lime plaster: |  |  |  | 0
B | Walls (both internal & external) | 536.67 | SM |  | 0
0
C | Sides and soffites of floor beams and ring beams | 28.26 | SM |  | 0
0
D | Parapet & balcony walling with 50mm thick coping | 161.76 | SM |  | 0
| Backing to receive floor tiles |  |  |  | 0
E | 12mm thick | 163 | SM |  | 0
0
| Cement and sand (1:4) |  |  |  | 0
F | 30 mm thick finished to receive ceramic tiles | 163 | SM |  | 0
| 30 x 330 x 8 mm Approved first grade coloured non-slip ceramic floor tiles to regular pattern: colour to architect's scheme: grouting joints in matching cement: in |  |  |  | 0
0
H | To floors: | 163 | SM |  | 0
| Prepare and apply one undercoat and three coats of the |  |  |  | 0
| emulsion paint to: |  |  |  | 0
A | sides and soffites of Beams | 28.26 | SM |  | 0
0
| Walls |  |  |  | 0
B | Plastered walls internally & externally - Main walls | 536.67 | SM |  | 0
C | Plastered walls internally & externally - Parapet & balcony | 161.76 | SM |  | 0
0
| TOTAL FOR FINISHES |  |  |  | 0
PROVISIONAL ITEMS
A | Allow a provisonal sum for the 1 No. concerte ramp with 900mm hifh steel tubes handrails | 1 | Item
| TOTAL FOR PROVISIONAL ITEMS |  |  |  | 0
ITEM | DESCRIPTION |  |  |  | AMOUNT
PROPOSED MINISTRY OF WATER KISMAYO BUILDING
SUMMARY
| ELEMENT | NO
A | Substructure | 1 |  |  | 0
B | R. C. Superstructure | 2 |  |  | 0
C | Walling | 3 |  |  | 0
D | Roofing and Rainwater disposal | 4 |  |  | 0
E | Window | 5 |  |  | 0
F | Doors | 6 |  |  | 0
G | Finishes | 7 |  |  | 0
H | Provisional items |  |  |  | 0
| TOTAL COST FOR MAIN BUILDING |  |  |  | 0

## septic tank (hidden)
|  | Qty | Unit | Rate | Amt
Item | Description
Excavations including maintaining and supporting sides and keeping free from water, mud and fallen material
A | Stripping of surface and excavation for septic tank in soft soil up to depth of approximately 1.8m; pit dimensions: 32.5m width x 5m length | 22.5 | C.M | 2 | 45
0
B | at 1.8m, finishing at 3.0 m; 2.5m width x 5m length. (when rock is not encountered, the excavation rates in soft soil will apply at these depths) | 15 | C.M | 2 | 30
0
| Reinforced concrete class 25, |  |  |  | 0
0
C | 150mm thick vibrated reinforced concrete for bottom | 1.88 | C.M | 122 | 229.36
| slab (concrete class 20) |  |  |  | 0
| Reinforcement, as described (PROVISIONAL) |  |  |  | 0
| High yield square twisted reinforcement to BS 4461 |  |  |  | 0
0
D | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacersfor bottom slab; Y10@ 200mm c/c . | 130 | KG | 3 | 390
E | Supply and fix sawn formwork to sides of bottom slab |  |  |  | 0
0
| 200x400mm block walling bedded and jointed in cement and sand (1:4) mortar, reinforcement with andincluding 25mm wide x 20 gauge hoop iron at every alternate course as described in: |  |  |  | 0
0
F | Sub-Structure walling | 43.75 | S.M | 18 | 787.5
0
| Cement and sand (1:3) screeds, backings, beds etc |  |  |  | 0
0
G | 15mm thick two coat cement sand (1:3) plaster trowelled smooth and comprising 12mm backing and 3mm finishing coat for internal walls. | 62.5 | S.M | 5 | 312.5
| Reinforced concrete class 25, |  |  |  | 0
H | Supply all materials and cast a 125mm thick vibrated reinforced concrete slab, mix1:2:4 or class 20/20. Top slab dimensions 2.5m x 5.0m | 1.6 | C.M | 122 | 195.2
0
| Reinforcement, as described (PROVISIONAL) |  |  |  | 0
0
| High yield square twisted reinforcement to BS 4461 |  |  |  | 0
0
I | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for top slab; Y10@ 200mm c/c . | 130 | KG | 3 | 390
J | Supply and fix sawn formwork to sides of bottom slab | 12.5 | L.M | 2 | 25
0
K | Supply and fix sawn formwork beneath the slab | 12.5 | S.M | 4 | 50
L | Manhole walling; 800mm wide x 800mm long x 450mm depth | 3 | S.M | 122 | 366
M | Manhole frame and covers | 4 | Pcs. | 14 | 56
0
N | Tank piping, fittings and accessories which includes among others ring bearers anchored in the wall and a 2.5 m heigh 4'' vent pipewith rain cower and fly net | 1 | item | 100 | 100
O | 4" brown sewer pipes with accessories laid with 1% slope in trenchof 0.5 to 0.8 m depth | 12 | L.M | 15 | 180
0
| Reinforced concrete class 25, |  |  |  | 0
0
P | 4" brown sewer pipes with accessories laid with 1% slope in trenchof 0.5 to 0.8 m depth | 12 | L.M | 15 | 180
0
| Reinforced concrete class 25, |  |  |  | 0
Q | Supply all materials and cast R.C. buffer beam, 100mm wide x 450mm deep,concrete class 20 | 0.3 | C.M | 200 | 60
R | 12mm high tensile square twisted bars; cold worked; BS4461 includingbends, hooks, tying wire, distance blocks and spacers for ring beam reinforcement, 4Y12 | 22 | KG | 2 | 44
S | Curing of all concrete and masonry works. Where applicable,sand may be used for covering the concrete or masonry works to be cured and removed afterwards. | 1 | Item | 50 | 50
0
| SUB-TOTAL FOR SEPTIC TANK |  |  |  | 0
0
| ELEMENT 2 : SOAK PIT |  |  |  | 0
0
T | Excavate 1.5m diameter x 3.5m depth pit | 5.5 | C.M | 12 | 66
0
U | Backfill with well packed approved hardcore to 2m depth | 3.5 | C.M | 20 | 70
0
V | Plastic sheeting | 2 | S.M | 6 | 12
0
W | 200mm thick normal soil backfill | 0.4 | C.M | 20 | 8
SUB-TOTAL FOR SOAK PIT
| GRAND TOTAL FOR SEPTIC TANK |  |  |  | 3646.56

## WASHROOMS
PROPOSED GAROWE PUNTLAND WATER MINISTRY BUIDLINGS PROJECT
Item | Description of Work/Items | Project Schedules Ref. | Unit | Quantity | Rate | Amount
The cost bid for the washroom/ toilets should be a lumpsum to meet the technical description presented below and as presented in the design drawings, and include all preparation, construction, finishing components :
| Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls, including plastering and painting, internal and external finishing, RCC slab roof,steel doors, windows and vents, plumbing fixtures ( 4 toilets,and 2 washbasin), ceramic floor tiles, electrical works, plumbing and drain / sewage works, exactly as per the design drawings and the specifications, descriptions on the design drawings for WASHROOMS. |  | lumpsum | 2 |  | 0
TOTAL FOR WASH ROOM | [5 empty] | 0

## PC SUMS
PROPOSED GAROWE PUNTLAND WATER MINISTRY BUIDLINGS PROJECT
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE (USD)
PC Sums
PRIME COST AND PROVISIONAL SUMS
The following prime cost sums are for works to be executed complete by nominated Sub-Contractors.
A | Allow a provisional sum for electrical installation | 1 | Item
B | Allow a provisional sum for 1 No septic tank for 30+ persons | 1 | Item
C | Allow a provisional sum for kitchen fittings and plumbing works | 1 | Item
D | Allow a provisinal sum for sewer and drainage system connection | 1 | Item
| TOTAL AMOUNT CARRIED TO GRAND SUMMARY |  |  | 0

## SUMMARY
GRAND SUMMARY PAGE
ELEMENT | DESCRIPTION | Amount (USD)
1 | MAIN BUILDING | 0
2 | MEETING ROOM BLOCK | 0
3 | WASHROOM BLOCK | 0
4 | PC SUMS | 0
| TOTAL | 0