## PRELIMINARIES
SECTION 1
PRELIMINARIES
SPECIAL NOTES
1 | The Contractor is required to check the numbers of the pages and should any be found to be missing or
in duplicate or the figures or writing indistinct, they must inform the Quantity Surveyors at once and have
the same rectified. Should the Contractor be in doubt about the precise meaning of any item, word or
figure, for any reason whatsoever, or observe any apparent omission of words or figures they must inform
the Quantity Surveyor in order that the correct meaning may be decided upon before the date for the
submission of the Tender.
2 | No liability whatever will be admitted nor claim allowed in respect of errors in the Contractor's Tender
due to mistakes in the Bills of Quantities which should have been rectified in the manner described
above.
3 | Any doubt or obscurity as to the meaning or intention of any part of the tender documents, or any
question arising, shall be taken up in writing, before submission of the tender so that the same can
be clarified.
4 | The Contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration
or qualification made without authority will be ignored and the text of the Bills of Quantities as
printed will be adhered to.
5 | The Contractor shall be deemed to have made allowance in their prices generally to cover items of
Preliminaries or additions to Prime Cost Sums or other items, if these have not been priced against the
respective items.
6 | All items of measured work shall be priced in detail and tenders containing lump sums to cover trades or
groups of work must be broken down to show prices for each item before they will be accepted.
Lump sums to cover items of Preliminaries shall likewise be broken down if so required.
7 | In no case will any expenses incurred by Contractors in preparation of this Tender be reimbursed.
8 | The copyright of these Bills of Quantities is vested in the Quantity Surveyors and no part thereof may
be reproduced without their express permission given in writing.
9 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the
Drawings and Architect's instructions and no claims for any loss or expense will be entertained for
orders for materials based upon the Bills of Quantities.
10 | The Bills of Quantities must be priced in US Dollar currency, i.e. US Dollars and Cents.
11 | The tender documents must be priced in ink.
INDEX
| SECTION NO. 1 |  |  | PRELIMINARIES AND GENERAL DESCRIPTIONS
| SECTION NO. 2 |  |  | MAIN BUILDING
| SECTION NO. 3 |  |  | MEETING HALL BLOCK
| SECTION NO. 4 |  |  | WASHROOMS
| SECTION NO. 5 |  |  | PC SUMS
| SECTION NO. 6 |  |  | GRAND SUMMARY
ITEM | DESCRIPTION | [7 empty] | AMOUNT
SECTION NO. 1
PRELIMINARIES AND GENERAL DESCRIPTIONS
PRELIMINARY PARTICULARS
A | PARTIES
| The "Employer" is |  |  |  | INTERNATIONAL ORGANIZATION FOR MIGRATION
For the purpose of the works which are under the control of the consultants above, the
respective consultants shall be deemed to be invested with the duties and be representatives
of the Architect.
B | SITE
The site is located In GALMUDUUG STATE
The site of the works shall be used solely for the purpose of executing and completing the
Contract to the satisfaction of the Architect.
The Contractor shall obtain the Architect's approval for the siting of all temporary storage
areas for materials.
The Contractors shall visit the site to acquaint themselves with its nature and position, the
nature of the ground, sub- strata and other local conditions, position of power and water
supplies, access roads or any other limitations, and no claims for extras will be considered
on account of lack of knowledge in this respect.
The Contractor's attention is drawn to the fact that they shall confine themselves to the area
necessary for executing the works as instructed by the Architect.
The contractor must obtain the Architect's approval and directions regarding the use of any
materials found on the Site. Any such material utilized in the execution of the Contract shall be
measured and value assessed by the Quantity Surveyor and the amount credited to the
Employer.
[5 empty] | Carried To Collection |  |  | US$
GENERAL MATTERS
A | SUFFICIENCY OF TENDER
The Contractor shall be deemed to have satisfied themselves before tendering as to the
correctness and sufficiency of their Tender for the Works and of the rates and prices stated
in the priced Bills of Quantities, which rates and prices shall cover all their obligations under the
Contract and all matters and things necessary for the proper completion and maintenance of
the Works.
B | STAMP CHARGES
The Contractor shall allow for the payment of all Stamp Charges in connection with the Surety
Bond and Contract Agreement.
C | DEFINITIONS AND ABBREVIATIONS
Terms used in these Bills of Quantities shall be interpreted as follows:
| "Approved" |  | shall mean approved by the Architect.
| "as directed" |  | shall mean as directed by the Architect or any other consultant in the contract.
| "BS" |  | Shall mean the current British Standard Specification published by the British
Standards Institution, 2 Park Street, London W.1, England.
| "CM" |  | shall mean Cubic Meters.
| "SM" |  | shall mean Square Meters.
| "LM" |  | shall mean Linear Meters.
| "mm" |  | shall mean Millimeters.
| "Kg" |  | shall mean Kilograms.
| "No." |  | shall mean Number.
| "m.s" |  | shall mean Measured separately.
| "Ditto " |  | shall mean as described before or as above described.
D | PROGRESS SCHEDULE
The Contractor shall, upon receiving instructions to proceed with the work, draw up a Time
and Progress Schedule setting out the order in which the Works are to be carried out with the
appropriate dates thereof. This Time and Progress Schedule is to be agreed with the Architect
and no deviation from the order set out in this Schedule will be permitted without the written
consent of the Architect. The Main Contractor will be responsible for arranging the above
programme with all Sub-Contractors including the Nominated Sub-Contractors and Nominated
Suppliers.
E | FIGURED DIMENSIONS
Figured dimensions are to be followed in preference to dimensions scaled from the Drawings;
but whenever possible dimensions are to be taken on the Site or from the Buildings. Before
any work is commenced by Sub-Contractors or Specialist Firms, dimensions must be checked
on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable
dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of
such dimensions.
[5 empty] | Carried To Collection |  |  | US$
A | PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered
for a reasonable time to allow all measurements needed for such adjustment to be taken by
the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall
give notice to the Quantity Surveyor.
If the Contractor makes default in these respects he shall, if the Architect so directs, uncover
the work at his own expense to enable the measurements to be taken.
B | EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant
Authorities the exact position, depth and level of all existing electric cables, water pipes or
other services in the area and they shall make whatever provisions may be required by the
Authorities concerned for the support and protection of such services. Any damage or
disturbance caused to any services shall be reported immediately to the Architect and the
relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
C | TRANSPORT TO AND FROM THE SITE
The Contractor shall include in their prices for the transport of materials, workmen, etc., to and
from the Site of the proposed Works, at such hours and by such routes as are permitted by
the Authorities.
D | OVERTIME
The Contractor shall allow in their tender for any extra costs for overtime working they
consider will be necessary in order to complete the works by the contract Date of Completion.
If during the course of the Contract overtime is worked for a specific purpose in accordance
with a written instruction issued by the Architect, the Contractor will be reimbursed in respect
of such overtime to the extent only of the additional net cost of unproductive time payable
over and above the basic hourly rates as laid down by the Regulations of Wages and
Conditions of Employment Act, Building and Construction Industry Wages council and
excluding any bonuses, profits and overheads.
E | PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at their own expense, any damage they may
cause to the present road surfaces and pavements within or beyond the boundary of the Site,
during the period of the Works. In particular, all existing trees, shrubs, plants, etc., which may
be destroyed or damaged during the progress of the Works are to be made good by the
Contractor to the approval of the Architect.
F | POLICE REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the
Police Authorities.
[6 empty] | Carried To Collection |  | US$
A | CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the Works a literate English-speaking Agent or
Representative, competent and experienced in the kind of work involved, who shall give
his whole time to the superintendence of the Works. Such Agent or Representative shall
receive on behalf of the Contractor, directions and instructions from the Architect and such
directions and instructions shall be deemed given to the Contractor in accordance with the
Conditions of Contract. The Agent shall not be replaced without the specific approval of the
Architect.
It is to be a specific condition of this Contract that the successful Tenderer shall provide
on site throughout the period from the completion of the substructure to the Date for
Practical Completion a suitably qualified, experienced and competent person to ensure
that the works are carried out to the standard required by the specification and detailed
on the Drawings; and shall ensure that upon any termination of employment a suitable
replacement is found.
Before the Tenderer's offer is accepted the Architect will personally interview the Contractor's
proposed Representative. A curriculum vitae of past experience and qualifications must be
provided for the Architect's scrutiny.
The Architect's decision will be final regarding the suitability of the proposed Representative.
B | WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or
alkaline substance in solution or suspension.
The Contractor shall provide at their own risk and cost all water for use in connection with the
Works (including the work of Sub-Contractors). The Contractor shall provide at their own
expense all temporary distribution pipes, storage tanks, meters, etc., and they shall clear
away same upon completion of the Works.
C | LIGHTING AND POWER
The Contractor shall provide at their own risk and cost all artificial lighting and power for use
on the Works, including all Sub-Contractors' and Specialists' requirements and including all
temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor
shall pay all fees and obtain all permits in connection therewith.
D | SAFETY
In particular there shall be proper provision of planked footways and guard-rails to scaffolding,
etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of
dangerous rubbish.
The Architect shall be empowered to suspend work on the Site should he consider these
conditions are not being observed, and no claim arising from such a suspension will be allowed.
[5 empty] | Carried To Collection |  |  | US$
A | PROTECTIVE CLOTHING
The Contractor shall provide all protective or any other special clothing or equipment for their
employees that may be necessary.
These shall include, inter-alia, safety helmets, gloves, goggles, earmuffs, gumboots, steel
toed boots, overalls, etc according to the type of work. The Contractor shall ensure
that all safety and protective gear are worn by all staff on site at all times
MATERIALS AND WORKMANSHIP
B | GENERALLY
All materials shall be new unless otherwise directed or permitted by the Architect and in all
cases where the quality of goods or materials is not described or otherwise specified, is to be
the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade
signification of that word.
All materials and workmanship shall, unless otherwise specified or described, conform to the
appropriate Kenya Bureau of Standards or British Standards Institution Specification current
at the date of tender.
The Contractor shall order all materials to be obtained from overseas immediately after the
Contract is signed and shall also order materials to be obtained from local sources as early as
necessary to ensure that such materials are on Site when required for use in the Works.
The Contractor shall be responsible for and shall replace or make good at their own expense
any materials lost or damaged.
The Works throughout shall be executed by skilled workmen well versed in their respective
trades.
C | REJECTED WORKMANSHIP OR MATERIALS
Any workmanship or materials not complying with the specific requirements or approved
samples or which have been damaged, contaminated or have deteriorated, must immediately
be removed from the Site and replaced at the Contractor's expense, as required.
D | PROPRIETARY MATERIALS
Where proprietary materials are specified herein-after the Contractor may propose the use of
materials of other manufacture but equal quality for approval by the Architect.
All materials and goods, where specified to be obtained from a particular manufacturer or
supplier are to be used or fixed strictly in accordance with their instructions.
E | SAMPLES
The Contractor shall furnish at the earliest possible opportunity before work commences and
at his own cost, any samples of materials or workman-ship that may be called for by the
Architect for his approval or rejection, and any further samples in the case of rejection until
such samples are approved by the Architect and such samples, when approved, shall be the
minimum standard for the work to which they apply.
[5 empty] | Carried To Collection |  |  | US$
A | CONCRETE TESTS
Concrete test cubes I.e. per set of three as later described, including testing fees, labour
and materials, making moulds, transport and handling etc.. and ensuing copies of tests
are promptly dispatched to the Architect's and Quantity Surveyor's offices.
Successful tests only (Provisional)
TEMPORARY WORKS
B | SPACE AND SERVICES FOR THE ARCHITECT
The Contractor shall provide where directed within the site, site offices and clean toilet facilities
for the sole use of the Architect and their representatives to the satisfaction of the Local
Authorities. The offices shall be provided with adequate furniture and the contractor shall
provide the services of a sweeper, pay all charges and keep the facilities in a clean and
sanitary condition during the whole period of the Works. In particular, the Contractor is to
note that the station will continue with operations during the period of the works and a
separate office and store shall be provided for full time use by the station dealer. Equally,
separate sanitary amenities shall be provided for the station staff to the satisfaction of the
Architect and local authorities.
C | TELEPHONE
The Contractor shall provide a telephone connection to the town exchange for the period of
the Works, and shall pay all fees and rental for the same. The telephone connection shall
remain on site until completion of the works.
D | SANITATION
The Contractor shall make arrangements for the necessary toilet facilities for their staff and
workmen to the requirements and satisfaction of the Health authorities and maintain the same
in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of
the Works and remove when no longer required.
E | PLANT, TOOLS AND SCAFFOLDING
The Contractor shall provide all necessary hoists, tackle, plant, vehicles, tools and appliances
of on every description for the due and satisfactory completion of the Works and shall remove
same completion.
The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong
and efficient for the due performance of the Works, including Sub-contract Works, provide
special scaffolding as and when required during the Works and remove on completion and
make good.
Such scaffolding shall be constructed of tubular steel or timber of sufficient scantlings and be
provided with planked footways and guard-rails to approval.
All such plant, tools and scaffolding shall comply with all regulations whether general or local, in
force throughout the period of the Contract and shall be altered or adapted during the Contract
as may be necessary to comply with any amendments in or additions to such regulations.
Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for
the above.
[5 empty] | Carried To Collection |  |  | US$
A | EXISTING AND ADJACENT PROPERTY
The Contractor must take all steps necessary to safeguard existing and adjacent property,
make good at their own expense any damage to persons or property caused thereon, and
hold the Employer indemnified against any such claim arising.
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings
and for any damage caused in consequence of these Works. They must reinstate all damages
at his own expense and indemnify the Employer against any loss.
The Contractor must take such steps and exercise such care and diligence as to minimize
nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent
property.
B | HOARDING
The Contractor shall enclose the site areas under which work is carried out, with
1.80 meter high barbed wire fence comprising treated blue gum poles at centres not
exceeding 3.0meters and 6No barbed wire strands at equal spacing
The contractors attention is drawn to the fact that some areas of the site are
already built up and shall be in use during the currency of this project. As such
the contractor must allow for keeping his/her employees from interfering with
such other users and preventing and minimizing any nuisance arising from dust,
noise or by way of trespass.
Allow for Provisional length of 100 meters @ (tenderer to insert rate and extend)
B | WATCHING AND LIGHTING
The Contractor shall provide at their risk and cost all watching and lighting as necessary to
safeguard the Works, plant and materials against damage and theft.
C | SIGNBOARD
The Signboard and lettering on same for the display of the General and Sub-Contractors'
names shall be of an approved size with the Employer's name painted thereon. The Architect's
Quantity Surveyor's and other Consultants' names shall be printed in 50 mm letters all to the
Architect's approved design. No other signboard or advertising will be permitted without prior
permission from the Architect.
[5 empty] | Carried To Collection |  |  | US$
A | PRIME COST RATES
Where description of items include a P.C. rate per unit this rate is to cover the net supply
cost of the unit only. The Contractor's price must include for the cost of the unit at the rate
stated, plus waste, taking delivery, storage, fixing in position, profit and overheads.
The actual net cost per unit will be adjusted within the Final Account against the P.C. rate
stated.
PROTECTION AND CLEANING
B | PROTECTION
The Contractor shall cover up and protect from damage, including damage from inclement
weather, all finished work and unfixed materials, including that of Sub-Contractors, etc., to the
satisfaction of the Architect until the completion of the Contract.
C | CLEANING
The Contractor shall, upon completion of the Works, at their own expense, remove and clear
away all surplus excavated materials, plant, rubbish and unused materials and shall leave the
whole of the Site and Works in a clean and tidy state to the satisfaction of the Architect,
including clearing away and making good all traces of temporary access roads, offices, sheds,
camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove
all paint and cement stains. They shall also, at the discretion of the Architect, remove all
rubbish and dirt as it accumulates. The Contractor is to find their own dump and shall pay
all charges in connection therewith.
[5 empty] | Carried To Collection |  |  | US$
Collection
|  | Brought forward from Page |  |  |  | 1/4
|  | Brought forward from Page |  |  |  | 1/5
|  | Brought forward from Page |  |  |  | 1/6
|  | Brought forward from Page |  |  |  | 1/7
|  | Brought forward from Page |  |  |  | 1/8
|  | Brought forward from Page |  |  |  | 1/9
|  | Brought forward from Page |  |  |  | 1/10
|  | Brought forward from Page |  |  |  | 1/11
| TOTAL FOR SECTION 1: PRELIMINARIES AND GENERAL DESCRIPTIONS CARRIED TO GRAND SUMMARY | [5 empty] | US$

## MAIN BUILDING
PROPOSED GALMUDUUG STATE WATER MINISTRY BUIDLINGS PROJECT
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 1
SUBSTRUCTURE (PROVISIONAL)
Excavation
A | Clear the site of bushes and excavate for vegetable soil average 200mm deep, remove from site | 424 | SM |  | 0
B | Excavate to reduce levels not exceeding 1.5m deep from
| reduced levels | 164.01 | CM |  | 0
Disposal of Excavated material
D | Backfill and compact in 150mm layers selected excavated material | 164.01 | CM |  | 0
E | Selected backfill to backside of foundations | 142.142 | CM |  | 0
Fillings
F | 300mm thick crushed stone hardcore; hand packed and levelled
| and compacted in 150mm layers to underside of ground floor slab | 100.92 | CM |  | 0
0
G | 100mm thick murram blinding to hardcore surface | 109.34 | SM |  | 0
Anti-Termite treatment
H | Insecticide treatment to blinded surface of hardcore | 336.45 | SM |  | 0
I | 50 Guage polythene sheet damp proof membrane to floors: | 336.45 | SM |  | 0
Insitu mass concrete class 15(1;4;8) vibrated
to:
J | 50mm blinding under strip footing | 5.467 | CM |  | 0
Insitu mass concrete class 20(1;2;6) vibrated
to:
K | 200mm Strip foundation | 21.868 | CM |  | 0
L | 150mm floor slab | 50.4675 | CM | 0 | 0
SUBSTRUCTURE WALLING
FABRIC MESH REINFORCEMENT TYPE A142 TO B.S 1483
(Roll sizes 48 x 2.4m)
M | 200mm foundation block walling | 219.24 | SM |  | 0
COLUMNS AND FOOTINGS
Concrete class to columns and footings 20(1:2:4)
N | Column footing size (800mm x 800mm and thickness 450mm) | 10.368 | CM |  | 0
O | Column size 200mm x 400mmx3500mm | 10.08 | CM |  | 0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
P | Y8 | 449.5392 | KG |  | 0
Q | Y12 | 762.048 | KG |  | 0
| Formwork class F1 finish to; |  |  |  | 0
R | Sides of foundations,columns and slab | 274.05 | SM |  | 0
| TOTAL FOR SUBSTRUCTURES |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 2
SUPERSTRUCTURE
Insitu concrete class 20 (1;2;4) vibrated reinforced to
A | Ring Beams | 12.042 | CM |  | 0
0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
B | Y8 | 133.7472 | KG |  | 0
C | Y12 | 69.552 | KG |  | 0
0
| Formwork F1 finish: |  |  |  | 0
0
D | Vertical sides and soffites of ring beams | 54.81 | SM |  | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 3
WALLING
INTERNAL & EXTERNAL
walling thickness:
A | 200mm local block walling | 134.469 | CM |  | 0
Parapet walling and balcony wall
B | 200mm thick local block walling | 18.528 | CM | 0 | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 4
ROOF SLABS
Insitu reinforced concrete class 25 (20): vibrated: in
| 200mm thick |  |  |  | 0
A | Suspeded slab 150 mm thick | 53.1675 | CM | 0 | 0
| High yield square twisted bars reinforcement bars to |  |  |  | 0
| BS 4461 (PROVISIONAL) |  |  | 0 | 0
0
G | Y10 | 483.84 | KG |  | 0
0
| Y12 | 442.26 | KG |  | 0
0
| Formwork class A1 |  |  |  | 0
B | Soffits: suspeded slab | 354.45 | SM |  | 0
0
C | Sides : suspended slab | 14.28 | SM | 0 | 0
D | Penthouse roofing
0
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 5
WINDOWS
| Purpose made steel casement window with pressed steel |  |  |  | 0
| ventilation hood and fixing to masonry joints and concrete |  |  |  | 0
| head and cill |  |  |  | 0
A | Provide 1800x1800 steel casement windows | 13 | No. |  | 0
| Provide 600x600 steel casement windows | 4 | No.
| Provide 1500x300 ventilation blocks | 13 | No. |  | 0
| Curtain Tracks |  |  |  | 0
B | Aluminium 'J' section curtain track with gliders one per 100mm of |  |  |  | 0
| track, end stops and brackets screwed at 600mm centres. | 13 | No. |  | 0
0
| Brass window handles | 13 | No. |  | 0
Precast concrete class 20: cilling cement mortar
C | 250 x 75mm cill bedded and jointed in cement and sand 1:4 and
| pointed in cement mortar 1:4. | 23.4 | LM |  | 0
0
| Clear glass sheet |  |  |  | 0
D | 4mm glass and glazing to metal with putty in panes exceeding 0.10 |  |  |  | 0
| to 0.5 metre square. | 23.4 | SM |  | 0
0
| Prepare and apply two undercoats and one gloss paint to |  |  |  | 0
| metal |  |  |  | 0
E | Surfaces of casement window (measured flat both sides) | 23.4 | LM |  | 0
| TOTAL FOR WINDOWS |  |  |  | 0
PROPOSED DEVELOPMENT
ELEMENT NO. 6
DOORS
EXTERNAL DOORS
Standard wooden doors
C | Double leaf 1800 x 2400mm ditto | 2 | No. |  | 0
| Double leaf 1200 x 2400mm ditto | 3 | No. |  | 0
Wooden internal doors
| Single leaf 900 x 2400mm ditto | 9 | No. |  | 0
| Single leaf 800 x 2400mm ditto | 4 | No. |  | 0
| Iron mongery |  |  |  | 0
D | Three lever metal door lock as 'viro' | 19 | No. |  | 0
E | 150mm long 'Aldrop' pad bolt | 19 | No. |  | 0
|  |  |  | 0 | 0
| Prepare and apply two undercoats and one finishing gloss |  |  |  | 0
| paint to: |  |  |  | 0
F | Wooden doors | 80.16 | SM |  | 0
| TOTAL AMOUNT FOR DOORS |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 7
FINISHES
| Cement and sand(1:3) to finishes |  |  |  | 0
A | 30mm thick to floors | 336.45 | SM |  | 0
0
| 12mm thick lime plaster: |  |  |  | 0
B | Walls (both internal & external) | 1344.69 | SM |  | 0
0
C | Sides and soffites of floor beams and ring beams | 12.042 | SM |  | 0
0
D | Parapet & balcony walling with 50mm thick coping | 185.28 | SM |  | 0
| Backing to receive floor tiles |  |  |  | 0
E | 12mm thick | 336.45 | SM |  | 0
0
| Cement and sand (1:4) |  |  |  | 0
F | 30 mm thick finished to receive ceramic tiles | 336.45 | SM |  | 0
| 30 x 330 x 8 mm Approved first grade coloured non-slip ceramic floor tiles to regular pattern: colour to architect's scheme: grouting joints in matching cement: in |  |  |  | 0
0
H | To floors: | 336.45 | SM |  | 0
| Prepare and apply one undercoat and three coats of the |  |  |  | 0
| emulsion paint to: |  |  |  | 0
A | sides and soffites of Beams | 12.042 | SM |  | 0
0
| Walls |  |  |  | 0
B | Plastered walls internally & externally - Main walls | 1344.69 | SM |  | 0
C | Plastered walls internally & externally - Parapet & balcony | 185.28 | SM |  | 0
0
| TOTAL FOR FINISHES |  |  |  | 0
PROVISIONAL ITEMS
A | Allow a provisonal sum for washrooms mechanical systems: 4 No. WC seats, 4 No. wash hand basins with all the accessories | 1 | Item
B | Allow a provisonal sum for LAB mechanical & plumbing accessories with all the carpentry fittings | 1 | Item
C | Allow a provisional sum for the R.C staircase construction | 1 | Item
| TOTAL FOR PROVISIONAL ITEMS |  |  |  | 0
ITEM | DESCRIPTION |  |  |  | AMOUNT
PROPOSED MINISTRY OF WATER KISMAYO BUILDING
SUMMARY
| ELEMENT | NO
A | Substructure | 1 |  |  | 0
B | R. C. Superstructure | 2 |  |  | 0
C | Walling | 3 |  |  | 0
D | Roofing and Rainwater disposal | 4 |  |  | 0
E | Window | 5 |  |  | 0
F | Doors | 6 |  |  | 0
G | Finishes | 7 |  |  | 0
H | Provisional items |  |  |  | 0
| TOTAL COST FOR MAIN BUILDING |  |  |  | 0

## MEETING HALL BLOCK
PROPOSED GALMUDUUG STATE WATER MINISTRY BUIDLINGS PROJECT
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 1
SUBSTRUCTURE (PROVISIONAL)
Excavation
A | Clear the site of bushes and excavate for vegetable soil average 200mm deep, remove from site | 158 | SM |  | 0
B | Excavate to reduce levels not exceeding 1.5m deep from
| reduced levels | 48 | CM |  | 0
Disposal of Excavated material
D | Backfill and compact in 150mm layers selected excavated material | 48 | CM |  | 0
E | Selected backfill to backside of foundations | 29.9 | CM |  | 0
Fillings
F | 300mm thick crushed stone hardcore; hand packed and levelled
| and compacted in 150mm layers to underside of ground floor slab | 34.911 | CM |  | 0
0
G | 100mm thick murram blinding to hardcore surface | 116.37 | SM |  | 0
Anti-Termite treatment
H | Insecticide treatment to blinded surface of hardcore | 116.37 | SM |  | 0
I | 50 Guage polythene sheet damp proof membrane to floors: | 116.37 | SM |  | 0
Insitu mass concrete class 15(1;4;8) vibrated
to:
J | 50mm blinding under strip footing | 1.6 | CM |  | 0
Insitu mass concrete class 20(1;2;6) vibrated
to:
K | 200mm Strip foundation | 6.4 | CM |  | 0
L | 150mm floor slab | 17.4555 | CM |  | 0
SUBSTRUCTURE WALLING
FABRIC MESH REINFORCEMENT TYPE A142 TO B.S 1483
(Roll sizes 48 x 2.4m)
M | 200mm foundation block walling | 55.92 | SM |  | 0
COLUMNS AND FOOTINGS
Concrete class to columns and footings 20(1:2:4)
N | Column footing size (800mm x 800mm and thickness 450mm) | 2.7648 | CM |  | 0
O | Column size 200mm x 400mmx3500mm | 8.232 | CM |  | 0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
P | Y8 | 119.8771 | KG |  | 0
Q | Y12 | 254.016 | KG |  | 0
| Formwork class F1 finish to; |  |  |  | 0
R | Sides of foundations,columns and slab | 52.5 | SM |  | 0
| TOTAL FOR SUBSTRUCTURES |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 2
SUPERSTRUCTURE
Insitu concrete class 20 (1;2;4) vibrated reinforced to
A | Ring Beams | 4.62 | CM |  | 0
0
High yield square twisted bars reinforcement bars to
BS 4461 (PROVISIONAL)
B | Y8 | 59.4432 | KG |  | 0
C | Y12 | 69.552 | KG |  | 0
0
| Formwork F1 finish: |  |  |  | 0
0
D | Vertical sides and soffites of ring beams | 1.74 | CM |  | 0
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 3
WALLING
INTERNAL & EXTERNAL
walling thickness:
A | 200mm local block walling | 31.222 | CM |  | 0
Parapet walling and balcony wall
| 200mm thick local block walling | 11.184 | CM
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
ELEMENT NO. 4
ROOF SLABS
Insitu reinforced concrete class 25 (20): vibrated: in
| 200mm thick |  |  |  | 0
A | Suspeded slab 150 mm thick | 17.4555 | CM |  | 0
| High yield square twisted bars reinforcement bars to |  |  |  | 0
| BS 4461 (PROVISIONAL) |  |  | 0 | 0
0
G | Y10 | 302.4 | KG |  | 0
0
| Y12 | 442.26 | KG |  | 0
0
| Formwork class A1 |  |  |  | 0
B | soffits: suspeded slab | 116.37 | SM |  | 0
0
C | Sides : suspended slab | 105.72 | SM | 0 | 0
0
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 5
WINDOWS
| Purpose made steel casement window with pressed steel |  |  |  | 0
| ventilation hood and fixing to masonry joints and concrete |  |  |  | 0
| head and cill |  |  |  | 0
A | Provide 1800x1800 steel casement windows | 6 | No. |  | 0
| Provide 900x1500 steel casement windows | 4 | No.
| Provide 1500x300 ventilation blocks | 8 | No. |  | 0
| Curtain Tracks |  |  |  | 0
B | Aluminium 'J' section curtain track with gliders one per 100mm of |  |  |  | 0
| track, end stops and brackets screwed at 600mm centres. | 10 | No. |  | 0
0
| Brass window handles | 10 | No. |  | 0
Precast concrete class 20: cilling cement mortar
C | 250 x 75mm cill bedded and jointed in cement and sand 1:4 and
| pointed in cement mortar 1:4. | 14.4 | LM |  | 0
0
| Clear glass sheet |  |  |  | 0
D | 4mm glass and glazing to metal with putty in panes exceeding 0.10 |  |  |  | 0
| to 0.5 metre square. | 12 | SM |  | 0
0
| Prepare and apply two undercoats and one gloss paint to |  |  |  | 0
| metal |  |  |  | 0
E | Surfaces of casement window (measured flat both sides) | 28.8 | LM |  | 0
| TOTAL FOR WINDOWS |  |  |  | 0
PROPOSED DEVELOPMENT
ELEMENT NO. 6
DOORS
EXTERNAL DOORS
Standard wooden doors
A | Double leaf 1800 x 2400mm ditto | 1 | No. |  | 0
| Iron mongery |  |  |  | 0
B | Three lever metal door lock as 'viro' | 2 | No. |  | 0
C | 150mm long 'Aldrop' pad bolt | 2 | No. |  | 0
|  |  |  | 0 | 0
| Prepare and apply two undercoats and one finishing gloss |  |  |  | 0
| paint to: |  |  |  | 0
D | Wooden doors | 8.64 | SM |  | 0
| TOTAL AMOUNT FOR DOORS |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PROPOSED DEVELOPMENT
ELEMENT NO. 7
FINISHES
| Cement and sand(1:3) to finishes |  |  |  | 0
A | 30mm thick to floors | 116.37 | SM |  | 0
0
| 12mm thick lime plaster: |  |  |  | 0
B | Walls (both internal & external) | 312.22 | SM |  | 0
0
C | Sides and soffites of floor beams and ring beams | 31.8 | SM |  | 0
0
D | Parapet & balcony walling with 50mm thick coping | 111.84 | SM |  | 0
| Backing to receive floor tiles |  |  |  | 0
E | 12mm thick | 116.37 | SM |  | 0
0
| Cement and sand (1:4) |  |  |  | 0
F | 30 mm thick finished to receive ceramic tiles | 116.37 | SM |  | 0
| 30 x 330 x 8 mm Approved first grade coloured non-slip ceramic floor tiles to regular pattern: colour to architect's scheme: grouting joints in matching cement: in |  |  |  | 0
0
H | To floors: | 116.37 | SM |  | 0
| Prepare and apply one undercoat and three coats of the |  |  |  | 0
| emulsion paint to: |  |  |  | 0
A | sides and soffites of Beams | 31.8 | SM |  | 0
0
| Walls |  |  |  | 0
B | Plastered walls internally & externally - Main walls | 312.22 | SM |  | 0
C | Plastered walls internally & externally - Parapet & balcony | 111.84 | SM |  | 0
0
| TOTAL FOR FINISHES |  |  |  | 0
PROVISIONAL ITEMS
A | Allow a provisonal sum for the access concrete steps | 1 | Item
| TOTAL FOR PROVISIONAL ITEMS |  |  |  | 0
ITEM | DESCRIPTION |  |  |  | AMOUNT
PROPOSED MINISTRY OF WATER KISMAYO BUILDING
SUMMARY
| ELEMENT | NO
A | Substructure | 1 |  |  | 0
B | R. C. Superstructure | 2 |  |  | 0
C | Walling | 3 |  |  | 0
D | Roofing and Rainwater disposal | 4 |  |  | 0
E | Window | 5 |  |  | 0
F | Doors | 6 |  |  | 0
G | Finishes | 7 |  |  | 0
H | Provisional items |  |  |  | 0
| TOTAL COST FOR MAIN BUILDING |  |  |  | 0

## septic tank (hidden)
|  | Qty | Unit | Rate | Amt
Item | Description
Excavations including maintaining and supporting sides and keeping free from water, mud and fallen material
A | Stripping of surface and excavation for septic tank in soft soil up to depth of approximately 1.8m; pit dimensions: 32.5m width x 5m length | 22.5 | C.M | 2 | 45
0
B | at 1.8m, finishing at 3.0 m; 2.5m width x 5m length. (when rock is not encountered, the excavation rates in soft soil will apply at these depths) | 15 | C.M | 2 | 30
0
| Reinforced concrete class 25, |  |  |  | 0
0
C | 150mm thick vibrated reinforced concrete for bottom | 1.88 | C.M | 122 | 229.36
| slab (concrete class 20) |  |  |  | 0
| Reinforcement, as described (PROVISIONAL) |  |  |  | 0
| High yield square twisted reinforcement to BS 4461 |  |  |  | 0
0
D | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacersfor bottom slab; Y10@ 200mm c/c . | 130 | KG | 3 | 390
E | Supply and fix sawn formwork to sides of bottom slab |  |  |  | 0
0
| 200x400mm block walling bedded and jointed in cement and sand (1:4) mortar, reinforcement with andincluding 25mm wide x 20 gauge hoop iron at every alternate course as described in: |  |  |  | 0
0
F | Sub-Structure walling | 43.75 | S.M | 18 | 787.5
0
| Cement and sand (1:3) screeds, backings, beds etc |  |  |  | 0
0
G | 15mm thick two coat cement sand (1:3) plaster trowelled smooth and comprising 12mm backing and 3mm finishing coat for internal walls. | 62.5 | S.M | 5 | 312.5
| Reinforced concrete class 25, |  |  |  | 0
H | Supply all materials and cast a 125mm thick vibrated reinforced concrete slab, mix1:2:4 or class 20/20. Top slab dimensions 2.5m x 5.0m | 1.6 | C.M | 122 | 195.2
0
| Reinforcement, as described (PROVISIONAL) |  |  |  | 0
0
| High yield square twisted reinforcement to BS 4461 |  |  |  | 0
0
I | 10mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for top slab; Y10@ 200mm c/c . | 130 | KG | 3 | 390
J | Supply and fix sawn formwork to sides of bottom slab | 12.5 | L.M | 2 | 25
0
K | Supply and fix sawn formwork beneath the slab | 12.5 | S.M | 4 | 50
L | Manhole walling; 800mm wide x 800mm long x 450mm depth | 3 | S.M | 122 | 366
M | Manhole frame and covers | 4 | Pcs. | 14 | 56
0
N | Tank piping, fittings and accessories which includes among others ring bearers anchored in the wall and a 2.5 m heigh 4'' vent pipewith rain cower and fly net | 1 | item | 100 | 100
O | 4" brown sewer pipes with accessories laid with 1% slope in trenchof 0.5 to 0.8 m depth | 12 | L.M | 15 | 180
0
| Reinforced concrete class 25, |  |  |  | 0
0
P | 4" brown sewer pipes with accessories laid with 1% slope in trenchof 0.5 to 0.8 m depth | 12 | L.M | 15 | 180
0
| Reinforced concrete class 25, |  |  |  | 0
Q | Supply all materials and cast R.C. buffer beam, 100mm wide x 450mm deep,concrete class 20 | 0.3 | C.M | 200 | 60
R | 12mm high tensile square twisted bars; cold worked; BS4461 includingbends, hooks, tying wire, distance blocks and spacers for ring beam reinforcement, 4Y12 | 22 | KG | 2 | 44
S | Curing of all concrete and masonry works. Where applicable,sand may be used for covering the concrete or masonry works to be cured and removed afterwards. | 1 | Item | 50 | 50
0
| SUB-TOTAL FOR SEPTIC TANK |  |  |  | 0
0
| ELEMENT 2 : SOAK PIT |  |  |  | 0
0
T | Excavate 1.5m diameter x 3.5m depth pit | 5.5 | C.M | 12 | 66
0
U | Backfill with well packed approved hardcore to 2m depth | 3.5 | C.M | 20 | 70
0
V | Plastic sheeting | 2 | S.M | 6 | 12
0
W | 200mm thick normal soil backfill | 0.4 | C.M | 20 | 8
SUB-TOTAL FOR SOAK PIT
| GRAND TOTAL FOR SEPTIC TANK |  |  |  | 3646.56

## WASHROOMS
PROPOSED GALMUDUUG STATE WATER MINISTRY BUIDLINGS PROJECT
Item | Description of Work/Items | Unit | Quantity | Rate | Amount
The cost bid for the washroom/ toilets should be a lumpsum to meet the technical description presented below and as presented in the design drawings, and include all preparation, construction, finishing components :
| Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls, including plastering and painting, internal and external finishing, RCC slab roof,steel doors, windows and vents, plumbing fixtures ( 4 toilets,and 2 washbasin), ceramic floor tiles, electrical works, plumbing and drain / sewage works, exactly as per the design drawings and the specifications, descriptions on the design drawings for WASHROOMS. | lumpsum | 1 |  | 0
TOTAL FOR WASH ROOM |  |  |  |  | 0

## PC SUMS
PROPOSED GALMUDUUG STATE WATER MINISTRY BUIDLINGS PROJECT
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE (USD)
PC Sums
PRIME COST AND PROVISIONAL SUMS
The following prime cost sums are for works to be executed complete by nominated Sub-Contractors.
A | Allow a provisional sum for electrical installation | 1 | Item
B | Allow a provisional sum for 1 No septic tank for 30+ persons | 1 | Item
C | Allow a provisinal sum for sewer and drainage system connection | 1 | Item
| TOTAL AMOUNT CARRIED TO GRAND SUMMARY |  |  | 0

## SUMMARY
GALMUDUUG STATE BUILDINGS GRAND SUMMARY PAGE
ELEMENT | DESCRIPTION | Amount (USD)
1 | PRELIMINARIES | 0
2 | MAIN BUILDING | 0
3 | MEETING ROOM BLOCK | 0
4 | WASHROOM BLOCK | 0
5 | PC SUMS | 0
| TOTAL | 0