## Prelimns
SPECIAL NOTES
1 | The Contractor is required to check the numbers of the pages and should any be found to be missing or
in duplicate or the figures or writing indistinct, they must inform the Quantity Surveyors at once and have
the same rectified. Should the Contractor be in doubt about the precise meaning of any item, word or
figure, for any reason whatsoever, or observe any apparent omission of words or figures they must inform
the Quantity Surveyor in order that the correct meaning may be decided upon before the date for the
submission of the Tender.
2 | No liability whatever will be admitted nor claim allowed in respect of errors in the Contractor's Tender
due to mistakes in the Bills of Quantities which should have been rectified in the manner described
above.
3 | Any doubt or obscurity as to the meaning or intention of any part of the tender documents, or any
question arising, shall be taken up in writing, before submission of the tender so that the same can
be clarified.
4 | The Contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration
or qualification made without authority will be ignored and the text of the Bills of Quantities as
printed will be adhered to.
5 | The Contractor shall be deemed to have made allowance in their prices generally to cover items of
Preliminaries or additions to Prime Cost Sums or other items, if these have not been priced against the
respective items.
6 | All items of measured work shall be priced in detail and tenders containing lump sums to cover trades or
groups of work must be broken down to show prices for each item before they will be accepted.
Lump sums to cover items of Preliminaries shall likewise be broken down if so required.
7 | In no case will any expenses incurred by Contractors in preparation of this Tender be reimbursed.
8 | The copyright of these Bills of Quantities is vested in the Quantity Surveyors and no part thereof may
be reproduced without their express permission given in writing.
9 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the
Drawings and Architect's instructions and no claims for any loss or expense will be entertained for
orders for materials based upon the Bills of Quantities.
10 | The Bills of Quantities must be priced in US DOllar currency, i.e. Dollars and Cents.
11 | The tender documents must be priced in ink.
INDEX
| SECTION NO. 1 |  | PRELIMINARIES AND GENERAL DESCRIPTIONS
| SECTION NO. 2 |  | CAFETERIA BLOCK
| SECTION NO. 3 |  | EXTERNAL WORKS
GRAND SUMMARY
ITEM | DESCRIPTION | [7 empty] | AMOUNT (US$)
SECTION NO. 1
PRELIMINARIES
PRELIMINARY PARTICULARS
A | PARTIES
| The "Employer" is |  |  |  | INTERNATIONAL ORGANIZATION FOR MIGRATION
For the purpose of the works which are under the control of the consultants above, the
respective consultants shall be deemed to be invested with the duties and be representatives
of the Architect.
B | SITE
The site is located on DOLOW DISTRICT
The site of the works shall be used solely for the purpose of executing and completing the
Contract to the satisfaction of the Architect.
The Contractor shall obtain the Architect's approval for the siting of all temporary storage
areas for materials.
The Contractors shall visit the site to acquaint themselves with its nature and position, the
nature of the ground, sub- strata and other local conditions, position of power and water
supplies, access roads or any other limitations, and no claims for extras will be considered
on account of lack of knowledge in this respect.
The Contractor's attention is drawn to the fact that they shall confine themselves to the area
necessary for executing the works as instructed by the Architect.
The contractor must obtain the Architect's approval and directions regarding the use of any
materials found on the Site. Any such material utilized in the execution of the Contract shall be
measured and value assessed by the Quantity Surveyor and the amount credited to the
Employer.
GENERAL MATTERS
A | SUFFICIENCY OF TENDER
The Contractor shall be deemed to have satisfied themselves before tendering as to the
correctness and sufficiency of their Tender for the Works and of the rates and prices stated
in the priced Bills of Quantities, which rates and prices shall cover all their obligations under the
Contract and all matters and things necessary for the proper completion and maintenance of
the Works.
B | STAMP CHARGES
The Contractor shall allow for the payment of all Stamp Charges in connection with the Surety
Bond and Contract Agreement.
C | DEFINITIONS AND ABBREVIATIONS
Terms used in these Bills of Quantities shall be interpreted as follows:
| "Approved" |  | shall mean approved by the Architect.
| "as directed" |  | shall mean as directed by the Architect or any other consultant in the contract.
| "BS" |  | Shall mean the current British Standard Specification published by the British
Standards Institution, 2 Park Street, London W.1, England.
| "CM" |  | shall mean Cubic Meters.
| "SM" |  | shall mean Square Meters.
| "LM" |  | shall mean Linear Meters.
| "mm" |  | shall mean Millimeters.
| "Kg" |  | shall mean Kilograms.
| "No." |  | shall mean Number.
| "m.s" |  | shall mean Measured separately.
| "Ditto " |  | shall mean as described before or as above described.
D | PROGRESS SCHEDULE
The Contractor shall, upon receiving instructions to proceed with the work, draw up a Time
and Progress Schedule setting out the order in which the Works are to be carried out with the
appropriate dates thereof. This Time and Progress Schedule is to be agreed with the Architect
and no deviation from the order set out in this Schedule will be permitted without the written
consent of the Architect. The Main Contractor will be responsible for arranging the above
programme with all Sub-Contractors including the Nominated Sub-Contractors and Nominated
Suppliers.
E | FIGURED DIMENSIONS
Figured dimensions are to be followed in preference to dimensions scaled from the Drawings;
but whenever possible dimensions are to be taken on the Site or from the Buildings. Before
any work is commenced by Sub-Contractors or Specialist Firms, dimensions must be checked
on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable
dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of
such dimensions.
[5 empty] | Carried To Collection |  |  | US$ | 0
A | PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered
for a reasonable time to allow all measurements needed for such adjustment to be taken by
the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall
give notice to the Quantity Surveyor.
If the Contractor makes default in these respects he shall, if the Architect so directs, uncover
the work at his own expense to enable the measurements to be taken.
B | EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant
Authorities the exact position, depth and level of all existing electric cables, water pipes or
other services in the area and they shall make whatever provisions may be required by the
Authorities concerned for the support and protection of such services. Any damage or
disturbance caused to any services shall be reported immediately to the Architect and the
relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
C | TRANSPORT TO AND FROM THE SITE
The Contractor shall include in their prices for the transport of materials, workmen, etc., to and
from the Site of the proposed Works, at such hours and by such routes as are permitted by
the Authorities.
D | OVERTIME
The Contractor shall allow in their tender for any extra costs for overtime working they
consider will be necessary in order to complete the works by the contract Date of Completion.
If during the course of the Contract overtime is worked for a specific purpose in accordance
with a written instruction issued by the Architect, the Contractor will be reimbursed in respect
of such overtime to the extent only of the additional net cost of unproductive time payable
over and above the basic hourly rates as laid down by the Regulations of Wages and
Conditions of Employment Act, Building and Construction Industry Wages council and
excluding any bonuses, profits and overheads.
E | PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at their own expense, any damage they may
cause to the present road surfaces and pavements within or beyond the boundary of the Site,
during the period of the Works. In particular, all existing trees, shrubs, plants, etc., which may
be destroyed or damaged during the progress of the Works are to be made good by the
Contractor to the approval of the Architect.
F | POLICE REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the
Police Authorities.
[6 empty] | Carried To Collection |  | US$ | 0
A | CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the Works a literate English-speaking Agent or
Representative, competent and experienced in the kind of work involved, who shall give
his whole time to the superintendence of the Works. Such Agent or Representative shall
receive on behalf of the Contractor, directions and instructions from the Architect and such
directions and instructions shall be deemed given to the Contractor in accordance with the
Conditions of Contract. The Agent shall not be replaced without the specific approval of the
Architect.
It is to be a specific condition of this Contract that the successful Tenderer shall provide
on site throughout the period from the completion of the substructure to the Date for
Practical Completion a suitably qualified, experienced and competent person to ensure
that the works are carried out to the standard required by the specification and detailed
on the Drawings; and shall ensure that upon any termination of employment a suitable
replacement is found.
Before the Tenderer's offer is accepted the Architect will personally interview the Contractor's
proposed Representative. A curriculum vitae of past experience and qualifications must be
provided for the Architect's scrutiny.
The Architect's decision will be final regarding the suitability of the proposed Representative.
B | WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or
alkaline substance in solution or suspension.
The Contractor shall provide at their own risk and cost all water for use in connection with the
Works (including the work of Sub-Contractors). The Contractor shall provide at their own
expense all temporary distribution pipes, storage tanks, meters, etc., and they shall clear
away same upon completion of the Works.
C | LIGHTING AND POWER
The Contractor shall provide at their own risk and cost all artificial lighting and power for use
on the Works, including all Sub-Contractors' and Specialists' requirements and including all
temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor
shall pay all fees and obtain all permits in connection therewith.
D | SAFETY
In particular there shall be proper provision of planked footways and guard-rails to scaffolding,
etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of
dangerous rubbish.
The Architect shall be empowered to suspend work on the Site should he consider these
conditions are not being observed, and no claim arising from such a suspension will be allowed.
[5 empty] | Carried To Collection |  |  | US$ | 0
A | PROTECTIVE CLOTHING
The Contractor shall provide all protective or any other special clothing or equipment for their
employees that may be necessary.
These shall include, inter-alia, safety helmets, gloves, goggles, earmuffs, gumboots, steel
toed boots, overalls, etc according to the type of work. The Contractor shall ensure
that all safety and protective gear are worn by all staff on site at all times
MATERIALS AND WORKMANSHIP
B | GENERALLY
All materials shall be new unless otherwise directed or permitted by the Architect and in all
cases where the quality of goods or materials is not described or otherwise specified, is to be
the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade
signification of that word.
All materials and workmanship shall, unless otherwise specified or described, conform to the
appropriate Kenya Bureau of Standards or British Standards Institution Specification current
at the date of tender.
The Contractor shall order all materials to be obtained from overseas immediately after the
Contract is signed and shall also order materials to be obtained from local sources as early as
necessary to ensure that such materials are on Site when required for use in the Works.
The Contractor shall be responsible for and shall replace or make good at their own expense
any materials lost or damaged.
The Works throughout shall be executed by skilled workmen well versed in their respective
trades.
C | REJECTED WORKMANSHIP OR MATERIALS
Any workmanship or materials not complying with the specific requirements or approved
samples or which have been damaged, contaminated or have deteriorated, must immediately
be removed from the Site and replaced at the Contractor's expense, as required.
D | PROPRIETARY MATERIALS
Where proprietary materials are specified herein-after the Contractor may propose the use of
materials of other manufacture but equal quality for approval by the Architect.
All materials and goods, where specified to be obtained from a particular manufacturer or
supplier are to be used or fixed strictly in accordance with their instructions.
E | SAMPLES
The Contractor shall furnish at the earliest possible opportunity before work commences and
at his own cost, any samples of materials or workman-ship that may be called for by the
Architect for his approval or rejection, and any further samples in the case of rejection until
such samples are approved by the Architect and such samples, when approved, shall be the
minimum standard for the work to which they apply.
[5 empty] | Carried To Collection |  |  | US$ | 0
A | CONCRETE TESTS
Concrete test cubes I.e. per set of three as later described, including testing fees, labour
and materials, making moulds, transport and handling etc.. and ensuing copies of tests
are promptly dispatched to the Architect's and Quantity Surveyor's offices.
Successful tests only (Provisional)
TEMPORARY WORKS
B | SPACE AND SERVICES FOR THE ARCHITECT
The Contractor shall provide where directed within the site, site offices and clean toilet facilities
for the sole use of the Architect and their representatives to the satisfaction of the Local
Authorities. The offices shall be provided with adequate furniture and the contractor shall
provide the services of a sweeper, pay all charges and keep the facilities in a clean and
sanitary condition during the whole period of the Works. In particular, the Contractor is to
note that the station will continue with operations during the period of the works and a
separate office and store shall be provided for full time use by the station dealer. Equally,
separate sanitary amenities shall be provided for the station staff to the satisfaction of the
Architect and local authorities.
C | TELEPHONE
The Contractor shall provide a telephone connection to the town exchange for the period of
the Works, and shall pay all fees and rental for the same. The telephone connection shall
remain on site until completion of the works.
D | SANITATION
The Contractor shall make arrangements for the necessary toilet facilities for their staff and
workmen to the requirements and satisfaction of the Health authorities and maintain the same
in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of
the Works and remove when no longer required.
E | PLANT, TOOLS AND SCAFFOLDING
The Contractor shall provide all necessary hoists, tackle, plant, vehicles, tools and appliances
of on every description for the due and satisfactory completion of the Works and shall remove
same completion.
The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong
and efficient for the due performance of the Works, including Sub-contract Works, provide
special scaffolding as and when required during the Works and remove on completion and
make good.
Such scaffolding shall be constructed of tubular steel or timber of sufficient scantlings and be
provided with planked footways and guard-rails to approval.
All such plant, tools and scaffolding shall comply with all regulations whether general or local, in
force throughout the period of the Contract and shall be altered or adapted during the Contract
as may be necessary to comply with any amendments in or additions to such regulations.
Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for
the above.
[5 empty] | Carried To Collection |  |  | US$ | 0
A | EXISTING AND ADJACENT PROPERTY
The Contractor must take all steps necessary to safeguard existing and adjacent property,
make good at their own expense any damage to persons or property caused thereon, and
hold the Employer indemnified against any such claim arising.
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings
and for any damage caused in consequence of these Works. They must reinstate all damages
at his own expense and indemnify the Employer against any loss.
The Contractor must take such steps and exercise such care and diligence as to minimize
nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent
property.
B | HOARDING
The Contractor shall enclose the site areas under which work is carried out, with
1.80 meter high barbed wire fence comprising treated blue gum poles at centres not
exceeding 3.0meters and 6No barbed wire strands at equal spacing
The contractors attention is drawn to the fact that some areas of the site are
already built up and shall be in use during the currency of this project. As such
the contractor must allow for keeping his/her employees from interfering with
such other users and preventing and minimizing any nuisance arising from dust,
noise or by way of trespass.
Allow for Provisional length of 100 meters @ (tenderer to insert rate and extend)
B | WATCHING AND LIGHTING
The Contractor shall provide at their risk and cost all watching and lighting as necessary to
safeguard the Works, plant and materials against damage and theft.
C | SIGNBOARD( TRANSPARENCY BOARD)
The Signboard and lettering on same for the display of the General and Sub-Contractors'
names shall be of an approved size with the Employer's name painted thereon. The Architect's
Quantity Surveyor's and other Consultants' names shall be printed in 50 mm letters all to the
Architect's approved design. No other signboard or advertising will be permitted without prior
permission from the Architect.
[5 empty] | Carried To Collection |  |  | US$ | 0
A | PRIME COST RATES
Where description of items include a P.C. rate per unit this rate is to cover the net supply
cost of the unit only. The Contractor's price must include for the cost of the unit at the rate
stated, plus waste, taking delivery, storage, fixing in position, profit and overheads.
The actual net cost per unit will be adjusted within the Final Account against the P.C. rate
stated.
PROTECTION AND CLEANING
B | PROTECTION
The Contractor shall cover up and protect from damage, including damage from inclement
weather, all finished work and unfixed materials, including that of Sub-Contractors, etc., to the
satisfaction of the Architect until the completion of the Contract.
C | CLEANING
The Contractor shall, upon completion of the Works, at their own expense, remove and clear
away all surplus excavated materials, plant, rubbish and unused materials and shall leave the
whole of the Site and Works in a clean and tidy state to the satisfaction of the Architect,
including clearing away and making good all traces of temporary access roads, offices, sheds,
camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove
all paint and cement stains. They shall also, at the discretion of the Architect, remove all
rubbish and dirt as it accumulates. The Contractor is to find their own dump and shall pay
all charges in connection therewith.
[5 empty] | Carried To Collection |  |  | US$ | 0
Collection
|  | Brought forward from Page |  |  |  | 1/3
|  | Brought forward from Page |  |  |  | 1/4
|  | Brought forward from Page |  |  |  | 1/5
|  | Brought forward from Page |  |  |  | 1/6
|  | Brought forward from Page |  |  |  | 1/7
|  | Brought forward from Page |  |  |  | 1/8
|  | Brought forward from Page |  |  |  | 1/9
|  | Brought forward from Page |  |  |  | 1/10
| TOTAL FOR SECTION 1: PRELIMINARIES AND GENERAL DESCRIPTIONS CARRIED TO GRAND SUMMARY | [5 empty] | US$ |  | 0

## Cafeteria
PROPOSED REHABILITATION OF ORIENTATION CENTRE IN DOLOW-SOMALIA
CAFETERIA AND ASSOCIATED AMENTITIES
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT ($)
Element No. 1
Substructures (All provisional)
Site Clearance
A | Clear site of debris,shrubs and the like,grab up their roots if any,dispose off as appropriate,set out the facility as per design | 1 | ITEM |  | 0
Excavation and earthworks
B | Excavate trenches for strip footing not exceeding 1.5m deep commencing at stripped level. | 90 | CM |  | 0
C | Extra over all excavations for excavating in other material other than top soil or rock | 7 | Cm |  | 0
Disposal of excavated materials
D | Cart away surplus excavated material and spread on site as instructed | 35 | CM |  | 0
E | Return fill and compact selected excavated materials around foundations | 15 | CM | 0 | 0
Planking and strutting
F | Planking and strutting to sides of all excavations and keeping the same free from fallen materials. | 1 | Item |  | 0
Imported filling
G | Imported fill as murram or equal approved material to make up levels; well watered, rolled and compacted in layers not exceeding 150mm thick | 43 | Cm |  | 0
H | 300 mm thick approved hardcore filling: deposited, spread, levelled and compacted in layers not exceeding 150mm thick | 85 | Sm |  | 0
J | 50mm Thick stone dust blinding to surfaces of hardcore filling. | 85 | Sm |  | 0
| Total carried to collection |  |  |  | 0
Concrete work
50mm Thick mass concrete (1:4:8) class 15/20 in Blinding under:
A | Strip footing. | 36 | Sm |  | 0
Vibrated Reinforced Concrete: 1:2:4 mix: class 20/20 in:
B | Strip footing. | 12 | Cm |  | 0
C | 150mm thick floor bed | 85 | Sm |  | 0
High tensile square twisted reinforcement to BS 4461
D | 10mm bars | 135 | Kg |  | 0
E | 8mm bars | 55 | Kg | 0 | 0
Mesh fabric reinforcement to BS 4483 set in concrete with 300mm side and end laps (measured nett - allow for laps)
F | BRC Ref A142 weighing 2.22kg per square metre. | 85 | Sm |  | 0
Formwork: to
G | Strip footing; vertical sides. | 24 | Sm |  | 0
| Total carried to collection |  |  |  | 0
Water proofing
A | 500g Polythene damp proof membrane laid under floor bed with 300mm side and end laps ( measured nett allow for laps) | 85 | Sm |  | 0
Antitermite treatment
B | Anti - termite treatment as 'dragnet 38% EC' or equally approved to surfaces of hardcore: to be executed by an approved specialist under 10year guarantee. | 85 | Sm |  | 0
Walling
Medium dressed natural stone wall: load bearing 7.0N/mm2: bedded and jointed in cement and sand 1:4 mortar: reinforced with 25mm x 3mm hoop iron strips laid horizontally at every alternate course as described in:
C | 200mm Thick walling | 60 | Sm |  | 0
Plinths
D | 12mm Thick cement and sand (1:4) render to concrete or stonework: wood float finished | 8 | Sm |  | 0
E | Prepare and apply two coats bituminous paint on render | 8 | Sm |  | 0
F | 50 mm thick quarry dust or other equal and approved blinding material to to receive precast concrete paving slabs. | 38 | Sm |  | 0
| Total carried to collection below |  |  |  | 0
Collection
| From Page 1/1 |  |  |  | 0
| From page 1/2 |  |  |  | 0
| From page 1/3 above |  |  |  | 0
| Total Carried to Summary. |  |  |  | 0
Element No. 2
R.C. Superstructure
Vibrated Reinforced Concrete: 1:1.5:3 mix: class 25/20 in:
A | Ringbeam,Lintols & Beams | 4 | Cm |  | 0
| Supply and fix the following reinforcement bars including cutting, bending, hooking, tying and supporting as required. |  | .
High tensile square twisted reinforcement to BS 4461 ( provisional)
B | 12mm bars | 225 | Kg |  | 0
C | 8mm bars | 125 | Kg | 0 | 0
Formwork: to
D | Ring beam sides and soffits | 48 | Sm |  | 0
| Total Carried to Summary |  |  |  | 0
Element No. 3
Walling
External walling
| Fine dressed natural stone wall: load bearing 7.0 N/mm2: bedded, jointed and pointed in cement and sand (1:4) mortar: reinforced with 25 x 3mm hoop iron strips laid horizontally at every alternate course as described in: |  |  |  | .
A | 200mm Thick walling | 93 | Sm |  | 0
B | Ditto: gable | 10 | Sm | 0 | 0
Internal walling
C | 200mm Thick walling | 73 | Sm | 0 | 0
Hessian based bituminous felt horizontal damp proof course: bedded and jointed in cement and sand (1:3) mortar (measured nett, allow for laps)
D | 200mm Wide | 60 | Lm |  | 0
Ventilation block
E | Provide and lay in 1:3 Cement sand mortar ventilation block as per design and specifications | 3 | Sm |  | 0
| Total Carried to Summary |  |  |  | 0
Element No. 4
Roofing
Covering
Covering
A | Gauge 28 Prepainted Roofing Sheets laid with 75mm end laps: on Purlins m/s | 90 | Sm |  | 0
B | 300mm diameter approved half round ridge cap | 15.5 | Lm |  | 0
Structure
Sawn cypress: pressure impregnated: selected and kept clean
C | 100 x 50mm Wall plate fastened to beams with 12mm diameter x 250mm long bolts including nuts and washers at 1000mm centres | 33 | Lm |  | 0
D | 100 x 50mm Truss rafters | 52 | Lm |  | 0
E | Ditto: Tie beam | 41 | Lm | 0 | 0
F | 100 x 50mm King post | 29 | Lm | 0 | 0
G | Ditto: Ties or struts | 63 | Lm | 0 | 0
H | 150 x 50mm Ridge board | 18 | Lm |  | 0
J | 75 x 50mm Purlins | 75 | Lm |  | 0
| Total carried to collection |  |  |  | 0
Wrot prime grade cypress: selected and kept clean
A | Ex 100 x 25mm Thick tongued and grooved eaves boarding: fixed to 50 x 25mm bearers. | 36 | Sm |  | 0
B | 225 x 25mm Fascia board | 30 | Lm |  | 0
C | Ditto: Barge board. | 30 | Lm | 0 | 0
Rainwater goods: purpose made: in 2mm mild steel: one coat red oxide primer
D | 150 x 150mm Box gutter fixed to fascia board with mild steel brackets at 1200mm centres | 25 | Lm |  | 0
E | Extra over gutters for nozzle outlets. | 12 | No. |  | 0
F | 100mm Diameter downpipe fastened to walls with mild steel holder bats. | 12 | Lm |  | 0
G | Extra over downpipe for shoe. | 12 | No. | 0 | 0
H | Ditto swan neck | 12 | No. | 0 | 0
Painting and Decorating with 'crown' products or equal and approved manufacturer(s)
I | Knot, prime, stop, prepare and apply three coats polyurethane clear varnish on surfaces of woodwork externally (eaves boarding) | 36 | Sm |  | 0
J | Prepare surfaces and apply three coats gloss oil paint on wood surfaces externally 200-300mm girth (fascia and berge board) | 22 | Lm |  | 0
K | Prepare surfaces and apply three coats gloss oil paint on metal surfaces externally | 22 | Sm |  | 0
| Total carried to collection below |  |  |  | 0
Collection
| From Page |  |  |  | 0
| From page above |  |  |  | 0
| Total Carried to Summary |  |  |  | 0
Element No. 5
Windows
| Supply and fix the following purpose made standard Steel casement window with divisions 300mm wide horizantal and 300mm wide vertical,: hooded mosquito proofed permanent vents: pin type hinges: including all necessary cutting, welding, grinding, ironmongery one coat red oxide primer before fixing. |  |  | .
Window size
A | 1500 x 1500mm | 5 | No |  | 0
B | 600 x 900mm | 6 | No |  | 0
Glazing
C | 4mm Clear sheet glass in panes not exceeding 0.1 square metres with linseed putty. | 12 | Sm |  | 0
D | Ditto; Obscure | 4 | Sm |  | 0
Pelmet box and window board
Wrought Cypress; 1st grade; selected, treated and kept clean; in:-
E | 150 x 25mm fascia | 8 | Lm |  | 0
F | Ditto: Top fixed to bearers(m.s) | 8 | Lm | 0 | 0
G | 150 x 150 x 25mm end piece. | 20 | No |  | 0
| Carried to Collection |  |  |  | 0
Curtain rails
A | One pair heavy duty aluminium 'I' section curtain tracks: including labour for making bends, brackets, ends stops and ten runners per linear metre | 10 | Lm |  | 0
Painting and Decorating with 'crown'products as before described
B | Prepare surfaces and apply three coats gloss oil paint as 'Crown' or equal and approved manufacturer(s) on surfaces of steel casements and burglarproofing grills: measured overall on both sides over glass. | 16 | Sm |  | 0
C | Knot, prime, stop, prepare and apply three coats polyurethane clear varnish on general: surfaces of woodwork internally: surfaces over 200 but not exceeding 300mm girth. | 12 | Lm |  | 0
D | Ditto: over 100 but not exceeding 200mm girth. | 12 | Lm | 0 | 0
E | Prepare and apply one coat aluminium wood primer on surfaces of woodwork: over 100 but not exceeding 200mm girth: before fixing | 12 | Lm | 0 | 0
| Total carried to collection below |  |  |  | 0
Collection
| From page |  |  |  | 0
| From page (above) |  |  |  | 0
| Total Carried to Summary |  |  |  | 0
Element No. 6
Flush Doors
45mm Thick standard semi solid core flush door: plywood faced both sides: hardwood lipped all round: as described in door size:
A | Ditto;800X2400mm Solid Core Flush Door | 4 | No |  | 0
Wrought Cypress: selected and kept clean
B | 100 x 50mm Door frame with one labour | 27 | Lm |  | 0
C | 100 x 50mm transome with two labours | 5 | Lm | 0 | 0
D | 50 x 15mm Architrave ditto | 27 | Lm |  | 0
E | 15mm Quadrant beading ditto | 27 | Lm |  | 0
Supply and fix the following iromongery as 'Union' or other equal and approved manufacturer(s)
F | Two lever mortice lock with aluminium handles | 4 | No |  | 0
G | 100mm Pressed steel butt hinges | 6 | Prs |  | 0
H | 38mm Diameter rubber door stop rawl bolted to floor or wall | 4 | No |  | 0
Painting and Decorating with 'crown'products as before described
I | Prepare and apply three coats gloss oil paint on general woodwork surfaces internally (flush doors) | 16 | Sm |  | 0
J | Prepare and apply one coat aluminium wood primer on surfaces of woodwork: over 100 but not exceeding 200mm girth: before fixing | 54 | Lm |  | 0
Grille doors; 1 coat red oxide primer before delivery to site and 3 Coats on installation
A | Mild steel grille; side hang double door; size 1500 x 2400mm high; single leaf; comprising 100 x 50 x 4mm RHS door frame to top and sides: 60 x 40 x 3mm RHS stiles, top, 2No middle and bottom rails: infilled with 25 x 25 x 4mm SHS rails at 200mm centres both ways: 100mm wide x 4mm Thick metal sheet along middle rail on both sides: including purpose made pin type hinges, tower bolt and padlock hasps | 1 | NO |  | 0
B | Ditto; 900 x 2400mm High | 4 | NO |  | 0
| Total Carried to Summary |  |  |  | 0
Element No. 7
Finishes;Floor finishes
Cement and sand (1:4) screed: on concrete: to
A | 30mm floors: wood float backing to receive Ceramic Tiles | 57 | Sm |  | 0
B | Skirting: 150mm high to match | 30 | Lm |  | 0
C | Ceramic Floor tiles
| Coloured Floor ceramic tiles: 300 x 300 x 10mm: first grade: bedded, jointed and pointed in 'sealmaster 201' grout or equal and approved tile adhesive: to | 57 | Sm |  | 0
D | 35mm Red oxide pigmented screed to other areas | 28 | Sm |  | 0
Wall finishes
13mm Lime plaster comprising of 9mm first coat of cement, lime putty and sand (1:2:9) and second coat of cement, lime putty and sand (1:1:6) : steel trowelled finish: on concrete or masonry: to
E | Walls: internally
| 10mm Cement and sand (1:4) backing: wood float finished: on masonry or concrete surface: to | 109 | Sm |  | 0
Ceiling finishes
F | 12mm thick chipboard fixed to and including 50 x 50mm treated softwood battens (m.s) at 600mm centres both ways | 85 | Sm |  | 0
Wrot cypress: selected, treated and kept clean: in
G | 100 x 25mm thick moulded cornice plugged to wall | 37 | Lm |  | 0
H | Extra over ceiling for trap door size 600 x 600mm. | 2 | No. |  | 0
| Total Carried to Collection |  |  |  | 0
Prepare surfaces and apply three coats 'Crown Solo' pure satin emulsion paint: on
A | Plastered wall or concrete surfaces internally | 109 | Sm |  | 0
External Wall Finishes
D | 12mm Thick cement and sand (1:4) render to concrete or masonry surfaces: wood float finished. | 93 | Sm |  | 0
E | Prepare surfaces and apply three coats exterior quality emulsion paint as 'Crown' or equally approved on render. | 93 | Sm |  | 0
Extra over for neat square, 15 x 15mm horizontal recessed and flush vertical pointing: to blockwork: externally: on
F | External walling | 0 | Sm
| Total carried to collection below |  |  |  | 0
Collection
| From page |  |  |  | 0
| From page (above) |  |  |  | 0
| Total Carried to Summary |  |  |  | 0
PROVISIONAL SUMS.
A | Allow a provisional sum of $.3000.00 for Electrical Fittings |  |  | SUM
B | Allow a provisional sum of $.1500.00 for Plumbing and associated Saniraty fittings |  |  | SUM
C | Allow for Joinery works in the Kitchen and Café |  |  | SUM
| Total Provisional Sums to Main Summary |  |  |  | 0
S U M M A R Y
A | Substructures |  |  |  | 0
B | R.C Superstructure |  |  |  | 0
C | Walling |  |  |  | 0
D | Roofing |  |  |  | 0
E | Windows |  |  |  | 0
F | Doors |  |  |  | 0
G | Finishes |  |  |  | 0
H | Provisional Sums |  |  |  | 0
| TOTAL CARRIED TO GRAND SUMMARY |  |  |  | 0
MS

## External works
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT ($)
EXTERNAL WORKS
PARKING (PROVISIONAL)
A. | Clear the site off undergrowth and burn the arising material on site as directed by the Architect | 100 | SM |  | 0
B | Remove by way of manual grading loose soil/earth and compact ground to achieve a firm base in proper lines and gradients to permit water disposal | 100 | SM |  | 0
C | Construct new masonry kerb as directed,rate to include for excavation,blinding,bedding and hauch for the kerb,finished by plastering and painting in premium grade road marking paint,all to approval by the Architect | 60 | LM |  | 0
| Parking Total to summary |  |  |  | 0
REHABILITATION OF EXISTING BOUNDARY WALL
WALLING
Wire brush existing,plaster surfaces of walling,remove dirt,dust,grits and prepare surface to receive new painting,rate to include for minor repairs
A. | 200 mm thick wall to details | 275 | SM |  | 0
Precast Concrete
B. | Ditto; for 275 x 50 mm thick pre-cast concrete coping bedded and jointed in cement : sand ( 1:4 ) mortar. | 175 | LM |  | 0
C. | 350 x 350 x 50 mm thick column ditto | 44 | NO |  | 0
Steel work including all necessary welds, bending,cutting and priming in red oxide.
D | Supply and fix the gate average overall size 4000x2755mm in two leaves to architects approval. | 1 | No |  | 0
E | Purpose made 25 x25mm Grillage on top of coping stone
| to detail | 175 | Lm |  | 0
| Wall Rehabilitation to summary |  |  |  | 0
SUMMARY
1 | Parking |  |  |  | 0
2 | Boundary Wall |  |  |  | 0
| TOTAL FOR EXTERNAL WORKS CARRIED TO GRAND SUMMARY |  |  |  | 0

## Grand Summary
ITEM | DESCRIPTION | PAGE | AMOUNT($)
PROPOSED REHABILITATION OF ORIENTATION CENTRE AND ASSOCIATED WORKS IN DOLOW-SOMALIA.
GRAND SUMMARY
1 | PRELIMINARY ITEMS |  | 0
2 | CAFETERIA AND ASSOCIATED AMENITIES |  | 0
3 | EXTERNAL WORKS |  | 0
| SUB-TOTAL 1 |  | 0
| ADD 5% CONTINGENCIES |  | 0
| TOTAL PROJECT COST INCLUSIVE OF TAXES |  | 0
Name of Contractor …………………………………………………………………
| Signature ……………………………… | Address ……………….
Name of Witness ………………………………………………………………………
| Signature ……………………………… | Address ……………….
Name of Employer …………………………………………………………………
| Signature ……………………………… | Address ……………….
Name of Witness ………………………………………………………………………
| Signature ……………………………… | Address ……………….
GS/1