## Main building
PROJECT: CONSTRUCTION OF BARWAQO HEALTH CENTRE
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
Project No:
| Project Title: | CONSTRUCTION OF BARWAQO HEALTH CENTRE AT BAIDOA RELOCATION SITE
| Location: | BAIDOA, SOUTH WEST STATE, SOMALIA
Tender No:
Tender Title:
Original Issue:
Barwaqo Health Center -Main building - BLOCK A
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qty | Rate | Amount
General
Preliminaries
A | Pre-construction work, mobilisation activities |  | lumpsum | 1 | 0 | 0
B | Post construction works and clean up. |  | lumpsum | 1 | 0 | 0
SUB TOTAL FOR GENERAL | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUB STRUCTURES
Earthwork schedules
D | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site |  | SM | 250 | 0 | 0
E | Excavate foundation trench commencing at stripped level and not exceeding 1.0m deep. |  | CM | 69.6 | 0 | 0
F | Return fill in and ram selected excavated material around foundations. |  | CM | 32.48 | 0 | 0
Selected hardcore
I | 300mm Selected hardcore bed, spread, levelled, well rammed and consolidated and blinded with 50mm thick murram, quarry dust or sand to receive damp proof membrane (measured separately). |  | CM | 42.21 | 0 | 0
Approved insecticide treatment.
J | 1000 Gauge polythene sheeting as damp proof membrane laid on blinded hardcore (measured separately) with welted laps (measured net - no allowance made for laps). |  | SM | 120.6 | 0 | 0
CONCRETE WORKS
L | Strip foundation 200mm thick |  | CM | 6.72 | 0 | 0
M | Ground beam |  | CM | 8.96 | 0 | 0
N | 100mm thck floor bed |  | SM | 116.4 | 0 | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
O | 8mm Bars |  | KG | 185.808 | 0 | 0
P | 12mm Bars |  | KG | 706.848 | 0 | 0
Sawn formwork to:
Q | Sides of the ground beam |  | SM | 44.8 | 0 | 0
| Sides of the strip foundation |  | SM | 44.8 | 0 | 0
BRC
T | A142 BRC |  | SM | 116.4 | 0 | 0
Substructures walling
U | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work |  | CM | 62.72 | 0 | 0
V | construction masonary staircase, ramp with good finishing works including handrails. |  | Lumsup | 1 | 0 | 0
SUBTOTAL FOR SUBSTRUCTURES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUPERSTRUCTURE - CONCRETE AND WALLING
CONCRETE WORKS
W | Lintel beam and Roof beam |  | CM | 8.8 | 0 | 0
X | Superstructures columns |  | CM | 0.84 | 0 | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
Y | 8mm Bars |  | KG | 229.9098 | 0 | 0
B1 | 10mm Bars for ring beams |  | KG | 542.96 | 0 | 0
Sawn formwork to:
C1 | Sides of the ring beam |  | SM | 88 | 0 | 0
D1 | Sides of the columns |  | SM | 16.8 | 0 | 0
SUPERSTRUCTURE - WALLING
External and Internal Walls
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
E1 | 200 mm Thick walls |  | SM | 330 | 0 | 0
F1 | Ditto but vent blocks |  | SM | 2.7 | 0 | 0
SUB TOTAL FOR WALLING AND SUPERSTRUCTURE CONCRETE | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
FINISHES
Wall finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
H1 | Concrete or masonry surfaces internally and externally Plastering |  | SM | 660 | 0 | 0
Fill uneven surfaces with stucco filler to approval and apply two coats soft white external textured paint to:
| Plastered surfaces internally and externally |  | SM | 660 | 0 | 0
Prepare surfaces and apply three coats gloss oil paint as 'Crown' or equal and approved manufacturer(s) on concrete and masonry surfaces: measured overall on both sides
M1 | Plastered surfaces internally and externally |  | SM | 660 | 0 | 0
Floor finishes
Cement and sand (1:4) screed: to hacked floors: in
P1 | 40mm thick finished to receive ceramic tiles floor finish |  | SM | 144.15 | 0 | 0
300x 300 x 8mm non-slip ceramic floor tiles as approved, jointed & bedded with c/s mortar (1:3) grouting joints in matching cement:
Q1 | Floor tiles |  | SM | 132 | 0 | 0
R1 | Ditto: but for wet area NON-SLIP floor tiles |  | SM | 5.7 | 0 | 0
| Ditto: but for wall tiles 200x300x8mm |  | SM | 22.2 | 0 | 0
S1 | 100 x 8mm skirting to match |  | LM | 142.6 | 0 | 0
SUBTOTAL FOR FINISHES | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
WINDOWS AND DOORS
WINDOWS
T1 | Metal casment windows
| Window frame size 1200X1500 MM |  | NO | 9 | 0 | 0
U1 | Ventilation windows
| Windows frame size 600X600MM |  | NO | 1 | 0 | 0
DOORS
W1 | Complete Standard steel panneled door with mortise lock and well painted. The doors should have three hinges
| 1200X2200MM high |  | No | 1 | 0 | 0
| 900X2200MM high |  | No | 6 | 0 | 0
| 750X2200MM high |  | No | 1 | 0 | 0
| SUBTOTAL FOR DOORS |  |  |  |  | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
ROOFING
Roofing trusses- light timber work
Sawn cypress: first grade: clean: pre-treated with wood preservative to engineers approval: including jointing and connections as necessary
Supply and fix the following treated softwood including fabrication and hoisting in position
X1 | 100x50mm for rafters, ridge and tie beam, 75x50mm for ties, struts and purlins |  | SM | 210 | 0 | 0
Y1 | Roof sheets as IT4 profile gauge 28 pre-painted galvanised roofing sheets laid with 95 mm side and 200 mm end laps hook bolts, PVC washer and tropicalized slip cup |  | SM | 210 | 0 | 0
Z1 | 200x25mm fascia board |  | LM | 70.6 | 0 | 0
| Suppy and provide 10mm deorative chipboard ceiling |  | SM | 144 | 0 | 0
RAIN WATER GOODS
| 116 mm uPVC square gutter fixed to fascia boards with and including approved brackets at 500 mm centres |  | m | 41.5 | 0 | 0
| Extra over gutter for stopped ends |  | No | 6 | 0 | 0
| Ditto but for 100 mm diameter outlet |  | No | 6 | 0 | 0
Downpipe
| 100 mm diameter uPVC downpipe fixed to wall with and including holder butts at 500 mm centres |  | ml | 22 | 0 | 0
| Extra over downpipe for swanneck 1,200 mm long |  | No | 6 | 0 | 0
| Ditto horse shoe 300 mm long |  | No | 6 | 0 | 0
SUBTOTAL FOR ROOFING | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
Plumping and Electrical works
Piping
Supply, deliver and install pipes, tubing and fittings as described and shown on the drawings. The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors where required, valves, unions, sockets, sliding and fixed joints, support raceways, isolating sheaths, elastic material, expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes.
| Supply and install heavy duty PPR pipes including all connections |  | LS | 1 | 0 | 0
SANITARY INSTALLATIONS
Sanitary appliances complete with all the connections to services, waste, jointing to supply overflows and plugging and scewing to the floors. Where trade names are mentioned below, the reference is intended to be as a guide to the type of fitting.
| Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved |  | No | 2 | 0 | 0
| Squat pan suite in white vitreous china comprising: Glazed W.C. pan with heavy duty unbreakable plastic seat and cover, close couple cistern and fittings, 6.0 litres, including chrome lever and cover clip and WC outlet connector. The cistern to have internal overflow. Water closet pan to be as 'Twyford classic' or equal and approved |  | No | 1 | 0 | 0
| 6 mm thick polished beveled plate glass mirror size 610x610 mm on foam and 6 mm plywood timber backing in hard wood timber framing fixed on wall with dome headed brass screws |  | No | 2 | 0 | 0
| PVC floor trap |  | No | 3 | 0 | 0
| Allow for all all connections, pressure testing at 4 bars for 24hours and commissioning of the sanitary fittings and accessories to the entire satisfaction of the Engineer |  | LS | 1 | 0 | 0
Electrical works
C2 | Provide a Provisional Sum of US$. for Electrical Installations to be expended as directed by the Architect and measured and valued on completion |  | LS | 1 | 0 | 0
INCINARATOR
The cost bid for the incinerator should be a lumpsum to meet the technical description presented below and as presented in the design drawings, and include all preparation, construction, finishing components :
| Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, - fire bricks, sand, fire cement(high alumina), rolled steel angle, rolled steel channel, flat sheet (mild steel) for loading and ash door, flat sheet (mild steel) for chimney spigot support, mild steel pipe (100mm dia), hinges for ash and loading doors, masonary plugs (rawlplugs), concrete foundation = 2m x 2m x 0.15m. exactly as per the specifications, descriptions on the design drawings and engineers' approval |  | LS | 1 | 0 | 0
SUBTOTAL PLUMPING WORKS AND ELECTRICAL | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUMMARY OF COMPONENT
Currency:
Project No:
Project Title:
Location:
Tender No:
Tender Title:
Original Issue:
Summary of Bula-gadud Helath Center - Main Building
1 | Subtotal for General |  |  |  | 0
3 | Subtotal for Sub structure |  |  |  | 0
4 | Subtotal for Walling and Super Structure Concrete |  |  |  | 0
5 | Subtotal for Finishes |  |  |  | 0
6 | Subtotal for Windows |  |  |  | 0
7 | Subtotal for Doors |  |  |  | 0
8 | Subtotal for Roofing |  |  |  | 0
9 | Subtotal for Plumbing works and Electrical |  |  |  | 0
Total for Main Building | [5 empty] | 0

## Boundary wall
PROJECT: CONSTRUCTION OF BARWAQO HEALTH CENTRE
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
Project No:
| Project Title: | CONSTRUCTION OF BARWAQO HEALTH CENTRE AT BAIDOA RELOCATION SITE
| Location: | BAIDOA, SOUTH WEST STATE, SOMALIA
Tender No:
Tender Title:
Original Issue:
Barwaqo Health Center -Boundary wall - BLOCK B
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qty | Rate | Amount
General
Preliminaries
A | Pre-construction work, mobilisation activities |  | lumpsum | 1 | 0 | 0
B | Post construction works and clean up. |  | lumpsum | 1 | 0 | 0
SUB TOTAL FOR GENERAL | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
BOUNDARY WALL
SUB STRUCTURES
Earthwork schedules
A | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site |  | SM | 120 | 0 | 0
B
| Excavate foundation trench commencing at stripped level and not exceeding 1.0m deep. |  | CM | 120 | 0 | 0
C | Return fill in and ram selected excavated material around foundations. |  | CM | 104 | 0 | 0
CONCRETE WORKS
Plain concrete class 15 in:
A | 50mm blinding under strip footing |  | CM | 6 | 0 | 0
B | Ditto but for column bases |  | CM | 0.504 | 0 | 0
Reinforced concrete class (20) as described, in:-
C | Strip footing |  | CM | 16 | 0 | 0
D | Column bases #35 |  | CM | 3.024 | 0 | 0
E | Starter column |  | CM | 2.8 | 0 | 0
F | Ground beam |  | CM | 16 | 0 | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
Column bases
A | Y12 (Nominal Diameter 12mm) bars as main bars, Cross-Sectional Area (113mm2), Mass per unit length (0.888kg/m) |  | KG | 99.456 | 0 | 0
Starter columns
B | Y12 (Nominal Diameter 12mm) bars as main bars, Cross-Sectional Area (113mm2), Mass per unit length (0.888kg/m) |  | KG | 93.24 | 0 | 0
Beams
C | Y10 (Nominal Diameter 12mm) bars as main bars, Cross-Sectional Area (78.5mm2), Mass per unit length (0.617kg/m) |  | KG | 863.8 | 0 | 0
D | R8 (Nominal Diameter 8mm) bars as rings, Cross-Sectional Area (50.3mm2), Mass per unit length (0.395kg/m) |  | KG | 560.4063 | 0 | 0
Sawn formwork to:
A | Sides of column bases |  | SM | 10.08 | 0 | 0
B | Sides of the strip footing |  | SM | 80 | 0 | 0
C | Sides of Starter column |  | SM | 4 | 0 | 0
D | Sides of the ground beam |  | SM | 80 | 0 | 0
Substructure walling
RUBBLE STONE FOUNDATION
400mm thick natural stone rubble foundation bedded and jointed in cement and sand (1:4) mortar, compacted and laid in stages of 100mm
A | 400mm thick substructure walling |  | CM | 120 | 0 | 0
SUBTOTAL FOR SUBSTRUCTURE | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUPERSTRUCTURE Concrete and Walling
CONCRETE FRAME WORKS
Reinforced concrete class (20) as described, in:-
| Columns (3.0m height) |  | CM | 3.36 | 0 | 0
| Final beam |  | CM | 8 | 0 | 0
Reinforcements
High tensile, square twisted bar reinforcement to BS 4461; : including bends, hooks, tying wire, distance blocks and spacers
Column
| Y12 (Nominal Diameter 12mm) bars as main bars, Cross-Sectional Area (113mm2), Mass per unit length (0.888kg/m) |  | KG | 111.888 | 0 | 0
Beams
| Y10 (Nominal Diameter 10mm) bars as main bars, Cross-Sectional Area (78.5mm2), Mass per unit length (0.617kg/m) |  | KG | 493.6 | 0 | 0
| R8 (Nominal Diameter 8mm) bars as rings, Cross-Sectional Area (50.3mm2), Mass per unit length (0.395kg/m) |  | KG | 378.7 | 0 | 0
Sawn formwork to:
| Sides of column bases |  | SM | 4.8 | 0 | 0
| Sides of the final beam |  | SM | 80 | 0 | 0
Super structure walling
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
| 200 mm Thick walls |  | SM | 480 | 0 | 0
SUBTOTAL FOR SUPER STRUCTURE | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
FINISHES
Wall finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
H1 | Concrete or masonry surfaces internally and externally Plastering |  | SM | 960 | 0 | 0
Fill uneven surfaces with stucco filler to approval and apply two coats soft white external textured paint to:
| Plastered surfaces internally and externally |  | SM | 960 | 0 | 0
Prepare surfaces and apply three coats gloss oil paint as 'Crown' or equal and approved manufacturer(s) on concrete and masonry surfaces: measured overall on both sides
M1 | Plastered surfaces internally and externally |  | SM | 960 | 0 | 0
GATE
| Supply and fix double leaf steel gate size 4000x 2500mm high with small pedestrian door made from 3mm thick steel plate welded on both sides of the frame. Frame as follows: 75x50x3mm thick RHS external members and 25mm SHS 3mm thick secondary members, fixed onto the concrete columns using heavy duty steel pin hinges; with all fastening accessories including all cutting welding, grinding and priming with one coat of grey oxide before fixing, including pedesterian gate to access the people. The gate should also have peep holes of not more that 25mm dia with a slilding door. It should also have 2 locking mechanisms, top and bottom. |  | NO | 2 | 0 | 0
SUBTOTAL FOR FINISHING | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUMMARY OF COMPONENT
Currency:
Project No:
Project Title:
Location:
Tender No:
Tender Title:
Original Issue:
Summary of Bula-gadud Health center - Boundary wall
1 | Subtotal for General |  |  |  |  | 0
2 | Subtotal for Sub structure |  |  |  |  | 0
3 | Subtotal for Walling and Super Structure Concrete |  |  |  |  | 0
4 | Subtotal for Finishes |  |  |  |  | 0
Total for new massonary boundary wall | [5 empty] | 0

## Solar Panels
PROJECT: CONSTRUCTION OF BARWAQO HEALTH CENTRE
NOTICE TO ALL BIDDERS - COMPLETE PROJECT PRICE:
1. All bidders MUST examine the complete project documents. These documents include the Drawings, BOQ, Schedules and Specifications. Any discrepancies between these documents are to be brought to the immediate attention of the Engineer.
2. Quotation given by the contractor on this BOQ are to cover any and all additional materials, labor or associated costs to complete the works as documented on the complete project documents.
3. Eventual claims for extra works are covered by project general documentation of contract.
DETAILS OF COMPONENT
| Currency: | US Dollars
Project No:
| Project Title: | CONSTRUCTION OF BARWAQO HEALTH CENTRE AT BAIDOA RELOCATION SITE
| Location: | BAIDOA, SOUTH WEST STATE, SOMALIA
Tender No:
Tender Title:
Original Issue:
Barwaqo Health Center -Solar panels installation - BLOCK C
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qty | Rate | Amount
SOLAR COMPONENTS
SOLAR PANELS
Supply and install following lighting fixtures with all accessories as per the specifications and drawings and complete with lamp fitting and accessories of Engineer or approved make.
C | Solar Panels 250 Watts, Polycrystalline, 25 YR TUV IEEC Approved |  | Pcs | 5 | 0 | 0
BATTERIES
D | 200 Ah Gel Battery MF sealed |  | Pcs | 5 | 0 | 0
INVERTOR
E | Inverter from Opti Solar 24/2000w |  | Pcs | 1 | 0 | 0
CONTROLLER
F | Morning Star Charge Controller 60 W |  | Pcs | 1 | 0 | 0
ACCESSORIES
G | Flex cables 6 mm square |  | Roll(s) | 2 | 0 | 0
H | Flex cables (10+16 mm) square |  | Roll(s) | 1 | 0 | 0
I | Mounting Structure |  | Item | 1 | 0 | 0
J | Supply of miscellanous accessories; connectors insulating gromets, cable ties,wood screws wall anchors,raul bolts,sandle clips,labelstape rubber |  | Lums | 1 | 0 | 0
INSTALLATION
K | Allow lumpsum for Design, Installation, Commissioning and Training |  | Lums | 1 | 0 | 0
SUBTOTAL FOR SOLAR PANELS | [5 empty] | 0
Item | Description of Work/Items |  | Unit | Qty | Rate | Amount
SUMMARY OF COMPONENT
Currency:
Project No:
Project Title:
Location:
Tender No:
Tender Title:
Original Issue:
SUMMARY OF SOLAR PANELS
5 | Subtotal for Installation |  |  |  | 0
Total for Solar panels | [5 empty] | 0

## Grand Summary
GRAND SUMMARY
| MAIN BUILDING | 0
| BOUNDARY WALL | 0
| SOLAR PANELS | 0
TOTAL FOR THE PROJECT |  | 0
BOQ Value for whole tender in words:
Agreed on behalf of Contractor
Name
Position
Signature
Address and Mobile Number