## Preliminaries
SPECIAL NOTES
1 | The Contractor is required to check the numbers of the pages and should any be found to be missing or
in duplicate or the figures or writing indistinct, they must inform the Quantity Surveyors at once and have
the same rectified. Should the Contractor be in doubt about the precise meaning of any item, word or
figure, for any reason whatsoever, or observe any apparent omission of words or figures they must inform
the Quantity Surveyor in order that the correct meaning may be decided upon before the date for the
submission of the Tender.
2 | No liability whatever will be admitted nor claim allowed in respect of errors in the Contractor's Tender
due to mistakes in the Bills of Quantities which should have been rectified in the manner described
3 | Any doubt or obscurity as to the meaning or intention of any part of the tender documents, or any
question arising, shall be taken up in writing, before submission of the tender so that the same can
be clarified.
4 | The Contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration
or qualification made without authority will be ignored and the text of the Bills of Quantities as
printed will be adhered to.
5 | The Contractor shall be deemed to have made allowance in their prices generally to cover items of
Preliminaries or additions to Prime Cost Sums or other items, if these have not been priced against the
respective items.
6 | All items of measured work shall be priced in detail and tenders containing lump sums to cover trades or
groups of work must be broken down to show prices for each item before they will be accepted.
Lump sums to cover items of Preliminaries shall likewise be broken down if so required.
7 | In no case will any expenses incurred by Contractors in preparation of this Tender be reimbursed.
8 | The copyright of these Bills of Quantities is vested in the Quantity Surveyors and no part thereof may
be reproduced without their express permission given in writing.
9 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the
Drawings and Architect's instructions and no claims for any loss or expense will be entertained for
orders for materials based upon the Bills of Quantities.
10 | The Bills of Quantities must be priced in US Dollar currency, i.e. US Dollars and Cents.
11 | The tender documents must be priced in ink.
INDEX
| SECTION NO. 1 |  |  | PRELIMINARIES AND GENERAL DESCRIPTIONS
| SECTION NO. 2 |  |  | BLOCK A - MATERNITY SECTION
| SECTION NO.3 |  |  | BLOCK B - PEDIATRIC WARD
| SECTION NO. 4 |  |  | BLOCK C - MALE & FEMALE WARD
| SECTION NO. 5 |  |  | BLOCK D - OPERATION THEATRE
GRAND SUMMARY
ITEM | [8 empty] | AMOUNT (US$)
SECTION NO. 1
`
| PRELIMINARIES AND GENERAL DESCRIPTIONS |  |  |  |  | `
PRELIMINARY PARTICULARS
A | PARTIES
| The "Employer" is |  | INTERNATIONAL ORGANIZATION FOR MIGRATION
For the purpose of the works which are under the control of the consultants above, the
respective consultants shall be deemed to be invested with the duties and be
responsibilities of the Architect.
B | SITE
The site is located in AFMADOW DISTRICT, JUBALAND STATE OF SOMALIA
The site of the works shall be used solely for the purpose of executing and completing the
Contract to the satisfaction of the Architect.
The Contractor shall obtain the Architect's approval for the siting of all temporary storage
areas for materials.
The Contractors shall visit the site to acquaint themselves with its nature and position,
nature of the ground, sub- strata and other local conditions, position of power and water
the supplies, access roads or any other limitations, and no claims for extras will be
considered on account of lack of knowledge in this respect.
The Contractor's attention is drawn to the fact that they shall confine themselves to the
area necessary for executing the works as instructed by the Architect.
The contractor must obtain the Architect's approval and directions regarding the use
of any materials found on the Site. Any such material utilized in the execution of the
Contract shall be measured and value assessed by the Quantity Surveyor and the
amount credited to the Employer.
0
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
GENERAL MATTERS
A | SUFFICIENCY OF TENDER
The Contractor shall be deemed to have satisfied themselves before tendering as to the
correctness and sufficiency of their Tender for the Works and of the rates and
prices stated in the priced Bills of Quantities, which rates and prices shall cover all their
obligations under the Contract and all matters and things necessary for the proper
completion and maintenance of the Works.
B | STAMP CHARGES
The Contractor shall allow for the payment of all Stamp Charges in connection
with the Surety Bond and Contract Agreement.
C | DEFINITIONS AND ABBREVIATIONS
Terms used in these Bills of Quantities shall be interpreted as follows:
| "Approved" |  | shall mean approved by the Architect.
| "as directed" |  | shall mean as directed by the Architect or any other consultant
in the contract.
| "BS" |  | Shall mean the current British Standard Specification published
by the British Standards Institution, 2 Park Street,
London W.1, England.
| "CM" |  | shall mean Cubic Meters.
| "SM" |  | shall mean Square Meters.
| "LM" |  | shall mean Linear Meters.
| "mm" |  | shall mean Millimeters.
| "Kg" |  | shall mean Kilograms.
| "No." |  | shall mean Number.
| "m.s" |  | shall mean Measured separately.
| "Ditto " |  | shall mean as described before or as above described.
D | PROGRESS SCHEDULE
The Contractor shall, upon receiving instructions to proceed with the work, draw
up a Time and Progress Schedule setting out the order in which the Works are to be
carried out with the appropriate dates thereof. This Time and Progress Schedule
is to be agreed with the Architect and no deviation from the order set out in this Schedule
will be permitted without the written consent of the Architect. The Main Contractor
will be responsible for arranging the above programme with all Sub-Contractors
including the Nominated Sub-Contractors and Nominated Suppliers.
E | FIGURED DIMENSIONS
Figured dimensions are to be followed in preference to dimensions scaled from the Drawings;
but whenever possible dimensions are to be taken on the Site or from the Buildings. Before
any work is commenced by Sub-Contractors or Specialist Firms, dimensions must be checked
on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable
dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of
0
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered
for a reasonable time to allow all measurements needed for such adjustment to be taken by
the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall
give notice to the Quantity Surveyor.
If the Contractor makes default in these respects he shall, if the Architect so directs, uncover
the work at his own expense to enable the measurements to be taken.
B | EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant
Authorities the exact position, depth and level of all existing electric cables, water pipes or
other services in the area and they shall make whatever provisions may be required by the
Authorities concerned for the support and protection of such services. Any damage or
disturbance caused to any services shall be reported immediately to the Architect and the
relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
C | TRANSPORT TO AND FROM THE SITE
The Contractor shall include in their prices for the transport of materials, workmen, etc., to and
from the Site of the proposed Works, at such hours and by such routes as are permitted by
the Authorities.
D | OVERTIME
The Contractor shall allow in their tender for any extra costs for overtime working they
consider will be necessary in order to complete the works by the contract Date of Completion.
If during the course of the Contract overtime is worked for a specific purpose in accordance
with a written instruction issued by the Architect, the Contractor will be reimbursed in respect
of such overtime to the extent only of the additional net cost of unproductive time payable
over and above the basic hourly rates as laid down by the Regulations of Wages and
Conditions of Employment Act, Building and Construction Industry Wages council and
excluding any bonuses, profits and overheads.
E | PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at their own expense, any damage they may
cause to the present road surfaces and pavements within or beyond the boundary of the Site,
during the period of the Works. In particular, all existing trees, shrubs, plants, etc., which may
be destroyed or damaged during the progress of the Works are to be made good by the
Contractor to the approval of the Architect.
F | POLICE REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the
Police Authorities.
0
[6 empty] | Carried To Collection |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the Works a literate English-speaking Agent or
Representative, competent and experienced in the kind of work involved, who shall give
his whole time to the superintendence of the Works. Such Agent or Representative shall
receive on behalf of the Contractor, directions and instructions from the Architect and such
directions and instructions shall be deemed given to the Contractor in accordance with the
Conditions of Contract. The Agent shall not be replaced without the specific approval of the
Architect.
It is to be a specific condition of this Contract that the successful Tenderer shall provide
on site throughout the period from the completion of the substructure to the Date for
Practical Completion a suitably qualified, experienced and competent person to ensure
that the works are carried out to the standard required by the specification and detailed
on the Drawings; and shall ensure that upon any termination of employment a suitable
replacement is found.
Before the Tenderer's offer is accepted the Architect will personally interview the Contractor's
proposed Representative. A curriculum vitae of past experience and qualifications must be
provided for the Architect's scrutiny.
The Architect's decision will be final regarding the suitability of the proposed Representative.
B | WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or
| alkaline substance in solution or suspension. | [7 empty] | 0
The Contractor shall provide at their own risk and cost all water for use in connection with the
Works (including the work of Sub-Contractors). The Contractor shall provide at their own
expense all temporary distribution pipes, storage tanks, meters, etc., and they shall clear
away same upon completion of the Works.
C | LIGHTING AND POWER
The Contractor shall provide at their own risk and cost all artificial lighting and power for use
on the Works, including all Sub-Contractors' and Specialists' requirements and including all
temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor
| shall pay all fees and obtain all permits in connection therewith. | [7 empty] | 0
D | SAFETY
In particular there shall be proper provision of planked footways and guard-rails to scaffolding,
etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of
| dangerous rubbish. | [7 empty] | 0
The Architect shall be empowered to suspend work on the Site should he consider these
conditions are not being observed, and no claim arising from such a suspension will be allowed.
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | PROTECTIVE CLOTHING
The Contractor shall provide all protective or any other special clothing or equipment for their
employees that may be necessary.
These shall include, inter-alia, safety helmets, gloves, goggles, earmuffs, gumboots, steel
toed boots, overalls, etc according to the type of work. The Contractor shall ensure
| that all safety and protective gear are worn by all staff on site at all times | [7 empty] | 0
MATERIALS AND WORKMANSHIP
B | GENERALLY
All materials shall be new unless otherwise directed or permitted by the Architect and in all
cases where the quality of goods or materials is not described or otherwise specified, is to be
the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade
signification of that word.
All materials and workmanship shall, unless otherwise specified or described, conform to the
appropriate Kenya Bureau of Standards or British Standards Institution Specification current
at the date of tender.
The Contractor shall order all materials to be obtained from overseas immediately after the
Contract is signed and shall also order materials to be obtained from local sources as early as
necessary to ensure that such materials are on Site when required for use in the Works.
The Contractor shall be responsible for and shall replace or make good at their own expense
any materials lost or damaged.
The Works throughout shall be executed by skilled workmen well versed in their respective
trades.
C | REJECTED WORKMANSHIP OR MATERIALS
Any workmanship or materials not complying with the specific requirements or approved
samples or which have been damaged, contaminated or have deteriorated, must immediately
be removed from the Site and replaced at the Contractor's expense, as required.
D | PROPRIETARY MATERIALS
Where proprietary materials are specified herein-after the Contractor may propose the use of
materials of other manufacture but equal quality for approval by the Architect.
All materials and goods, where specified to be obtained from a particular manufacturer or
supplier are to be used or fixed strictly in accordance with their instructions.
E | SAMPLES
The Contractor shall furnish at the earliest possible opportunity before work commences and
at his own cost, any samples of materials or workman-ship that may be called for by the
Architect for his approval or rejection, and any further samples in the case of rejection until
such samples are approved by the Architect and such samples, when approved, shall be the
| minimum standard for the work to which they apply. | [7 empty] | 0
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | CONCRETE TESTS
Concrete test cubes I.e. per set of three as later described, including testing fees, labour
and materials, making moulds, transport and handling etc.. and ensuing copies of tests
are promptly dispatched to the Architect's and Quantity Surveyor's offices.
| Successful tests only (Provisional) | [7 empty] | 0
TEMPORARY WORKS
B | SPACE AND SERVICES FOR THE ARCHITECT
The Contractor shall provide where directed within the site, site offices and clean toilet facilities
for the sole use of the Architect and their representatives to the satisfaction of the Local
Authorities. The offices shall be provided with adequate furniture and the contractor shall
provide the services of a sweeper, pay all charges and keep the facilities in a clean and
sanitary condition during the whole period of the Works. In particular, the Contractor is to
note that the station will continue with operations during the period of the works and a
separate office and store shall be provided for full time use by the station dealer. Equally,
separate sanitary amenities shall be provided for the station staff to the satisfaction of the
| Architect and local authorities. | [7 empty] | 0
C | TELEPHONE
The Contractor shall provide a telephone connection to the town exchange for the period of
the Works, and shall pay all fees and rental for the same. The telephone connection shall
| remain on site until completion of the works. | [7 empty] | 0
D | SANITATION
The Contractor shall make arrangements for the necessary toilet facilities for their staff and
workmen to the requirements and satisfaction of the Health authorities and maintain the same
| in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of | [7 empty] | 0
the Works and remove when no longer required.
E | PLANT, TOOLS AND SCAFFOLDING
The Contractor shall provide all necessary hoists, tackle, plant, vehicles, tools and appliances
of on every description for the due and satisfactory completion of the Works and shall remove
| same completion. | [7 empty] | 0
The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong
and efficient for the due performance of the Works, including Sub-contract Works, provide
special scaffolding as and when required during the Works and remove on completion and
make good.
Such scaffolding shall be constructed of tubular steel or timber of sufficient scantlings and be
provided with planked footways and guard-rails to approval.
All such plant, tools and scaffolding shall comply with all regulations whether general or local, in
force throughout the period of the Contract and shall be altered or adapted during the Contract
as may be necessary to comply with any amendments in or additions to such regulations.
Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for
the above.
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | EXISTING AND ADJACENT PROPERTY
The Contractor must take all steps necessary to safeguard existing and adjacent property,
make good at their own expense any damage to persons or property caused thereon, and
hold the Employer indemnified against any such claim arising.
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings
and for any damage caused in consequence of these Works. They must reinstate all damages
at his own expense and indemnify the Employer against any loss.
The Contractor must take such steps and exercise such care and diligence as to minimize
nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent
property.
B | HOARDING
The Contractor shall enclose the site areas under which work is carried out, with
1.80 meter high barbed wire fence comprising treated blue gum poles at centres not
| exceeding 3.0meters and 6No barbed wire strands at equal spacing | [7 empty] | 0
The contractors attention is drawn to the fact that some areas of the site are
already built up and shall be in use during the currency of this project. As such
the contractor must allow for keeping his/her employees from interfering with
such other users and preventing and minimizing any nuisance arising from dust,
noise or by way of trespass.
Allow for Provisional length of 100 meters @ (tenderer to insert rate and extend)
B | WATCHING AND LIGHTING
The Contractor shall provide at their risk and cost all watching and lighting as necessary to
| safeguard the Works, plant and materials against damage and theft. | [7 empty] | 0
C | SIGNBOARD
The Signboard and lettering on same for the display of the General and Sub-Contractors'
names shall be of an approved size with the Employer's name painted thereon. The Architect's
Quantity Surveyor's and other Consultants' names shall be printed in 50 mm letters all to the
Architect's approved design. No other signboard or advertising will be permitted without prior
| permission from the Architect. | [7 empty] | 0
[5 empty] | Carried To Collection |  |  | US$ | 0
ITEM | [8 empty] | AMOUNT (US$)
A | PRIME COST RATES
Where description of items include a P.C. rate per unit this rate is to cover the net supply
cost of the unit only. The Contractor's price must include for the cost of the unit at the rate
stated, plus waste, taking delivery, storage, fixing in position, profit and overheads.
The actual net cost per unit will be adjusted within the Final Account against the P.C. rate
stated.
PROTECTION AND CLEANING
B | PROTECTION
The Contractor shall cover up and protect from damage, including damage from inclement
weather, all finished work and unfixed materials, including that of Sub-Contractors, etc., to the
satisfaction of the Architect until the completion of the Contract.
C | CLEANING
The Contractor shall, upon completion of the Works, at their own expense, remove and clear
away all surplus excavated materials, plant, rubbish and unused materials and shall leave the
whole of the Site and Works in a clean and tidy state to the satisfaction of the Architect,
including clearing away and making good all traces of temporary access roads, offices, sheds,
camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove
all paint and cement stains. They shall also, at the discretion of the Architect, remove all
rubbish and dirt as it accumulates. The Contractor is to find their own dump and shall pay
| all charges in connection therewith. | [7 empty] | 0
[5 empty] | Carried To Collection |  |  | US$ | 0
Collection
|  | Brought forward from Page |  |  |  | 1/4 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/5 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/6 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/7 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/8 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/9 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/10 |  |  | 0
|  | Brought forward from Page |  |  |  | 1/11 |  |  | 0
| TOTAL FOR SECTION 1: PRELIMINARIES AND GENERAL DESCRIPTIONS CARRIED TO GRAND SUMMARY | [5 empty] | US$ |  | 0

## Block A-Maternity section
BILL NO.1
BLOCK A - MATERNITY SECTION
PROPOSED RENOVATION OF AFMADOW REFERRAL HOSPITAL
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
REHABILITATION WORKS TO MATERNITY SECTION
WALL REPAIRING
EXTERNAL
A | Repair the wall cracks using sand/cement mortar mix ratio 1:4 to all bullet holes and chicken wire mesh inserted into the wall perpendicular to the crack areas | M2 | 58.8 | 0 | 0
INTERNAL
| Repair the wall cracks using sand/cement mortar mix ratio 1:4 to all bullet holes and chicken wire mesh inserted into the wall perpendicular to the crack areas | M2 | 72 | 0 | 0
WALL FINISHES
| Hack out and demolish the existing old plastered internal and external walls average 15mm thick, prepare to receive new plaste and cart away debris from site | M2 | 183.6 | 0 | 0
FLOOR FINISHES
| Hack and demolish existing floor finishes on including cement/sand screed and cart away debris | M2 | 75 | 0 | 0
DOORS AND WINDOWS
B | Carefully remove all detective timber doors and locks,dispose arising /salvages as per client's instructions | No | 3 | 0 | 0
E | Ditto; but for windows | No | 6 | 0 | 0
ROOF
F | Carefully remove existing GCI roofing sheets including any rotten or decayed wooden roof structure members and cart away | M2 | 98 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
CONCRETE WORKS
R.C.C concrete class 20 mix (1:2:4)
| Ring beam | M3 | 4.08 | 0 | 0
NEW WALLING
| Extend the height of wall and construct 200mm thick block wall up 500mm high above the existing wall | M2 | 51 | 0 | 0
H | NEW ROOF COVER
| Supply and fix,new 28 gauge pre-painted resincot galvanised corrugated iron sheets roofing onto existing purlins;rate to include supplying any required timber structure members | M2 | 121 | 0 | 0
NEW RAIN WATER GOODS
| 116 mm uPVC square gutter fixed to fascia boards with and including approved brackets at 500 mm centres | ML | 44 | 0 | 0
| Extra over gutter for stopped ends | No | 5 | 0 | 0
| Ditto but for 100 mm diameter outlet | No | 5 | 0 | 0
Downpipe
| 100 mm diameter uPVC downpipe fixed to wall with and including holder butts at 500 mm centres | ML | 16 | 0 | 0
| Extra over downpipe for swanneck 1,200 mm long | No | 5 | 0 | 0
| Ditto horse shoe 300 mm long | No | 5 | 0 | 0
NEW CEILINGS
| Chipboard ceiling nailed to the underside of 38 x 38 white wood branding at 600 c/c and trussed rafter fitted complete with white wood architrave to the underside | M2 | 75 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
K | FLOOR FINISHES
L | cement and sand (1:4) screed, backing, beds etc.
| 20 mm bed finished to receive ceramic floor tiles (measured seperately) | M2 | 75 | 0 | 0
Rustic 300x300mm None-slip ceramic Tiles from approved supplier fixed with 'seal master 101' or equal and approved tile adhesive: jointed and pointed in 'seal master 201' grout: clean with approved detergent and apply tile spacers: on'Johnson wax' polish: allow for
| Floor tiles | M2 | 75 | 0 | 0
C | 10 x 100mm high tile skirting | ML | 60 | 0 | 0
WALL FINISHES
D | 12 mm thick cement and sand (1:4) plaster steel towelled to External wall Surfaces | M2 | 673.2 | 0 | 0
G | PAINTING
Prepare and apply two undercoats of brilliant white emulsion paint (RAL Code 9001) and two finishing coats of first quality brilliant white Silk Vinyl emulsion paint (RAL Code 9001) to;-
| Walling surfaces externally and internally | M2 | 673.2 | 0 | 0
NEW DOORS
45mm thick solid core flush door to B.S 459: parts faced both sides with 6mm mahogany veneered plywood and lipped on all edges in hardwood, including all planted moulding, complete with heavy duty hinges, 3 lever moritise lock. Rate to include fixing of framing and respective locks
| 50mm thick single door overall size 900x2200mm high | No | 3 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
WINDOWS
L | Supply pre-factory made aluminum casement window, sliding type with handle. Rate to include glazing in 4mm thick glass and fixing window framing and external aluminum framing.
| Window overall size 1200 x 1200mm high | No | 5 | 0 | 0
SANITARY INSTALLATIONS
Sanitary appliances complete with all the connections to services, waste, jointing to supply overflows and plugging and scewing to the floors. Where trade names are mentioned below, the reference is intended to be as a guide to the type of fitting.
| Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved | No | 1 | 0 | 0
| 6 mm thick polished beveled plate glass mirror size 610x610 mm on foam and 6 mm plywood timber backing in hard wood timber framing fixed on wall with dome headed brass screws | No | 1 | 0 | 0
M | ELECTRICAL WORKS
N | Provide Provisional Sum of US ($) ,For inspection and reconnections of electrical wiring and fittings affected by the renovation works | ITEM | 1 | 0 | 0
|  | Item |  | 0 | 0
| TOTAL REHABILITATION WORKS TO MATERNITY SECTION |  |  |  | 0
ITEM |  | UNIT |  | RATE | AMOUNT($)
| DESCRIPTION |  | QNTY
SECTION SUMMARY
A |  |  |  |  | 0
RENOVATION WORKS
0
TOTAL BUILDER'S WORKS TO SUMMARY PAGE

## Block B-Pediatric ward
BILL NO.2
BLOCK B - PEDIATRIC WARD
PROPOSED RENOVATION OF AFMADOW REFERRAL HOSPITAL
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
DEMOLISHING WORKS
| Demolish existing roof structure including roof cover, timber trusses, demolish the unstable parts of existing block walls, hack and remove floor screeds, demolish existing foundation, RCC elements, detective doors and windows as per Engineers instructions | m2 | 98 | 0 | 0
| Remove all demolished Material and clear the site from debris and cart away surplus as directed | Item | 1 | 0 | 0
SUBSTRUCTURE WORKS
SITE PREPARATIONS
A | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site | m2 | 96 | 0 | 0
EXCAVATIONS
Excavate 0.00-1.20m deep starting from stripped ground level
B | Strip foundations | m3 | 23.5 | 0 | 0
E | Allow for maintaining and supporting sides of excavations and keeping the same free from fallen material
|  | Item | 1 | 0 | 0
Backfilling; Earth filling obtained from the excavations
F | Return, fill and ram selected excavated material around foundations | m3 | 22.56 | 0 | 0
Disposal of surplus spoil
H | Remove surplus spoil ,wheel,spread on site approx 500m away from site of construction | m3 | 0.94 | 0 | 0
Approved Imported filling
I | 450mm hardcore imported filling;In layers well compacte to receive blinding (m.s) | m3 | 38.07 | 0 | 0
J | 50mm thick quarry dust blinding on hardcore (m.s) | m3 | 4.23 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
K | "TERMIDOR T.C" chemical anti-termite treeatment executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore | m2 | 84.6 | 0 | 0
L | 1000 gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured nett- allow for laps) | m2 | 84.6 | 0 | 0
Concrete Class 25/20;
M | 50mm thick surface blinding under Strip foundations | m2 | 18.8 | 0 | 0
A | Strip foundations | m3 | 3.76 | 0 | 0
C | 150mm thick surface bed | m2 | 84.6 | 0 | 0
Reinforcement, as described:-[PROVISIONAL] High yield square twisted reinforcement bars to B.S 4461
Strip foundation
D | Y12(Nominal diameter 12mm) bars as main bars, cross-sectional area (113mm2), mass per unit length (0.888kg/m) | kg | 125.208 | 0 | 0
E | Y08(Nominal diameter 12mm) bars as rings, cross-sectional area (50.3mm2), mass per unit length (0.395kg/m) | kg | 60.3362 | 0 | 0
G | Mesh fabric reinforcement to B.S 4483 and setting in concrete with 300mm side and end laps (measured nett-allow for laps).
| Fabric ref. A142 weighing 2.22kg/ sq.metre, in surface bed | m2 | 84.6 | 0 | 0
Formwork;
H | Ditto to vertical sides of strip foundations | m2 | 18.8 | 0 | 0
K | Edges of slab 150-225mm high | ml | 41.4 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
Rubble stone foundation walling;
L | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work | m3 | 20.68 | 0 | 0
| Construction of masonary staircase, ramps with good finishing works including handrails. | Item | 1 | 0 | 0
M | 15mm cement and sand (1:4) render to plinth walls, finished with a wood float | m2 | 24.84 | 0 | 0
N | Prepare and apply two coats of bituminous paint on rendered plinth walls | m2 | 24.84 | 0 | 0
| TOTAL SUBSTRUCURES TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
SUPERSTRUCTURE WORKS;
Concrete Class 25/20 as described in;
A | Ring beams | m3 | 8.68 | 0 | 0
| Columns |  | 0.56
Reinforcement, as described:-[PROVISIONAL] High yield square twisted reinforcement bars to B.S 4461
Ring beams
C |  | kg |  | 0 | 0
| Y12(Nominal diameter 12mm) bars as main bars, cross-sectional area (113mm2), mass per unit length (0.888kg/m) |  | 163.392
D |  | kg |  | 0 | 0
| Y08(Nominal diameter 12mm) bars as rings, cross-sectional area (50.3mm2), mass per unit length (0.395kg/m) |  | 63.595
Formwork ;
F |  | m2 |  | 0 | 0
| Sides and soffites of beams |  | 3.68
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
A |  | m2 |  | 0 | 0
| 200mm thick walling;Externally and Internally |  | 138
B |  | m2 |  | 0 | 0
| Decorative clay vent blocks over windows, doors and wc windows |  | 1.472
| SUPERSTRUCTURE CONCRETE & WALLING |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
ROOF STRUCTURE
A | 16 number roof truss spanning 7200mm wide x 1766mm high king post on each column, comprising of 80mmx40mm grade 2 pressure treated members in rafters and main ties,80mmx40mm struts, all as per detail drawing. | No | 16 | 0 | 0
B | Purlins
D | Supplying & fixing purlins size 80 x 40mm nailed to rafters at 1500mm c/c complete with all the required treatment and all necessary supports | m | 99 | 0 | 0
| Allow sum for any other item required for the construction and completion of the roof framework, which are not covered under the above items. | Item | 1 | 0 | 0
ROOF COVERINGS
K | Gauge 28, IT5 profile prepainted sheets fixed to timber purlins at 1500mm centres (maximum) with approved galvanised hook bolts, nuts and washers including side and end laps: complete | m2 | 110.4 | 0 | 0
RAIN WATER GOODS
A | 116 mm uPVC square gutter fixed to fascia boards with and including approved brackets at 500 mm centres | m | 41.5 | 0 | 0
B | Extra over gutter for stopped ends | No | 6 | 0 | 0
C | Ditto but for 100 mm diameter outlet | No | 6 | 0 | 0
D | Downpipe
E | 100 mm diameter uPVC downpipe fixed to wall with and including holder butts at 500 mm centres | ml | 22 | 0 | 0
| Extra over downpipe for swanneck 1,200 mm long | No | 6 | 0 | 0
F | Ditto horse shoe 300 mm long | No | 6 | 0 | 0
G
| ROOF AND RAIN WATER GOODS |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
DOORS
45mm thick solid core flush door to B.S 459: parts faced bothsides with 6mm mahogany veneered plywood and lipped on all edges in hardwood, including all planted moulding.Complete with heavy duty hinges, brass locks and 3 lever mortice lock
| Double door: size 1500 x 2200mm high | No | 1 | 0 | 0
A | Single door: size 900 x 2200mm high | No | 1 | 0 | 0
IRONMONGERY
Supply delivery and fix the following ironmongery with matching screws
| 100mm heavy duty butt hinges | No | 9 | 0 | 0
| 3 lever mortice lock as Union 2277complete with Union 2277 683 -06 -2 brass lever furniture | No | 2 | 0 | 0
ALUMINUM WINDOWS
Extruded anodised aluminium sliding frame 80x50mm mosquito netting and fabricated aluminium burglar proof grill with 6mm thick glass with blue anti-glare film.
A | Window size 1200 x 1200 mm high | No. | 8 | 0 | 0
| TOTAL FOR OPENINGS (DOORS & WINDOWS) |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
FINISHES
Wall Finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
| Concrete or masonry surfaces internally and externally | m2 | 276 | 0 | 0
H | Paint Works:Three coats plastic emulsion paint applied generally
I | Plastered masonry wall surfaces internally and externally | m2 | 276 | 0 | 0
Floor Finishes
A | Cement and sand (1:4) screed as before described:-Floors
B | 40 mm thick screed finished to receive ceramic tiles | m2 | 76.5 | 0 | 0
300 x 300 x 8 mm thick approved NON-Slip Ceramic tiles on screed beds (M.S)
| Floor tiles | m2 | 76.5 | 0 | 0
| 100 x 8 mm tile skirting | m | 51 | 0 | 0
Ceiling Finishes;
| 10mm thick deorative chipboard ceiling screwed onto brandering/roof structure (measured separately) | m2 | 76.5 | 0 | 0
| TOTAL FOR FINISHES TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
Plumping works
Piping
Supply, deliver and install pipes, tubing and fittings as described and shown on the drawings. The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors where required, valves, unions, sockets, sliding and fixed joints, support raceways, isolating sheaths, elastic material, expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes.
| Supply and install heavy duty PPR pipes including all connections | Item | 1 | 0 | 0
SANITARY INSTALLATIONS
Sanitary appliances complete with all the connections to services, waste, jointing to supply overflows and plugging and scewing to the floors. Where trade names are mentioned below, the reference is intended to be as a guide to the type of fitting.
| Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved | No | 2 | 0 | 0
| 6 mm thick polished beveled plate glass mirror size 610x610 mm on foam and 6 mm plywood timber backing in hard wood timber framing fixed on wall with dome headed brass screws | No | 2 | 0 | 0
| TOTAL FOR PLUMBING WORKS TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
ELECTRICAL INSTALLATIONS
Lighting Fittings
Supply and install following lighting fixtures with all accessories as per the specifications and drawings and complete with lamp fitting and accessories of Engineer or approved make.
| Type 4S - 2x18w surface mount flourescent light fitting as Phillips or equivalent | No | 4 | 0 | 0
| LED Recessed Down Light 4000K 15W 8inch (Sliver) | No | 2 | 0 | 0
Switches
| 5 Amps one gang one way switch for fans | No | 3 | 0 | 0
| 5 Amps two gang one way switch | No | 1 | 0 | 0
| 5 Amps two gang two way switch | No | 2 | 0 | 0
Socket outlets
Supply and installation of fused shuttered switched socket outlet to comply with relevant BS standard (Clipsal, Orange, Crabtree/ Tenby/ABB or equivalent). Wiring (including supply of earth wire and all other material required) of above socket outlet using approved type 2.5mm² PVC/PVC copper cable and 2.5mm² earth wire drawn through securely fixed concealed PVC conduit in a ring circuit. Socket outlet points
| 13 A twin sockets outlet | No | 8 | 0 | 0
Cables, Cable pathways and Conduits
Supply, install, test and commission 450/750 volts 6491X cables with all required accessories for proper installation and operation including conduits, pipes( each cable in separate conduit or pipe), cable lugs, ties... etc. as shown on drawing, as per the preamble, the specifications and supervision engineer's requirements.
| Supply, install and connect complete 1.5 sq. mm colour-coded SC cables to lighting points drawn in Concealed /surface 20mm HG PVC conduits, complete with draw boxes, switch boxes and other necessary accessories. | m | 18 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
| Supply and install two compartment floor recessed metallic electrical floor box with flap cover complete with lifting handle, cable cable flaps, as Crabtree Britmac or equal and approved | No | 1 | 0 | 0
HVAC
Supply and install following overhead electrical fans with all accessories prices must include all materials, installation, testing and commisioning
| 3 speed box fan with 20 inch blades | No | 3 | 0 | 0
Consumer unit
Supply and install of Consumer Units, inclusive of all circuit breakers. All Consumer Units as ABB or equal and approved.
| 9 way SPN consumer units with 45 Amps isolator. | No | 1 | 0 | 0
| TOTAL FOR ELECTRICAL WORKS TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
SECTION SUMMARY
A | SUBSTRUCTURE WORKS |  |  |  | 0
B | SUPERSTRUCTURE CONCRETE & WALLING |  |  |  | 0
C | ROOF SRUCTURE & COVER |  |  |  | 0
D | DOORS & WINDOWS |  |  |  | 0
E | FINISHES |  |  |  | 0
F | PLUMBING WORKS |  |  |  | 0
G | ELECTRICAL SERVICES |  |  |  | 0
| TOTAL BUILDER'S WORKS TO SUMMARY PAGE |  |  |  | 0

## Block C- M & F ward
BILL NO.2
BLOCK C - FEMALE & MALE WARD
PROPOSED RENOVATION OF AFMADOW REFERRAL HOSPITAL
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
DEMOLISHING WORKS
| Demolish existing roof structure including roof cover, timber trusses, demolish the unstable parts of existing block walls, hack and remove floor screeds, demolish existing foundation, RCC elements, detective doors and windows as per Engineers instructions | m2 | 129 | 0 | 0
| Remove all demolished Material and clear the site from debris and cart away surplus as directed | Item | 1 | 0 | 0
SUBSTRUCTURE WORKS
SITE PREPARATIONS
A | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site | m2 | 129 | 0 | 0
EXCAVATIONS
Excavate 0.00-1.20m deep starting from stripped ground level
B | Strip foundations | m3 | 28.1 | 0 | 0
E | Allow for maintaining and supporting sides of excavations and keeping the same free from fallen material
|  | Item | 1 | 0 | 0
Backfilling; Earth filling obtained from the excavations
F | Return, fill and ram selected excavated material around foundations | m3 | 26.976 | 0 | 0
Disposal of surplus spoil
H | Remove surplus spoil ,wheel,spread on site approx 500m away from site of construction | m3 | 1.124 | 0 | 0
Approved Imported filling
I | 450mm hardcore imported filling;In layers well compacte to receive blinding (m.s) | m3 | 43.74 | 0 | 0
J | 50mm thick quarry dust blinding on hardcore (m.s) | m3 | 4.86 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
K | "TERMIDOR T.C" chemical anti-termite treeatment executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore | m2 | 97.2 | 0 | 0
L | 1000 gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured nett- allow for laps) | m2 | 97.2 | 0 | 0
Concrete Class 25/20;
M | 50mm thick surface blinding under Strip foundations | m2 | 22.48 | 0 | 0
A | Strip foundations | m3 | 4.496 | 0 | 0
C | 150mm thick surface bed | m2 | 97.2 | 0 | 0
Reinforcement, as described:-[PROVISIONAL] High yield square twisted reinforcement bars to B.S 4461
Strip foundation
D | Y12(Nominal diameter 12mm) bars as main bars, cross-sectional area (113mm2), mass per unit length (0.888kg/m) | kg | 149.7168 | 0 | 0
E | Y08(Nominal diameter 12mm) bars as rings, cross-sectional area (50.3mm2), mass per unit length (0.395kg/m) | kg | 72.1468 | 0 | 0
G | Mesh fabric reinforcement to B.S 4483 and setting in concrete with 300mm side and end laps (measured nett-allow for laps).
| Fabric ref. A142 weighing 2.22kg/ sq.metre, in surface bed | m2 | 97.2 | 0 | 0
Formwork;
H | Ditto to vertical sides of strip foundations | m2 | 22.48 | 0 | 0
K | Edges of slab 150-225mm high | ml | 50.8 | 0 | 0
Rubble stone foundation walling;
L | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work | m3 | 24.728 | 0 | 0
| Construction of masonary staircase, ramps with good finishing works including handrails. | Item | 1 | 0 | 0
M | 15mm cement and sand (1:4) render to plinth walls, finished with a wood float | m2 | 30.48 | 0 | 0
N | Prepare and apply two coats of bituminous paint on rendered plinth walls | m2 | 30.48 | 0 | 0
| TOTAL SUBSTRUCURES TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
SUPERSTRUCTURE WORKS;
Concrete Class 25/20 as described in;
A | Ring beams | m3 | 4.496 | 0 | 0
B | Columns | m3 | 1.088 | 0 | 0
Reinforcement, as described:-[PROVISIONAL] High yield square twisted reinforcement bars to B.S 4461
Ring beams
C | Y12(Nominal diameter 12mm) bars as main bars, cross-sectional area (113mm2), mass per unit length (0.888kg/m) | kg | 198.912 | 0 | 0
D | Y08(Nominal diameter 12mm) bars as rings, cross-sectional area (50.3mm2), mass per unit length (0.395kg/m) | kg | 77.42 | 0 | 0
Formwork ;
F | Sides and soffites of beams | m2 | 4.48 | 0 | 0
G | Sides of columns | m2 | 21.76 | 0 | 0
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
A | 200mm thick walling;Externally and Internally | m2 | 168 | 0 | 0
B | Decorative clay vent blocks over windows, doors and wc windows | m2 | 2.52 | 0 | 0
| SUPERSTRUCTURE CONCRETE & WALLING |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
ROOF STRUCTURE
A | 18 number roof truss spanning 7200mm wide x 1766mm high king post on each column, comprising of 80mmx40mm grade 2 pressure treated members in rafters and main ties,80mmx40mm struts, all as per detail drawing. | No | 18 | 0 | 0
B | Purlins
D | Supplying & fixing purlins size 80 x 40mm nailed to rafters at 1500mm c/c complete with all the required treatment and all necessary supports | m | 114 | 0 | 0
| Allow sum for any other item required for the construction and completion of the roof framework, which are not covered under the above items. | Item | 1 | 0 | 0
ROOF COVERINGS
K | Gauge 28, IT5 profile prepainted sheets fixed to timber purlins at 1500mm centres (maximum) with approved galvanised hook bolts, nuts and washers including side and end laps: complete | m2 | 144.2 | 0 | 0
RAIN WATER GOODS
A | 116 mm uPVC square gutter fixed to fascia boards with and including approved brackets at 500 mm centres | m | 52.4 | 0 | 0
B | Extra over gutter for stopped ends | No | 5 | 0 | 0
C | Ditto but for 100 mm diameter outlet | No | 5 | 0 | 0
D | Downpipe
E | 100 mm diameter uPVC downpipe fixed to wall with and including holder butts at 500 mm centres | ml | 26 | 0 | 0
| Extra over downpipe for swanneck 1,200 mm long | No | 5 | 0 | 0
F | Ditto horse shoe 300 mm long | No | 5 | 0 | 0
G
| ROOF AND RAIN WATER GOODS |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
DOORS
45mm thick solid core flush door to B.S 459: parts faced bothsides with 6mm mahogany veneered plywood and lipped on all edges in hardwood, including all planted moulding.Complete with heavy duty hinges, brass locks and 3 lever mortice lock
| Double door: size 1500 x 2200mm high | No | 2 | 0 | 0
IRONMONGERY
Supply delivery and fix the following ironmongery with matching screws
|  | No |  | 0 | 0
| 100mm heavy duty butt hinges |  | 12
|  | No |  | 0 | 0
| 3 lever mortice lock as Union 2277complete with Union 2277 683 -06 -2 brass lever furniture |  | 2
ALUMINUM WINDOWS
Extruded anodised aluminium sliding frame 80x50mm mosquito netting and fabricated aluminium burglar proof grill with 6mm thick glass with blue anti-glare film.
A |  | No. |  | 0 | 0
| Window size 1200 x 1200 mm high |  | 10
| TOTAL FOR OPENINGS (DOORS & WINDOWS) |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| DESCRIPTION |  | QNTY
FINISHES
Wall Finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
|  | m2 |  | 0 | 0
| Concrete or masonry surfaces internally and externally |  | 336
H
Paint Works:Three coats plastic emulsion paint applied generally
I |  | m2 |  | 0 | 0
| Plastered masonry wall surfaces internally and externally |  | 336
Floor Finishes
A
Cement and sand (1:4) screed as before described:-Floors
B |  | m2 |  | 0 | 0
| 32 mm thick screed finished to receive ceramic tiles |  | 103
| 300 x 300 x 8 mm thick approved NON-Slip Ceramic tiles on screed beds (M.S) | m2 |  | 0 | 0
| Floor tiles |  | 103
|  | m |  | 0 | 0
| 100 x 8 mm tile skirting |  | 59.2
Ceiling Finishes;
|  | m2 |  | 0 | 0
| 10mm thick deorative chipboard ceiling screwed onto brandering/roof structure (measured separately) |  | 103
| TOTAL FOR FINISHES TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| DESCRIPTION |  | QNTY
ELECTRICAL INSTALLATIONS
Lighting Fittings
Supply and install following lighting fixtures with all accessories as per the specifications and drawings and complete with lamp fitting and accessories of Engineer or approved make.
|  | No |  | 0 | 0
| Type 4S - 2x18w surface mount flourescent light fitting as Phillips or equivalent |  | 8
Switches
|  | No |  | 0 | 0
| 5 Amps one gang one way switch for fans |  | 4
|  | No |  | 0 | 0
| 5 Amps two gang two way switch |  | 4
Socket outlets
Supply and installation of fused shuttered switched socket outlet to comply with relevant BS standard (Clipsal, Orange, Crabtree/ Tenby/ABB or equivalent). Wiring (including supply of earth wire and all other material required) of above socket outlet using approved type 2.5mm² PVC/PVC copper cable and 2.5mm² earth wire drawn through securely fixed concealed PVC conduit in a ring circuit. Socket outlet points
|  | No |  | 0 | 0
| 13 A twin sockets outlet |  | 10
Cables, Cable pathways and Conduits
Supply, install, test and commission 450/750 volts 6491X cables with all required accessories for proper installation and operation including conduits, pipes( each cable in separate conduit or pipe), cable lugs, ties... etc. as shown on drawing, as per the preamble, the specifications and supervision engineer's requirements.
|  | m |  | 0 | 0
| Supply, install and connect complete 1.5 sq. mm colour-coded SC cables to lighting points drawn in Concealed /surface 20mm HG PVC conduits, complete with draw boxes, switch boxes and other necessary accessories. |  | 46
0
ITEM | SUB-TOTAL C/F | UNIT |  | RATE | AMOUNT($)
| DESCRIPTION |  | QNTY |  | 0
SUB-TOTAL B/F
|  | No |  | 0 | 0
| Supply and install two compartment floor recessed metallic electrical floor box with flap cover complete with lifting handle, cable cable flaps, as Crabtree Britmac or equal and approved |  | 1
HVAC
Supply and install following overhead electrical fans with all accessories prices must include all materials, installation, testing and commisioning
|  | No |  | 0 | 0
| 3 speed box fan with 20 inch blades |  | 6
Consumer unit
Supply and install of Consumer Units, inclusive of all circuit breakers. All Consumer Units as ABB or equal and approved.
|  | No |  | 0 | 0
| 9 way SPN consumer units with 45 Amps isolator. |  | 1
| TOTAL FOR ELECTRICAL WORKS TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| DESCRIPTION |  | QNTY
SECTION SUMMARY
A |  |  |  |  | 0
SUBSTRUCTURE AND DEMOLISHING WORKS
B |  |  |  |  | 0
SUPERSTRUCTURE CONCRETE & WALLING
C |  |  |  |  | 0
ROOF SRUCTURE & COVER
D |  |  |  |  | 0
DOORS & WINDOWS
E |  |  |  |  | 0
FINISHES
G |  |  |  |  | 0
ELECTRICAL SERVICES
0
TOTAL BUILDER'S WORKS TO SUMMARY PAGE

## Operation theatre
BILL NO.2
BLOCK D - OPERATION THEATRE
PROPOSED RENOVATION OF AFMADOW REFERRAL HOSPITAL
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
DEMOLISHING WORKS
| Demolish existing structure building including roof cover, timber trusses, floor screeds, existing foundation, RCC elements, as per Engineers instructions | m2 | 55 | 0 | 0
| Remove all demolished Material and clear the site from debris and cart away surplus as directed | Item | 1 | 0 | 0
SUBSTRUCTURE WORKS
SITE PREPARATIONS
A | Clear site of works of grass, shrubs, bush and small trees, big trees, grub up all roots, fill with selected soil and burn debris, cart away to dumping site | m2 | 80 | 0 | 0
EXCAVATIONS
Excavate 0.00-1.20m deep starting from stripped ground level
B | Strip foundations | m3 | 32.5 | 0 | 0
E | Allow for maintaining and supporting sides of excavations and keeping the same free from fallen material
|  | Item | 1 | 0 | 0
Backfilling; Earth filling obtained from the excavations
F | Return, fill and ram selected excavated material around foundations | m3 | 26.4 | 0 | 0
Disposal of surplus spoil
H | Remove surplus spoil ,wheel,spread on site approx 500m away from site of construction | m3 | 6.1 | 0 | 0
Approved Imported filling
I | 450mm hardcore imported filling;In layers well compacte to receive blinding (m.s) | m3 | 28.89 | 0 | 0
J | 50mm thick quarry dust blinding on hardcore (m.s) | m3 | 3.21 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
K | "TERMIDOR T.C" chemical anti-termite treeatment executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore | m2 | 64.2 | 0 | 0
L | 1000 gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured nett- allow for laps) | m2 | 64.2 | 0 | 0
Concrete Class 25/20;
M | 50mm thick surface blinding under Strip foundations | m2 | 26 | 0 | 0
A | Strip foundations | m3 | 5.2 | 0 | 0
C | 150mm thick surface bed | m2 | 64.2 | 0 | 0
Reinforcement, as described:-[PROVISIONAL] High yield square twisted reinforcement bars to B.S 4461
Strip foundation
D | Y12(Nominal diameter 12mm) bars as main bars, cross-sectional area (113mm2), mass per unit length (0.888kg/m) | kg | 173.16 | 0 | 0
E | Y08(Nominal diameter 12mm) bars as rings, cross-sectional area (50.3mm2), mass per unit length (0.395kg/m) | kg | 83.4438 | 0 | 0
G | Mesh fabric reinforcement to B.S 4483 and setting in concrete with 300mm side and end laps (measured nett-allow for laps).
| Fabric ref. A142 weighing 2.22kg/ sq.metre, in surface bed | m2 | 64.2 | 0 | 0
Formwork;
H | Ditto to vertical sides of strip foundations | m2 | 26 | 0 | 0
K | Edges of slab 150-225mm high | ml | 39 | 0 | 0
Rubble stone foundation walling;
L | 400mm thick stone foundation of 1:3 mortar cement, the rate should include supply and constructed work | m3 | 30.36 | 0 | 0
| Construction of masonary staircase, ramps with good finishing works including handrails. | Item | 1 | 0 | 0
M | 15mm cement and sand (1:4) render to plinth walls, finished with a wood float | m2 | 24.84 | 0 | 0
N | Prepare and apply two coats of bituminous paint on rendered plinth walls | m2 | 24.84 | 0 | 0
| TOTAL SUBSTRUCURES AND DEMOLISHING WORKS TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
SUPERSTRUCTURE WORKS;
Concrete Class 25/20 as described in;
A | Ring beams | m3 | 5.04 | 0 | 0
B | Columns | m3 | 1.632 | 0 | 0
Reinforcement, as described:-[PROVISIONAL] High yield square twisted reinforcement bars to B.S 4461
Ring beams
C | Y12(Nominal diameter 12mm) bars as main bars, cross-sectional area (113mm2), mass per unit length (0.888kg/m) | kg | 223.776 | 0 | 0
D | Y08(Nominal diameter 12mm) bars as rings, cross-sectional area (50.3mm2), mass per unit length (0.395kg/m) | kg | 87.0975 | 0 | 0
Formwork ;
F | Sides and soffites of beams | m2 | 50.4 | 0 | 0
G | Sides of columns | m2 | 13.6 | 0 | 0
Hollow concrete block walls:bedded, jointed and pointed in cement sand (1:3) mortar: flush vertical and horizontal joints :in
A | 200mm thick walling;Externally and Internally | m2 | 189 | 0 | 0
B | Decorative clay vent blocks over windows, doors and wc windows | m2 | 1 | 0 | 0
| SUPERSTRUCTURE CONCRETE & WALLING |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
ROOF STRUCTURE
A | 11 number roof truss spanning 7200mm wide x 1766mm high king post on each column, comprising of 80mmx40mm grade 2 pressure treated members in rafters and main ties,80mmx40mm struts, all as per detail drawing. | No | 11 | 0 | 0
B | Purlins
D | Supplying & fixing purlins size 80 x 40mm nailed to rafters at 1500mm c/c complete with all the required treatment and all necessary supports | m | 93 | 0 | 0
| Allow sum for any other item required for the construction and completion of the roof framework, which are not covered under the above items. | Item | 1 | 0 | 0
ROOF COVERINGS
K | Gauge 28, IT5 profile prepainted sheets fixed to timber purlins at 1500mm centres (maximum) with approved galvanised hook bolts, nuts and washers including side and end laps: complete | m2 | 96 | 0 | 0
RAIN WATER GOODS
A | 116 mm uPVC square gutter fixed to fascia boards with and including approved brackets at 500 mm centres | m | 32.4 | 0 | 0
B | Extra over gutter for stopped ends | No | 4 | 0 | 0
C | Ditto but for 100 mm diameter outlet | No | 4 | 0 | 0
D | Downpipe
E | 100 mm diameter uPVC downpipe fixed to wall with and including holder butts at 500 mm centres | ml | 14 | 0 | 0
| Extra over downpipe for swanneck 1,200 mm long | No | 4 | 0 | 0
F | Ditto horse shoe 300 mm long | No | 4 | 0 | 0
G
| ROOF AND RAIN WATER GOODS |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
DOORS
45mm thick solid core flush door to B.S 459: parts faced bothsides with 6mm mahogany veneered plywood and lipped on all edges in hardwood, including all planted moulding.Complete with heavy duty hinges, brass locks and 3 lever mortice lock
| Double door: size 1200 x 2200mm high | No | 3 | 0 | 0
A | Single door: size 800 x 2200mm high | No | 4 | 0 | 0
IRONMONGERY
Supply delivery and fix the following ironmongery with matching screws
| 100mm heavy duty butt hinges | No | 18 | 0 | 0
| 3 lever mortice lock as Union 2277complete with Union 2277 683 -06 -2 brass lever furniture | No | 6 | 0 | 0
ALUMINUM WINDOWS
Extruded anodised aluminium sliding frame 80x50mm mosquito netting and fabricated aluminium burglar proof grill with 6mm thick glass with blue anti-glare film.
A | Window size 1200 x 1200 mm high | No. | 4 | 0 | 0
| Window size 1200 x 200mm high |  | 3
| TOTAL FOR OPENINGS (DOORS & WINDOWS) |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
FINISHES
Wall Finishes
Plaster: 12mm first coat of cement/lime/sand (1:2:9): 3mm second coat of cement/lime/sand (1:1:6): steel trowelled: on masonry or concrete: to
| Concrete or masonry surfaces internally and externally | m2 | 378 | 0 | 0
H | Paint Works:Three coats plastic emulsion paint applied generally
I | Plastered masonry wall surfaces internally and externally | m2 | 378 | 0 | 0
Floor Finishes
A | Cement and sand (1:4) screed as before described:-Floors
B | 32 mm thick screed finished to receive ceramic tiles | m2 | 73.6 | 0 | 0
300 x 300 x 8 mm thick approved NON-Slip Ceramic tiles on screed beds (M.S)
| Floor tiles | m2 | 73.6 | 0 | 0
| 100 x 8 mm tile skirting | m | 46 | 0 | 0
Ceiling Finishes;
| 10mm thick deorative chipboard ceiling screwed onto brandering/roof structure (measured separately) | m2 | 73.6 | 0 | 0
| TOTAL FOR FINISHES TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
Plumping works
Piping
Supply, deliver and install pipes, tubing and fittings as described and shown on the drawings. The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors where required, valves, unions, sockets, sliding and fixed joints, support raceways, isolating sheaths, elastic material, expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes.
| Supply and install heavy duty PPR pipes including all connections | Item | 1 | 0 | 0
SANITARY INSTALLATIONS
Sanitary appliances complete with all the connections to services, waste, jointing to supply overflows and plugging and scewing to the floors. Where trade names are mentioned below, the reference is intended to be as a guide to the type of fitting.
| Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved | No | 3 | 0 | 0
| 6 mm thick polished beveled plate glass mirror size 610x610 mm on foam and 6 mm plywood timber backing in hard wood timber framing fixed on wall with dome headed brass screws | No | 2 | 0 | 0
| TOTAL FOR PLUMBING WORKS TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
ELECTRICAL INSTALLATIONS
Lighting Fittings
Supply and install following lighting fixtures with all accessories as per the specifications and drawings and complete with lamp fitting and accessories of Engineer or approved make.
| Type 4S - 2x18w surface mount flourescent light fitting as Phillips or equivalent | No | 4 | 0 | 0
| LED Recessed Down Light 4000K 15W 8inch (Sliver) | No | 5 | 0 | 0
Switches
| 5 Amps one gang one way switch for fans | No | 1 | 0 | 0
| 5 Amps two gang two way switch | No | 3 | 0 | 0
Socket outlets
Supply and installation of fused shuttered switched socket outlet to comply with relevant BS standard (Clipsal, Orange, Crabtree/ Tenby/ABB or equivalent). Wiring (including supply of earth wire and all other material required) of above socket outlet using approved type 2.5mm² PVC/PVC copper cable and 2.5mm² earth wire drawn through securely fixed concealed PVC conduit in a ring circuit. Socket outlet points
| 13 A twin sockets outlet | No | 6 | 0 | 0
Cables, Cable pathways and Conduits
Supply, install, test and commission 450/750 volts 6491X cables with all required accessories for proper installation and operation including conduits, pipes( each cable in separate conduit or pipe), cable lugs, ties... etc. as shown on drawing, as per the preamble, the specifications and supervision engineer's requirements.
| Supply, install and connect complete 1.5 sq. mm colour-coded SC cables to lighting points drawn in Concealed /surface 20mm HG PVC conduits, complete with draw boxes, switch boxes and other necessary accessories. | m | 28 | 0 | 0
| SUB-TOTAL C/F |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
| SUB-TOTAL B/F |  |  |  | 0
| Supply and install two compartment floor recessed metallic electrical floor box with flap cover complete with lifting handle, cable cable flaps, as Crabtree Britmac or equal and approved | No | 1 | 0 | 0
HVAC
Supply, Deliver, Install, Test and Commission the following AC indoor units including with all accessories including all connections as described
| Wall mounted unit of cooling capacity: 12.3kW with inbuilt drain pump, power input: 0.15kW, single phase, Refrigerant R-410A complete with all hanging accessories, remote control, filter chamber, drain pump kit, suction canvas, ceiling panel, wiring from DP switch to fan coil unit, fabricated steel mounting brackets, steel frames and raw bolts, anti-vibration mountings. DP switch to be positioned next to the in door unit. The indoor unit shall be to Daikin/Toshiba/LG make or approved equivalent. | No | 2 | 0 | 0
Consumer unit
Supply and install of Consumer Units, inclusive of all circuit breakers. All Consumer Units as ABB or equal and approved.
| 9 way SPN consumer units with 45 Amps isolator. | No | 1 | 0 | 0
| TOTAL FOR ELECTRICAL WORKS TO COLLECTION |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT($)
SECTION SUMMARY
A | SUBSTRUCTURE WORKS |  |  |  | 0
B | SUPERSTRUCTURE CONCRETE & WALLING |  |  |  | 0
C | ROOF SRUCTURE & COVER |  |  |  | 0
D | DOORS & WINDOWS |  |  |  | 0
E | FINISHES |  |  |  | 0
F | PLUMBING WORKS |  |  |  | 0
G | ELECTRICAL SERVICES |  |  |  | 0
| TOTAL BUILDER'S WORKS TO SUMMARY PAGE |  |  |  | 0

## GRAND SUMMARY
BILL NO. 5
MAIN SUMMARY
PROPOSED RENOVATION OF AFMADOW REFFERAL HOSPITAL
ITEM | DESCRIPTION | PAGE | AMOUNT ($)
PROPOSED MATERNAL & CHILD HEALTH CENTRE IN AFMADOW
GRAND SUMMARY
| PRELIMINARIES | 1 | 0
| BLOCK A - MATERNITY SECTION | 2 | 0
| BLOCK B - PEDIATRIC WARD | 3 | 0
| BLOCK C - MALE & FEMALE WARD | 4 | 0
| BLOCK D - OPERATION THEATRE | 5 | 0
| TOTAL PROJECT COST |  | 0
Name of Contractor …………………………………………………………………
| Signature ……………………………… | Address ……………….
Name of Witness ………………………………………………………………………
| Signature ……………………………… | Address ……………….
Name of Employer …………………………………………………………………
| Signature ……………………………… | Address ……………….
Name of Witness ………………………………………………………………………
| Signature ……………………………… | Address ……………….
GS/1