## Preliminaries
SPECIAL NOTES
1 | The Contractor is required to check the numbers of the pages and should any be found to be missing or
in duplicate or the figures or writing indistinct, they must inform the Quantity Surveyors at once and have
the same rectified. Should the Contractor be in doubt about the precise meaning of any item, word or
figure, for any reason whatsoever, or observe any apparent omission of words or figures they must inform
the Quantity Surveyor in order that the correct meaning may be decided upon before the date for the
submission of the Tender.
2 | No liability whatever will be admitted nor claim allowed in respect of errors in the Contractor's Tender
due to mistakes in the Bills of Quantities which should have been rectified in the manner described
above.
3 | Any doubt or obscurity as to the meaning or intention of any part of the tender documents, or any
question arising, shall be taken up in writing, before submission of the tender so that the same can
be clarified.
4 | The Contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration
or qualification made without authority will be ignored and the text of the Bills of Quantities as
printed will be adhered to.
5 | The Contractor shall be deemed to have made allowance in their prices generally to cover items of
Preliminaries or additions to Prime Cost Sums or other items, if these have not been priced against the
respective items.
6 | All items of measured work shall be priced in detail and tenders containing lump sums to cover trades or
groups of work must be broken down to show prices for each item before they will be accepted.
Lump sums to cover items of Preliminaries shall likewise be broken down if so required.
7 | In no case will any expenses incurred by Contractors in preparation of this Tender be reimbursed.
8 | The copyright of these Bills of Quantities is vested in the Quantity Surveyors and no part thereof may
be reproduced without their express permission given in writing.
9 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the
Drawings and Architect's instructions and no claims for any loss or expense will be entertained for
orders for materials based upon the Bills of Quantities.
10 | The Bills of Quantities must be priced in US DOllar currency, i.e. Dollars and Cents.
11 | The tender documents must be priced in ink.
INDEX
| SECTION NO. 1 |  | PRELIMINARIES AND GENERAL DESCRIPTIONS
| SECTION NO. 2 |  | Conference Hall
| SECTION NO. 3 |  | Service Building
| SECTION NO.4 |  | Boundary wall
| SECTION NO.5 |  | SUPPORT STRUCTURES
GRAND SUMMARY
ITEM | DESCRIPTION | [7 empty] | AMOUNT (US$)
SECTION NO. 1
PRELIMINARIES
PRELIMINARY PARTICULARS
A | PARTIES
| The "Employer" is |  |  |  | INTERNATIONAL ORGANIZATION FOR MIGRATION
For the purpose of the works which are under the control of the consultants above, the
respective consultants shall be deemed to be invested with the duties and be representatives
of the Architect.
B | SITE
The site is located on Galkayo District
The site of the works shall be used solely for the purpose of executing and completing the
Contract to the satisfaction of the Architect.
The Contractor shall obtain the Architect's approval for the siting of all temporary storage
areas for materials.
The Contractors shall visit the site to acquaint themselves with its nature and position, the
nature of the ground, sub- strata and other local conditions, position of power and water
supplies, access roads or any other limitations, and no claims for extras will be considered
on account of lack of knowledge in this respect.
The Contractor's attention is drawn to the fact that they shall confine themselves to the area
necessary for executing the works as instructed by the Architect.
The contractor must obtain the Architect's approval and directions regarding the use of any
materials found on the Site. Any such material utilized in the execution of the Contract shall be
measured and value assessed by the Quantity Surveyor and the amount credited to the
Employer.
GENERAL MATTERS
A | SUFFICIENCY OF TENDER
The Contractor shall be deemed to have satisfied themselves before tendering as to the
correctness and sufficiency of their Tender for the Works and of the rates and prices stated
in the priced Bills of Quantities, which rates and prices shall cover all their obligations under the
Contract and all matters and things necessary for the proper completion and maintenance of
the Works.
B | STAMP CHARGES
The Contractor shall allow for the payment of all Stamp Charges in connection with the Surety
Bond and Contract Agreement.
C | DEFINITIONS AND ABBREVIATIONS
Terms used in these Bills of Quantities shall be interpreted as follows:
| "Approved" |  | shall mean approved by the Architect.
| "as directed" |  | shall mean as directed by the Architect or any other consultant in the contract.
| "BS" |  | Shall mean the current British Standard Specification published by the British
Standards Institution, 2 Park Street, London W.1, England.
| "CM" |  | shall mean Cubic Meters.
| "SM" |  | shall mean Square Meters.
| "LM" |  | shall mean Linear Meters.
| "mm" |  | shall mean Millimeters.
| "Kg" |  | shall mean Kilograms.
| "No." |  | shall mean Number.
| "m.s" |  | shall mean Measured separately.
| "Ditto " |  | shall mean as described before or as above described.
D | PROGRESS SCHEDULE
The Contractor shall, upon receiving instructions to proceed with the work, draw up a Time
and Progress Schedule setting out the order in which the Works are to be carried out with the
appropriate dates thereof. This Time and Progress Schedule is to be agreed with the Architect
and no deviation from the order set out in this Schedule will be permitted without the written
consent of the Architect. The Main Contractor will be responsible for arranging the above
programme with all Sub-Contractors including the Nominated Sub-Contractors and Nominated
Suppliers.
E | FIGURED DIMENSIONS
Figured dimensions are to be followed in preference to dimensions scaled from the Drawings;
but whenever possible dimensions are to be taken on the Site or from the Buildings. Before
any work is commenced by Sub-Contractors or Specialist Firms, dimensions must be checked
on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable
dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of
such dimensions.
[5 empty] | Carried To Collection |  |  | US$
A | PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered
for a reasonable time to allow all measurements needed for such adjustment to be taken by
the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall
give notice to the Quantity Surveyor.
If the Contractor makes default in these respects he shall, if the Architect so directs, uncover
the work at his own expense to enable the measurements to be taken.
B | EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant
Authorities the exact position, depth and level of all existing electric cables, water pipes or
other services in the area and they shall make whatever provisions may be required by the
Authorities concerned for the support and protection of such services. Any damage or
disturbance caused to any services shall be reported immediately to the Architect and the
relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
C | TRANSPORT TO AND FROM THE SITE
The Contractor shall include in their prices for the transport of materials, workmen, etc., to and
from the Site of the proposed Works, at such hours and by such routes as are permitted by
the Authorities.
D | OVERTIME
The Contractor shall allow in their tender for any extra costs for overtime working they
consider will be necessary in order to complete the works by the contract Date of Completion.
If during the course of the Contract overtime is worked for a specific purpose in accordance
with a written instruction issued by the Architect, the Contractor will be reimbursed in respect
of such overtime to the extent only of the additional net cost of unproductive time payable
over and above the basic hourly rates as laid down by the Regulations of Wages and
Conditions of Employment Act, Building and Construction Industry Wages council and
excluding any bonuses, profits and overheads.
E | PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at their own expense, any damage they may
cause to the present road surfaces and pavements within or beyond the boundary of the Site,
during the period of the Works. In particular, all existing trees, shrubs, plants, etc., which may
be destroyed or damaged during the progress of the Works are to be made good by the
Contractor to the approval of the Architect.
F | POLICE REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the
Police Authorities.
[6 empty] | Carried To Collection |  | US$
A | CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the Works a literate English-speaking Agent or
Representative, competent and experienced in the kind of work involved, who shall give
his whole time to the superintendence of the Works. Such Agent or Representative shall
receive on behalf of the Contractor, directions and instructions from the Architect and such
directions and instructions shall be deemed given to the Contractor in accordance with the
Conditions of Contract. The Agent shall not be replaced without the specific approval of the
Architect.
It is to be a specific condition of this Contract that the successful Tenderer shall provide
on site throughout the period from the completion of the substructure to the Date for
Practical Completion a suitably qualified, experienced and competent person to ensure
that the works are carried out to the standard required by the specification and detailed
on the Drawings; and shall ensure that upon any termination of employment a suitable
replacement is found.
Before the Tenderer's offer is accepted the Architect will personally interview the Contractor's
proposed Representative. A curriculum vitae of past experience and qualifications must be
provided for the Architect's scrutiny.
The Architect's decision will be final regarding the suitability of the proposed Representative.
B | WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or
alkaline substance in solution or suspension.
The Contractor shall provide at their own risk and cost all water for use in connection with the
Works (including the work of Sub-Contractors). The Contractor shall provide at their own
expense all temporary distribution pipes, storage tanks, meters, etc., and they shall clear
away same upon completion of the Works.
C | LIGHTING AND POWER
The Contractor shall provide at their own risk and cost all artificial lighting and power for use
on the Works, including all Sub-Contractors' and Specialists' requirements and including all
temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor
shall pay all fees and obtain all permits in connection therewith.
D | SAFETY
In particular there shall be proper provision of planked footways and guard-rails to scaffolding,
etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of
dangerous rubbish.
The Architect shall be empowered to suspend work on the Site should he consider these
conditions are not being observed, and no claim arising from such a suspension will be allowed.
[5 empty] | Carried To Collection |  |  | US$
A | PROTECTIVE CLOTHING
The Contractor shall provide all protective or any other special clothing or equipment for their
employees that may be necessary.
These shall include, inter-alia, safety helmets, gloves, goggles, earmuffs, gumboots, steel
toed boots, overalls, etc according to the type of work. The Contractor shall ensure
that all safety and protective gear are worn by all staff on site at all times
MATERIALS AND WORKMANSHIP
B | GENERALLY
All materials shall be new unless otherwise directed or permitted by the Architect and in all
cases where the quality of goods or materials is not described or otherwise specified, is to be
the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade
signification of that word.
All materials and workmanship shall, unless otherwise specified or described, conform to the
appropriate Kenya Bureau of Standards or British Standards Institution Specification current
at the date of tender.
The Contractor shall order all materials to be obtained from overseas immediately after the
Contract is signed and shall also order materials to be obtained from local sources as early as
necessary to ensure that such materials are on Site when required for use in the Works.
The Contractor shall be responsible for and shall replace or make good at their own expense
any materials lost or damaged.
The Works throughout shall be executed by skilled workmen well versed in their respective
trades.
C | REJECTED WORKMANSHIP OR MATERIALS
Any workmanship or materials not complying with the specific requirements or approved
samples or which have been damaged, contaminated or have deteriorated, must immediately
be removed from the Site and replaced at the Contractor's expense, as required.
D | PROPRIETARY MATERIALS
Where proprietary materials are specified herein-after the Contractor may propose the use of
materials of other manufacture but equal quality for approval by the Architect.
All materials and goods, where specified to be obtained from a particular manufacturer or
supplier are to be used or fixed strictly in accordance with their instructions.
E | SAMPLES
The Contractor shall furnish at the earliest possible opportunity before work commences and
at his own cost, any samples of materials or workman-ship that may be called for by the
Architect for his approval or rejection, and any further samples in the case of rejection until
such samples are approved by the Architect and such samples, when approved, shall be the
minimum standard for the work to which they apply.
[5 empty] | Carried To Collection |  |  | US$
A | CONCRETE TESTS
Concrete test cubes I.e. per set of three as later described, including testing fees, labour
and materials, making moulds, transport and handling etc.. and ensuing copies of tests
are promptly dispatched to the Architect's and Quantity Surveyor's offices.
Successful tests only (Provisional)
TEMPORARY WORKS
B | SPACE AND SERVICES FOR THE ARCHITECT
The Contractor shall provide where directed within the site, site offices and clean toilet facilities
for the sole use of the Architect and their representatives to the satisfaction of the Local
Authorities. The offices shall be provided with adequate furniture and the contractor shall
provide the services of a sweeper, pay all charges and keep the facilities in a clean and
sanitary condition during the whole period of the Works. In particular, the Contractor is to
note that the station will continue with operations during the period of the works and a
separate office and store shall be provided for full time use by the station dealer. Equally,
separate sanitary amenities shall be provided for the station staff to the satisfaction of the
Architect and local authorities.
C | TELEPHONE
The Contractor shall provide a telephone connection to the town exchange for the period of
the Works, and shall pay all fees and rental for the same. The telephone connection shall
remain on site until completion of the works.
D | SANITATION
The Contractor shall make arrangements for the necessary toilet facilities for their staff and
workmen to the requirements and satisfaction of the Health authorities and maintain the same
in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of
the Works and remove when no longer required.
E | PLANT, TOOLS AND SCAFFOLDING
The Contractor shall provide all necessary hoists, tackle, plant, vehicles, tools and appliances
of on every description for the due and satisfactory completion of the Works and shall remove
same completion.
The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong
and efficient for the due performance of the Works, including Sub-contract Works, provide
special scaffolding as and when required during the Works and remove on completion and
make good.
Such scaffolding shall be constructed of tubular steel or timber of sufficient scantlings and be
provided with planked footways and guard-rails to approval.
All such plant, tools and scaffolding shall comply with all regulations whether general or local, in
force throughout the period of the Contract and shall be altered or adapted during the Contract
as may be necessary to comply with any amendments in or additions to such regulations.
Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for
the above.
[5 empty] | Carried To Collection |  |  | US$
A | EXISTING AND ADJACENT PROPERTY
The Contractor must take all steps necessary to safeguard existing and adjacent property,
make good at their own expense any damage to persons or property caused thereon, and
hold the Employer indemnified against any such claim arising.
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings
and for any damage caused in consequence of these Works. They must reinstate all damages
at his own expense and indemnify the Employer against any loss.
The Contractor must take such steps and exercise such care and diligence as to minimize
nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent
property.
B | HOARDING
The Contractor shall enclose the site areas under which work is carried out, with
1.80 meter high barbed wire fence comprising treated blue gum poles at centres not
exceeding 3.0meters and 6No barbed wire strands at equal spacing
The contractors attention is drawn to the fact that some areas of the site are
already built up and shall be in use during the currency of this project. As such
the contractor must allow for keeping his/her employees from interfering with
such other users and preventing and minimizing any nuisance arising from dust,
noise or by way of trespass.
Allow for Provisional length of 100 meters @ (tenderer to insert rate and extend)
B | WATCHING AND LIGHTING
The Contractor shall provide at their risk and cost all watching and lighting as necessary to
safeguard the Works, plant and materials against damage and theft.
C | SIGNBOARD( TRANSPARENCY BOARD)
The Signboard and lettering on same for the display of the General and Sub-Contractors'
names shall be of an approved size with the Employer's name painted thereon. The Architect's
Quantity Surveyor's and other Consultants' names shall be printed in 50 mm letters all to the
Architect's approved design. No other signboard or advertising will be permitted without prior
permission from the Architect.
[5 empty] | Carried To Collection |  |  | US$
A | PRIME COST RATES
Where description of items include a P.C. rate per unit this rate is to cover the net supply
cost of the unit only. The Contractor's price must include for the cost of the unit at the rate
stated, plus waste, taking delivery, storage, fixing in position, profit and overheads.
The actual net cost per unit will be adjusted within the Final Account against the P.C. rate
stated.
PROTECTION AND CLEANING
B | PROTECTION
The Contractor shall cover up and protect from damage, including damage from inclement
weather, all finished work and unfixed materials, including that of Sub-Contractors, etc., to the
satisfaction of the Architect until the completion of the Contract.
C | CLEANING
The Contractor shall, upon completion of the Works, at their own expense, remove and clear
away all surplus excavated materials, plant, rubbish and unused materials and shall leave the
whole of the Site and Works in a clean and tidy state to the satisfaction of the Architect,
including clearing away and making good all traces of temporary access roads, offices, sheds,
camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove
all paint and cement stains. They shall also, at the discretion of the Architect, remove all
rubbish and dirt as it accumulates. The Contractor is to find their own dump and shall pay
all charges in connection therewith.
[5 empty] | Carried To Collection |  |  | US$
Collection
|  | Brought forward from Page |  |  |  | 1/3
|  | Brought forward from Page |  |  |  | 1/4
|  | Brought forward from Page |  |  |  | 1/5
|  | Brought forward from Page |  |  |  | 1/6
|  | Brought forward from Page |  |  |  | 1/7
|  | Brought forward from Page |  |  |  | 1/8
|  | Brought forward from Page |  |  |  | 1/9
|  | Brought forward from Page |  |  |  | 1/10
| TOTAL FOR SECTION 1: PRELIMINARIES AND GENERAL DESCRIPTIONS CARRIED TO GRAND SUMMARY | [5 empty] | US$ |  | 0

## CONFERENE HALL
ITEM NO. | DESCRIPTION |  | UNIT | QUANTITY | RATE (US$) | AMOUNT (US$)
GRANT NO.
PROPOSED-CONSTRUCTION OF GALKAYO PEACE HOUSE
SECTION 2: Conference Hall
ELEMENT 1: SITE PREPARATION
a | Clear site of all debris. Excavate site to formation level grab up roots and burn the arisings |  | SM | 576 |  | 0
b | Load, wheel and cart deposit and spread surplus excavated material where directed on site at a distance not exceedin 100 meters |  | SM | 576 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 1 (SITE PRAPARATION) |  |  |  |  | 0
|  |  | Lb= 102.6 | Lw=48.62
ELEMENT NO.2
A | SUBSTRUCTURES (PROVISIONAL)
1) | Excavations and Earthwork
a | Excavate trench for foundation not exceeding 1.20 meters deep, starting from stripped levels |  | CM | 145.1712 |  | 0
| Excavate column bases 1600X1600x1400mm |  | CM | 32.256 |  | 0
2) | Backfilling
a | Return, fill and ram selected excavated material around foundations |  | CM | 68.049 |  | 0
3) | Disposal of Surplus spoils
a | Load, wheel and cart deposit and spread surplus excavated material where directed on site at a distance not exceeding 100 meters |  | CM | 77.1222 |  | 0
4) | Selected filling
a | Soil backfilling on foundation wall up to ground level. This includes supplying of needed materials. See drawings and schedules for levels/dimensions and details. |  | CM | 139.65 |  | 0
b | Hardcore filling compacted in layers not exceeding 150m deep and well watered |  | SM | 465.5 |  | 0
c | 50mm thick murram blinding to surface of hardcore (Measured seperately) |  | CM | 23.275 |  | 0
5) | Anti-termite treatment
a | Gladiator or equal and approved chemical anti-termite treatment, executed complete by an approved specialist under a ten-year guarantee, to surfaces of hard-core |  | SM | 465.5 |  | 0
6) | Damp-proof membrane
a | 1000 gauge polythene or other equal and approved damp-proof membrane, laid over blinded hardcore (m.s) with 300mm side and end laps (measured nett-allow for laps) |  | SM | 465.5 |  | 0
7) | Reinforced concrete frame |  |  |  |  | 0
| Reinforced concrete class (20) as described, in:- |  |  |  |  | 0
| 50mm thick plain concrete |  | CM | 6.0488 |  | 0
| R.C.C (1:2:3 mix) in Strip footing (0.4m*0.2m ), with 6NO. Y12mm re-bar & Y8mm links @ 200mm c/c.Strip footing concrete beam. The cost shall include formwork. |  | CM | 18.1464 |  | 0
| R.C.C (1:2:3 mix) for the 9 footings 1.6m*1.6m*0.5m with 10NO. Y16 main re-bars & 10NO. Y16mm distribution rebars.The cost shall include formwork |  | CM | 11.52 |  | 0
| R.C.C (1:2:3 mix) for pedestal column 0.3m*0.6m with 12NO. Y16mm & Y8mm links @180mm c/c. The cost shall include formwork. |  | CM | 4.32 |  | 0
a | R.C.C (1:2:3 mix) in ground beam (0.4m*0.2m ), with 4NO. Y12mm re-bar & Y8mm links @ 200mm c/c. the cost shall include all necessary formwork. |  | CM | 12.0976 |  | 0
b | 100mm floor concrete in A142 BRC mesh. The cost shall include all necessary formwork. |  | CM | 46.55 |  | 0
10) | Rubble foundation walling
Selected stones bedded and jointed in cement and sand (1:3) mortar
a | 400mm thick walls |  | CM | 98.293 |  | 0
11) | Plinths
a | 12 mm thick cement : sand (1:3) plaster to plinth |  | SM | 52.2 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 2 (SUBSTRUCTURES) |  |  |  |  | 0
ELEMENT NO.3
B | SUPER STRUCTURES (PROVISIONAL)
1) | REINFORCED CONCRETE FRAME
Reinforced concrete class (20) as described, in:-
a | R.C.C (1:2:3 mix) in intermediate beams (0.2m*0.2m ) with 4NO Y12mm re-bar & Y8mm links @ 200mm c/c, the cost shall include formworks supporting structures. |  | CM | 4.24 |  | 0
b | R.C.C (1:2:3 mix) in final beams ( 300*600mm ), with 16NO. Y16mm re-bar & Y8mm links @ 150mm c/c.the cost shall include formworks supporting structures. |  | CM | 36.2928 |  | 0
c | R.C.C (1:2:3 mix) for 9 rectangular columns 400X600mm @ 5m height column with 12NO. Y16mm & Y8mm links @180mm c/c. , the cost shall include formworks and scafolding works |  | CM | 10.8 |  | 0
| R.C.C (1:2:3 mix) in floor slabs 15cm thick, with main rebars Y12mm @ 150mm c/c & distribution re-bars Y10mm links @ 150mm c/c., the cost shall include formworks supporting structures. |  | CM | 50.715 |  | 0
4) | WALLING
200x400mm Filled block walling bedded and jointed in cement and sand (1:4) mortar, reinforcement with and including 25mm wide x 20 gauge hoop iron at every alternate course as described in:
a | 200mm thick walling + precast vents blocks for front wall. |  | SM | 512.5 |  | 0
b | 150mm thick parapet wall upto 600mm height |  | SM | 45.24 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 3 (SUPER-STRUCTURES) |  |  |  |  | 0
ELEMENT NO. 4
C | FINISHES
1) | Wall finishes
External and internal walls: 15mm cement and sand (1:3) render, finished with woodfloat to:-
a | Concrete or masonry surfaces externally |  | SM | 1115.48 |  | 0
2) | Floor finishes
Cement and sand (1:3) screeds, backings, beds etc
a | 40mm bed finished floor screed |  | SM | 458.15 |  | 0
| supply good quality APP waterproofing membrane and put top roof slab, the cost shall include fixing and any other necessary require activities. |  | SM | 458.15 |  | 0
Supply and fix European rustic non-slip ceramic floor tiles to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size:
b | 600mm x 600mm x 10mm floor tiles + Skirting |  | SM | 458.15 |  | 0
3) | Painting and decorating
Prepare and apply three coats first quality emulsion paint on:-
a | Plastered walls externally and internally |  | SM | 1115.48 |  | 0
| construction stage platform, the activities will include concrete works, steps, plastering, painting, tiling both top and edges. |  | Lumsup | 1 |  | 0
| Drainage works inside and outside conference hall |  | Ls | 1 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 4 (FINISHES) |  |  |  |  | 0
ELEMENT NO. 5
D | WINDOWS AND DOORS
2) | Steel Doors- Sliding doors
a | 4m wide and 3m height slide steel doors, the cost shall include supply and fixing, the doors should have different locks both mortise and normal lock. |  | No | 2 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 5 (WINDOWS AND DOORS) |  |  |  |  | 0
ELEMENT NO.6
E | ELECTRICAL INSTALLATION AND SERVICES
a | Provide a Provisional Sum of US$. for Electrical Installations to be expended as directed by the Architect and measured and valued on completion |  | Item | 1 |  | 0
| Bring electricity source from down to site, distance between site and the down town is upto 1000m, the cost include supply cables, towers, transformer box, electrical distribution box, fixing or connection and watches. |  | Lsump | 1 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 6 (ELECTRICAL INSTALLATION SERVICES) |  |  |  |  | 0
MAIN SUMMARY
| ELEMENT | TITLE |  | PAGE |  | Amount
NO
| 1 | SITE PREPARATION |  | 2/1 |  | 0
| 2 | SUB-STRUCTURES |  | 2/7 |  | 0
| 3 | SUPER-STRUCTURES |  | 2/2 |  | 0
| 4 | FINISHES |  | 2/2 |  | 0
| 5 | WINDOWS AND DOORS |  | 2/2 |  | 0
| 6 | ELECTRICAL INSTALLATION AND SERVICCES |  | 2/3 |  | 0
| TOTAL FOR SECTION 2: CONFERENCE HALL CARRIED TO GRAND SUMMARY |  |  |  |  | 0

## Service Building
ITEM NO. | DESCRIPTION |  |  |  | UNIT | QUANTITY | RATE (US$) | AMOUNT (US$)
GRANT NO.
PROPOSED-CONSTRUCTION OF GALKAYO PEACE HOUSE
SECTION 3: Service Building
ELEMENT 1: SITE PREPARATION
a | Clear site of all debris. Excavate site to formation level grab up roots and burn the arisings |  |  |  | SM | 144 |  | 0
b | Load, wheel and cart deposit and spread surplus excavated material where directed on site at a distance not exceedin 100 meters |  |  |  | SM | 144 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 1 (SITE PRAPARATION) | [6 empty] | 0
ELEMENT NO.2
A | SUBSTRUCTURES (PROVISIONAL)
1) | Excavations and Earthwork
a | Excavate trench for foundation not exceeding 1.20 meters deep, starting from stripped levels |  |  |  | CM | 55.92 |  | 0
| Excavate column bases 1600X1600x1400mm |  |  |  | CM | 32.256 |  | 0
2) | Backfilling
a | Return, fill and ram selected excavated material around foundations |  |  |  | CM | 31.455 |  | 0
3) | Disposal of Surplus spoils
a | Load, wheel and cart deposit and spread surplus excavated material where directed on site at a distance not exceeding 100 meters |  |  |  | CM | 24.465 |  | 0
4) | Selected filling
a | Soil backfilling on foundation wall up to ground level. This includes supplying of needed materials. See drawings and schedules for levels/dimensions and details. |  |  |  | CM | 40.68 |  | 0
b | Hardcore filling compacted in layers not exceeding 150m deep and well watered |  |  |  | SM | 135.6 |  | 0
c | 50mm thick murram blinding to surface of hardcore (Measured seperately) |  |  |  | CM | 6.78 |  | 0
5) | Anti-termite treatment
a | Gladiator or equal and approved chemical anti-termite treatment, executed complete by an approved specialist under a ten-year guarantee, to surfaces of hard-core |  |  |  | SM | 135.6 |  | 0
6) | Damp-proof membrane
a | 1000 gauge polythene or other equal and approved damp-proof membrane, laid over blinded hardcore (m.s) with 300mm side and end laps (measured nett-allow for laps) |  |  |  | SM | 135.6 |  | 0
7) | Reinforced concrete frame | [6 empty] | 0
| Reinforced concrete class (20) as described, in:- | [6 empty] | 0
| 50mm thick plain concrete |  |  |  | CM | 2.796 |  | 0
| R.C.C (1:2:3 mix) in Strip footing (0.4m*0.2m ), with 6NO. Y12mm re-bar & Y8mm links @ 200mm c/c.Strip footing concrete beam. The cost shall include formwork. |  |  |  | CM | 8.388 |  | 0
| R.C.C (1:2:3 mix) for the 9 footings 1.6m*1.6m*0.5m with 10NO. Y16 main re-bars & 10NO. Y16mm distribution rebars.The cost shall include formwork |  |  |  | CM | 11.52 |  | 0
| R.C.C (1:2:3 mix) for pedestal column 0.3m*0.6m with 8NO. Y16mm & Y8mm links @180mm c/c. The cost shall include formwork. |  |  |  | CM | 3.24 |  | 0
a | R.C.C (1:2:3 mix) in ground beam (0.4m*0.2m ), with 4NO. Y12mm re-bar & Y8mm links @ 200mm c/c. the cost shall include all necessary formwork. |  |  |  | CM | 5.592 |  | 0
b | 100mm floor concrete in A142 BRC mesh. The cost shall include all necessary formwork. |  |  |  | CM | 13.56 |  | 0
10) | Rubble foundation walling
Selected stones bedded and jointed in cement and sand (1:3) mortar
a | 400mm thick walls |  |  |  | CM | 36.348 |  | 0
11) | Plinths
a | 12 mm thick cement : sand (1:3) plaster to plinth |  |  |  | SM | 27.96 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 2 (SUBSTRUCTURES) | [6 empty] | 0
ELEMENT NO.3
B | SUPER STRUCTURES (PROVISIONAL)
1) | REINFORCED CONCRETE FRAME
Reinforced concrete class (20) as described, in:-
a | R.C.C (1:2:3 mix) in intermediate beams (0.2m*0.2m ) with 4NO Y12mm re-bar & Y8mm links @ 200mm c/c, the cost shall include formworks supporting structures. |  |  |  | CM | 5.148 |  | 0
b | R.C.C (1:2:3 mix) in final beams ( 300*600mm ), with 16NO. Y16mm re-bar & Y8mm links @ 150mm c/c.the cost shall include formworks supporting structures. |  |  |  | CM | 12.582 |  | 0
c | R.C.C (1:2:3 mix) for 9 rectangular columns 300X600mm @ 4m height column with 12NO. Y16mm & Y8mm links @180mm c/c. , the cost shall include formworks and scafolding works |  |  |  | CM | 6.48 |  | 0
| R.C.C (1:2:3 mix) in floor slabs 15cm thick, with main rebars Y12mm @ 150mm c/c & distribution re-bars Y10mm links @ 150mm c/c., the cost shall include formworks supporting structures. |  |  |  | CM | 20.34 |  | 0
4) | WALLING
200x400mm Filled block walling bedded and jointed in cement and sand (1:4) mortar, reinforcement with and including 25mm wide x 20 gauge hoop iron at every alternate course as described in:
a | 200mm thick walling |  |  |  | SM | 265.62 |  | 0
b | 150mm thick Partition walls |  |  |  | SM | 120.84 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 3 (SUPER-STRUCTURES) | [6 empty] | 0
ELEMENT NO. 4
C | FINISHES
1) | Wall finishes
External and internal walls: 15mm cement and sand (1:3) render, finished with woodfloat to:-
a | Concrete or masonry surfaces externally |  |  |  | SM | 531.24 |  | 0
2) | Floor finishes
Cement and sand (1:3) screeds, backings, beds etc
a | 40mm bed finished floor screed |  |  |  | SM | 135.6 |  | 0
| supply good quality APP waterproofing membrane and put top roof slab, the cost shall include fixing and any other necessary require activities. |  |  |  | SM | 135.6 |  | 0
Supply and fix European rustic non-slip ceramic floor tiles to regular pattern, bedding, and jointing with cement mortar (1:4), grouting joints of 2mm in matching coloured cement but joints straight both ways to screed beds, Size:
b | 600mm x 600mm x 10mm floor tiles + Skirting |  |  |  | SM | 135.6 |  | 0
| wall tiling for toilets |  |  |  | SM | 51.2 |  | 0
3) | Painting
Prepare and apply three coats first quality emulsion paint on:-
a | Plastered walls externally and internally |  |  |  | SM | 531.24 |  | 0
| Supply and fix 4000 ltr heavy duty PVC water tank inluding All necessary plumbing as PPR pipes and connectors. Then make two water point entire site for drinking and irrigation purpose. |  |  |  | No | 2 |  | 0
| construction septic tank and allow connection of waste pipes |  |  |  | Ls | 1 |  | 0
| Supply and install 8 Hand wash basin with mirror and 8 toilet seats. |  |  |  | item | 1 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 4 (FINISHES) | [6 empty] | 0
ELEMENT NO. 5
D | WINDOWS AND DOORS
1) | Steel Windows
| Supply, assemble and fix the following purposed-made standard aluminium casement windows including 4mm glazing and all necessary iron-mongery | Purpose made steel casement window with pressed steel | Purpose made steel casement window with pressed steel | Purpose made steel casement window with pressed steel
c | toilet windows 600X600mm- Bottom hung aluminium. |  |  |  | No | 8 |  | 0
| kitchen- 1200X1200mm slide aluminium |  |  |  | No | 1 |  | 0
2) | Steel and Timber Doors
45mm thick solid core flush door to B.S 459: parts faced both sides with 6mm mahogany veneered plywood and lipped on all edges in hardwood, including all planted moulding. Complete with hinges and mortise locks
a | 50mm thick door overall size 900x2150mm high single leaf |  |  |  | No | 8 |  | 0
| Steel external door 1000X2200mm with mortice lock |  |  |  | No | 4 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 5 (WINDOWS AND DOORS) | [6 empty] | 0
ELEMENT NO.6
E | ELECTRICAL INSTALLATION AND SERVICES
a | Provide a Provisional Sum of US$. for Electrical Installations to be expended as directed by the Architect and measured and valued on completion |  |  |  | Item | 1 |  | 0
HVAC
Supply, Deliver, Install, Test and Commission the following AC indoor units including with all accessories including all connections as described
| Wall mounted unit of cooling capacity: 12.3kW with inbuilt drain pump, power input: 0.15kW, single phase, Refrigerant R-410A complete with all hanging accessories, remote control, filter chamber, drain pump kit, suction canvas, ceiling panel, wiring from DP switch to fan coil unit, fabricated steel mounting brackets, steel frames and raw bolts, anti-vibration mountings. DP switch to be positioned next to the in door unit. The indoor unit shall be to Daikin/Toshiba/LG make or approved equivalent. |  |  |  | No | 4 |  | 0
| Supply and install following overhead electrical fans with all accessories prices must include all materials, installation, testing and commisioning | [6 empty] | 0
| 3 speed box fan with 20 inch blades |  |  |  | No | 6 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 6 (ELECTRICAL INSTALLATION SERVICES) | [6 empty] | 0
MAIN SUMMARY
| ELEMENT |  | TITLE |  |  | PAGE |  | Amount
NO
| 1 |  | SITE PREPARATION |  |  | 2/1 |  | 0
| 2 |  | SUB-STRUCTURES |  |  | 2/7 |  | 0
| 3 |  | SUPER-STRUCTURES |  |  | 2/2 |  | 0
| 4 |  | FINISHES |  |  | 2/2 |  | 0
| 5 |  | WINDOWS AND DOORS |  |  | 2/2 |  | 0
| 6 |  | ELECTRICAL INSTALLATION AND SERVICCES |  |  | 2/3 |  | 0
| TOTAL FOR SECTION 2:SERVICE BUILDING CARRIED TO GRAND SUMMARY | [6 empty] | 0

## BOUNDARY WALL
ITEM NO. | DESCRIPTION |  | UNIT | QUANTITY | RATE (US$) | AMOUNT (US$)
GRANT NO.
PROPOSED: CONSTRUCTION OF GALKAYO PEACE HOUSE
SECTION 4: BOUNDARY WALL
ELEMENT NO.1
A | SUBSTRUCTURES (PROVISIONAL)
1) | Excavations and Earthwork
| Clear site of all debris. Excavate site to formation level grab up roots and burn the arisings, use grader and Damp levelling equipment to get same level all entire site area. After this work completed, the site should be same topographic level |  | SM | 11000 |  | 0
a | Excavate trench for foundation not exceeding 1.0 meters deep, starting from stripped levels |  | CM | 228 |  | 0
| Excavate column base 1x1x1.30m |  | CM | 98.8 |  | 0
2) | Backfilling
a | Return, fill and ram selected excavated material around foundations |  | CM | 163.4 |  | 0
3) | Disposal of Surplus spoils
a | Load, wheel and cart deposit and spread surplus excavated material where directed on site at a distance not exceeding 100 meters |  | CM | 64.6 |  | 0
| concrete |  |  |  |  | 0
| 50mm lean concrete below the strip footing |  | CM | 11.4 |  | 0
| R.C.C (1:2:3 mix) in Strip footing (0.4m*0.2m ), with 6NO. Y12mm re-bar & Y8mm links @ 200mm c/c. The cost shall include formwork.500mm wide and 200mm thick strip footing beam under stone foundation |  | CM | 30.4 |  | 0
| R.C.C (1:2:3 mix) for the 76 footings 1.0m*1.0m*0.30m with 10NO. Y12 main re-bars & 10NO. Y16mm distribution rebars.The cost shall include formwork |  | CM | 21.6 |  | 0
| R.C.C (1:2:3 mix) for pedestal columns 0.4m*0.4m with 8NO. Y12mm & Y8mm links @180mm c/c. The cost shall include formwork. |  | CM | 20.064 |  | 0
| R.C.C (1:2:3 mix) in ground beam (0.4m*0.2m ), with 4NO. Y12mm re-bar & Y8mm links @ 200mm c/c. the cost shall include all necessary formwork. |  | CM | 30.4 |  | 0
4) | Rubble foundation walling |  |  |  |  | 0
a | 400mm thick walls |  | CM | 168 |  | 0
b | Plinths |  |  |  |  | 0
| 12 mm thick cement : sand (1:3) plaster to plinth |  | SM | 171 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 2 (SUBSTRUCTURES) |  |  |  |  | 0
ELEMENT NO.3
B | SUPER STRUCTURES (PROVISIONAL)
1) | REINFORCED CONCRETE FRAME
Reinforced concrete class (20) as described, in:-
a | R.C.C (1:2:3 mix) for 76 rectangular columns 400X400mm @ 2.8m height column with 8NO. Y12mm & Y8mm links @180mm c/c. , the cost shall include formworks and scafolding works |  | CM | 34.048 |  | 0
| R.C.C (1:2:3 mix) in intermediate beam (0.2m*0.2m ) with 4NO Y12mm re-bar & Y8mm links @ 200mm c/c, the cost shall include formworks supporting structures. |  | CM | 15 |  | 0
| 50mm thick copping concrete beam |  | CM | 3.75 |  | 0
4) | WALLING
200x400mm Filled block walling bedded and jointed in cement and sand (1:4) mortar, reinforcement with and including 25mm wide x 20 gauge hoop iron at every alternate course as described in:
a | 200mm thick walling |  | SM | 975 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 3 (SUPER-STRUCTURES) |  |  |  |  | 0
ELEMENT NO. 4
C | FINISHES
1) | Wall finishes
External walls: 15mm cement and sand (1:3) render, finished with woodfloat to:-
a | Concrete or masonry surfaces externally and internal |  | SM | 1950 |  | 0
4) | Painting and decorating
Prepare and apply three coats first quality emulsion paint on:-
a | Plastered walls externally and internal |  | SM | 1950 |  | 0
| make drainage for removing storm water inside to outside. |  | LM | 1 |  | 0
| Razor wire |  |  |  |  | 0
| Supply and fix razor wire along perimeter wall and/or as directed on site in two layers conforming to the following minimum specifications: - Coil size 750mm diameter, blade profile- ripper razor wire, stretch factor- max 10m per coile and secured with and including 40x40x3mm thick x 450mm long angle iron welded on 100x100x4mm steel plates inserts at 1m cc ( galvanized ) all to manufacturers instructions. |  | LM | 375 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 5 (FINISHES) |  |  |  |  | 0
ELEMENT NO. 5
D | GATE
1 | Supply and fix double leaf steel gate size 3500x 2100mm high with small pedestrian door made from 3mm thick steel plate welded on both sides of the frame. Frame as follows: 75x50x3mm thick RHS external members and 25mm SHS 3mm thick secondary members, fixed onto the concrete columns using heavy duty steel pin hinges; with all fastening accessories including all cutting welding, grinding and priming with one coat of grey oxide before fixing. The gate should also have peep holes of not more that 25mm dia with a slilding door. It should also have 2 locking mechanisms, top and bottom. |  | No. | 1 |  | 0
| pedestrian steel doors 1200X2100mm height |  | No. | 4 |  | 0
Robust Drop steel Barrier ( double pipe)
| Supply and installation of Boom barrier of double galvanized iron pipe 6 meter clear distance, 6 inches dia. and thickness not less than 6mm.Two stands GI 6 inches dia. and 1.2 m height, GI pin for rotation not less than 50mm dia. This item include tow reinforcement concrete foundation (C20) sizes (0.5x0.5m and hight 0.8m). as per drawings and all to the full satisfaction of IOM engineer. Solid Mass as dead weight shall be add at one end of GI horizontal pipe. And the price include panting with primer paint and yellow and black paints and the robe 10m length, The price included any work and all accessories to finish work as per specifications Boq. |  | No. | 1 |  | 0
| CARRIED TO COLLECTION AT END OF ELEMENT 6 (GATE) |  |  |  |  | 0
MAIN SUMMARY
| ELEMENT | TITLE |  | PAGE |  | Amount
NO
| 2 | SUB-STRUCTURES |  | 3/1 |  | 0
| 3 | SUPER-STRUCTURES |  | 3/2 |  | 0
| 4 | FINISHES |  | 3/2 |  | 0
| 5 | GATE |  | 3/2 |  | 0
0
TOTAL FOR SECTION 3: BOUNDARY WALL TO GRAND SUMMARY
0

## SUPPORT STRUCTURES
SUPPORTING STRUCTURES OF GALKAYO PEACE HOUSE.
SECTION: 5
CONSTRUCTION OF GUARD ROOM
Item | Description of Work/Items | Project Schedules Ref. | Unit | Qntty | Rate | Amount
1 | The cost bid for the Guard House should be a lumpsum to meet the technical description presented below and as presented in design drawings, and include all preparation, construction, finishing components :
2 | Pre-construction work, mobilisation activities, excavation, compaction, concrete works, superstructure, walls - hollow blocks, including plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, , electrical works, exactly as per the design drawings and the specifications, descriptions on the design drawings... |  | lumpsum | 1
Watch towers ( two pcs)
| Pre-construction work, mobilisation activities, excavation, compaction, strip footing, concrete works, foundation stone, superstructure columns, walls - hollow blocks, slab concrete, staircase, railing, plastering and painting, internal and external finishing, timber truss roof with Guage 28 zinc iron sheets, steel doors, windows and vents, , electrical works, exactly as per the design drawings and the specifications, descriptions on the design drawings.. |  | Lumpsum | 2
| Construction of flag post and tie with three flags ( Somalia, Galmudug and Puntland) |  | Lumpsum | 1 |  | 0
| Plant trees and flowers to area indicate design drawings. |  | Lumpsum | 1 |  | 0
0
| supply and place interlock the area indicate design drawings. |  | Lumspum | 1 |  | 0
TOTAL FOR Support Building
BOQ Value for whole tender in words:
Agreed on behalf of Contractor
Name
Position
Signature
Address and Mobile Number

## Sheet1
Primeter length | 69.9
partition length | 31.8

## SUMMARY
ITEM NO. | DESCRIPTION | PAGE | AMOUNT (US$)
CONSTRUCTION OF GALKAYO PEACE HOUSE
PHASE ONE-( conference hall, Boundary wall, Service Building and Support structures).
GRAND SUMMARY
1 | PRELIMINARIES AND GENERAL DESCRIPTIONS | 1/16 | 0
2 | SECTION 2: CONFERENCE HALL | 2/3 | 0
3 | SECTION 3: SERVICE BUILDING | 3/2 | 0
4 | SECTION 4: BOUNDARY WALL | 4/1 | 0
5 | SECTION 5: SUPPORT STRUCTURES |  | 0
| TOTAL AMOUNT CARRIED TO FORM OF TENDER | US$ | 0
SIGNED:
(CONTRACTOR) ……………………………………………………………………………………………………………………
Address: ………………………………………………………………………………………………………………………………………
Tel No: ………………………………………………………………………………………………………………………………………
Date: ……………………………………………………………………………………………………………………………………………
SIGNED:
(EMPLOYER ) …………………………………………………………………………………………………………………………
Address: ……………………………………………………………………………………………………………………………………
Tel No: ………………………………………………………………………………………………………………………………………
Date: ………………………………………………………………………………………………………………………………………….